## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 22-03-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
SINGRAULI STPS | 2 | 200.00 | 21/03/2025 19:40 | 22/03/2025 14:12 | P.A. FANS PROBLEM
HARDUAGANJ TPS | 10 | 660.00 | 22/03/2025 12:17 | 22/03/2025 18:35 | MISC. SHORT DURATION MAINTENANCE WORKS
BINJKOTE TPP | 2 | 300.00 | 25/02/2025 19:00 | 22/03/2025 20:35 | EXCITATION PROBLEM
KAWAS CCPP | 4 | 106.00 | 21/03/2025 20:00 | 22/03/2025 23:06 | NO/REDUCED IRRIGATION DEMAND
SIKKA REP. TPS | 4 | 250.00 | 22/03/2025 07:58 | 22/03/2025 11:24 | INSTRUMENTATION PROBLEM
VINDHYACHAL STPS | 7 | 500.00 | 19/03/2025 22:15 | 22/03/2025 07:24 | WATER WALL TUBE LEAKAGE
ADANI POWER LIMITED TIRODA TPP | 2 | 660.00 | 20/03/2025 00:28 | 22/03/2025 21:05 | AIR PREHEATERS PROBLEM
SIMHADRI | 1 | 500.00 | 21/03/2025 17:01 | 22/03/2025 13:24 | ASH HANDLING SYSTEM PROBLEM
RAICHUR TPS | 7 | 210.00 | 17/03/2025 21:02 | 22/03/2025 04:44 | WATER WALL TUBE LEAKAGE
MUTHIARA TPP | 1 | 600.00 | 22/03/2025 17:18 | 22/03/2025 20:35 | COMPRESSED AIR SYSTEM PROBLEM
OPG Power Generation Private Limited | 1 | 77.00 | 21/03/2025 23:59 | 22/03/2025 02:41 | MILLING SYSTEM /RC FEEDER PROBLEM
KATHALGURI CCPP | 1 | 33.50 | 22/03/2025 07:26 | 22/03/2025 10:24 | MISCELLANEOUS PLANNED MAINTENANCE
KATHALGURI CCPP | 3 | 33.50 | 22/03/2025 00:00 | 22/03/2025 23:59 | LOW SYSTEM DEMAND
KATHALGURI CCPP | 7 | 30.00 | 22/03/2025 11:45 | 22/03/2025 15:41 | MISCELLANEOUS PLANNED MAINTENANCE
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 22/03/2025 03:53 | 22/03/2025 04:24 | GRID DISTURBANCES MISC.
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 22/03/2025 13:03 | 22/03/2025 17:57 | GRID DISTURBANCES MISC.
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 22/03/2025 03:53 | 22/03/2025 04:28 | GRID DISTURBENCE
LAKWA REPLACEMENT POWER PROJECT | 4 | 9.96 | 22/03/2025 03:53 | 22/03/2025 04:30 | GRID DISTURBENCE
LAKWA REPLACEMENT POWER PROJECT | 5 | 9.96 | 22/03/2025 03:53 | 22/03/2025 04:39 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 22/03/2025 03:53 | 22/03/2025 04:42 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 6 |  | 22/03/2025 11:47 | 22/03/2025 12:53 | MISC. SHORT DURATION MAINTENANCE
LAKWA REPLACEMENT POWER PROJECT | 7 | 9.96 | 22/03/2025 05:32 | 22/03/2025 06:33 | MISCELLANEOUS
LAKWA REPLACEMENT POWER PROJECT | 7 |  | 22/03/2025 03:53 | 22/03/2025 04:42 | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 7 |  | 22/03/2025 04:42 | 22/03/2025 05:32 | MISCELLANEOUS
AGARTALA GT | 3 | 21.00 | 22/03/2025 00:00 | 22/03/2025 23:59 | Fuel Shortage
AGARTALA GT | 4 | 21.00 | 22/03/2025 00:00 | 22/03/2025 23:59 | MISCELLANEOUS PLANNED MAINTENANCE
AGARTALA GT | 6 | 25.50 | 22/03/2025 00:00 | 22/03/2025 23:59 | Fuel Shortage
Total |  | 4,297.26