## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 22-03-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
KOTA TPS | 1 | 110.00 | 22/03/2025 02:25 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
JALIPA KAPURDI TPP | 7 | 135.00 | 22/03/2025 11:33 |  | BOILER MISC. PROBLEM
HARDUAGANJ TPS | 10 | 660.00 | 22/03/2025 12:17 |  | MISC. SHORT DURATION MAINTENANCE WORKS
MAQSOODPUR TPS | 2 | 45.00 | 22/03/2025 14:45 |  | COAL FEEDING SYSTEM FAILURE.
KORBA-WEST TPS | 3 | 210.00 | 22/03/2025 12:30 | 23/03/2025 | ECONOMISER TUBE LEAKAGE
GANDHAR CCPP | 1 | 144.30 | 22/03/2025 23:55 | 22/03/2025 | NO/REDUCED IRRIGATION DEMAND
GANDHAR CCPP | 4 | 224.49 | 22/03/2025 20:06 | 23/03/2025 | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 5 | 116.10 | 22/03/2025 12:00 | 23/03/2025 | NO/REDUCED IRRIGATION DEMAND
SIKKA REP. TPS | 4 | 250.00 | 22/03/2025 07:58 | 22/03/2025 | INSTRUMENTATION PROBLEM
UNOSUGEN CCPP | 1 | 382.50 | 22/03/2025 00:00 |  | RSD/LOW SCHEDULE
PARAS TPS | 4 | 250.00 | 22/03/2025 00:13 |  | ASH HANDLING SYSTEM PROBLEM
Dr. N.TATA RAO TPS | 5 | 210.00 | 22/03/2025 15:42 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
NEYVELI ( EXT) TPS | 1 | 210.00 | 22/03/2025 10:54 |  | WATER WALL TUBE LEAKAGE
NORTH CHENNAI TPS | 2 | 210.00 | 22/03/2025 19:58 | 24/03/2025 | REHEATER TUBE LEAKAGE
MUTHIARA TPP | 1 | 600.00 | 22/03/2025 17:18 |  | COMPRESSED AIR SYSTEM PROBLEM
MUTHIARA TPP | 2 | 600.00 | 22/03/2025 17:18 |  | COMPRESSED AIR SYSTEM PROBLEM
RAMAGUNDEM STPS | 6 | 500.00 | 22/03/2025 17:48 | 23/03/2025 | WATER WALL TUBE LEAKAGE
TALCHER STPS | 3 | 500.00 | 22/03/2025 00:11 | 22/03/2025 | BOILER MISC. PROBLEM
KATHALGURI CCPP | 1 | 33.50 | 22/03/2025 07:26 |  | MISCELLANEOUS PLANNED MAINTENANCE
KATHALGURI CCPP | 3 | 33.50 | 22/03/2025 00:00 |  | LOW SYSTEM DEMAND
KATHALGURI CCPP | 7 | 30.00 | 22/03/2025 11:45 |  | MISCELLANEOUS PLANNED MAINTENANCE
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 22/03/2025 03:53 |  | GRID DISTURBANCES MISC.
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 22/03/2025 13:03 |  | GRID DISTURBANCES MISC.
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 22/03/2025 03:53 |  | GRID DISTURBENCE
LAKWA REPLACEMENT POWER PROJECT | 4 | 9.96 | 22/03/2025 03:53 |  | GRID DISTURBENCE
LAKWA REPLACEMENT POWER PROJECT | 4 |  | 22/03/2025 19:01 | 23/03/2025 | GRID DISTURBANCES MISC.
LAKWA REPLACEMENT POWER PROJECT | 5 | 9.96 | 22/03/2025 03:53 |  | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 6 | 9.96 | 22/03/2025 03:53 |  | GRID DISTURBANCE
LAKWA REPLACEMENT POWER PROJECT | 6 |  | 22/03/2025 11:47 |  | MISC. SHORT DURATION MAINTENANCE
LAKWA REPLACEMENT POWER PROJECT | 7 | 9.96 | 22/03/2025 03:53 |  | GRID DISTURBANCE
LAKWA REPLACEMENT POWER | 7 |  | 22/03/2025 04:42 |  | MISCELLANEOUS
https://npp.gov.in 24/03/2025 18:00:40 |  |  |  |  | PAGE 1
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 22-03-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
PROJECT | 7 |  | 22/03/2025 04:42 |  | MISCELLANEOUS
LAKWA REPLACEMENT POWER PROJECT | 7 |  | 22/03/2025 05:32 |  | MISCELLANEOUS
AGARTALA GT | 3 | 21.00 | 22/03/2025 00:00 |  | Fuel Shortage
AGARTALA GT | 4 | 21.00 | 22/03/2025 00:00 |  | MISCELLANEOUS PLANNED MAINTENANCE
AGARTALA GT | 6 | 25.50 | 22/03/2025 00:00 |  | Fuel Shortage
Total |  | 5591.65
https://npp.gov.in 24/03/2025 18:00:40 |  |  |  |  | PAGE 2