## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 22-05-2025
Sub-Report-10
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana |  | INDIRA GANDHI STPP | 1 | 0 | 0 | 500 | 0 | 21/05/2025 13:34 |  | BOILER AUX. MISC. PROMLEMS
Haryana |  | PANIPAT TPS | 6 | 0 | 0 | 210 | 0 | 15/05/2025 16:47 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Haryana |  | PANIPAT TPS | 8 | 0 | 0 | 250 | 0 | 21/05/2025 18:49 | 22/05/2025 20:43 | GRID DISTURBANCE
Haryana |  | RAJIV GANDHI TPS | 1 | 0 | 600 | 0 | 0 | 23/02/2025 21:06 | 22/05/2025 21:59 | WATER WALL TUBE LEAKAGE
Punjab |  | GH TPS (LEH.MOH.) | 4 | 0 | 0 | 250 | 0 | 19/05/2025 14:15 | 22/05/2025 13:47 | WATER WALL TUBE LEAKAGE
Punjab |  | GOINDWAL SAHIB TPP | 2 | 270 | 0 | 0 | 0 | 05/04/2025 22:15 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Punjab |  | TALWANDI SABO TPP | 3 | 0 | 0 | 660 | 0 | 22/05/2025 08:47 | 22/05/2025 22:57 | BOILER AUX. MISC. PROMLEMS
Rajasthan |  | BARSINGSAR LIGNITE | 2 | 125 | 0 | 0 | 0 | 26/04/2025 22:43 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan |  | DAE (RAJASTHAN) | 1 | 0 | 0 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan |  | RAJASTHAN A.P.S. | 2 | 0 | 0 | 0 | 0 | 22/05/2025 12:39 | 22/05/2025 13:11 | Miscellaneous
Rajasthan |  | RAJASTHAN A.P.S. | 7 | 0 | 0 | 700 | 0 | 21/05/2025 15:26 |  | REACTOR MAINTENANCE WORKS.
Rajasthan |  | CHHABRA-II TPP | 6 | 0 | 660 | 0 | 0 | 13/04/2025 00:48 |  | TURBINE BEARING PROBLEM
Rajasthan |  | CHHABRA-I PH-1 TPP | 2 | 0 | 0 | 250 | 0 | 22/05/2025 17:11 | 22/05/2025 20:38 | FURNACE DRAFT ABNORMAL
Rajasthan |  | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan |  | KALISINDH TPS | 2 | 0 | 0 | 600 | 0 | 22/05/2025 19:18 |  | AIR PREHEATERS PROBLEM
Rajasthan |  | KOTA TPS | 4 | 0 | 0 | 210 | 0 | 21/05/2025 11:58 | 22/05/2025 21:41 | BOILER MISC. PROBLEM
Rajasthan |  | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 13:48 |  | GENERATOR STATOR DAMAGED
Rajasthan |  | JALIPA KAPURDI TPP | 2 | 0 | 0 | 0 | 0 | 16/05/2025 15:44 | 22/05/2025 06:02 | BOILER MISC. PROBLEM
Uttar Pradesh |  | DADRI (NCTPP) | 1 | 0 | 0 | 210 | 0 | 21/05/2025 20:08 | 22/05/2025 21:05 | TRIPPING OF TRANSMISSION LINE
Uttar Pradesh |  | DADRI (NCTPP) | 2 | 0 | 0 | 210 | 0 | 21/05/2025 20:01 | 22/05/2025 16:22 | TRIPPING OF TRANSMISSION LINE
Uttar Pradesh |  | DADRI (NCTPP) | 3 | 0 | 0 | 210 | 0 | 21/05/2025 20:01 | 22/05/2025 20:19 | TRIPPING OF TRANSMISSION LINE
Uttar Pradesh |  | DADRI (NCTPP) | 4 | 0 | 0 | 210 | 0 | 21/05/2025 20:01 | 22/05/2025 07:59 | TRIPPING OF TRANSMISSION LINE
Uttar Pradesh |  | DADRI (NCTPP) | 5 | 0 | 0 | 490 | 0 | 21/05/2025 20:25 | 22/05/2025 07:35 | TRIPPING OF TRANSMISSION LINE
Uttar Pradesh |  | DADRI (NCTPP) | 6 | 0 | 0 | 490 | 0 | 21/05/2025 20:12 | 22/05/2025 14:56 | TRIPPING OF TRANSMISSION LINE
Uttar Pradesh |  | MEJA STPP | 2 | 0 | 0 | 660 | 0 | 21/05/2025 19:56 | 22/05/2025 00:32 | BOILER MISC. PROBLEM
Uttar Pradesh |  | NARORA A.P.S. | 1 | 0 | 220 | 0 | 0 | 14/04/2025 04:36 |  | Turbine Misc
Uttar Pradesh |  | HARDUAGANJ TPS | 7 | 0 | 0 | 105 | 0 | 22/05/2025 13:52 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 8 | 0 | 0 | 250 | 0 | 22/05/2025 08:22 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 9 | 0 | 0 | 250 | 0 | 22/05/2025 08:25 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | HARDUAGANJ TPS | 10 | 0 | 0 | 660 | 0 | 22/05/2025 08:36 |  | SEAL OIL SYSTEM PROBLEM
Uttar Pradesh |  | JAWAHARPUR STPP | 1 | 0 | 0 | 660 | 0 | 22/05/2025 01:56 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | JAWAHARPUR STPP | 2 | 0 | 0 | 660 | 0 | 22/05/2025 08:04 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | OBRA TPS | 14 | 0 | 0 | 660 | 0 | 22/05/2025 16:35 |  | TURBINE VIBRATIONS HIGH
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 22/05/2025 00:32 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | PARICHHA TPS | 3 | 0 | 0 | 210 | 0 | 22/05/2025 11:12 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | PARICHHA TPS | 4 | 0 | 0 | 210 | 0 | 22/05/2025 11:13 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | PARICHHA TPS | 5 | 0 | 0 | 250 | 0 | 22/05/2025 11:02 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | PARICHHA TPS | 6 | 0 | 0 | 250 | 0 | 22/05/2025 11:15 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | BARKHERA TPS | 1 | 0 | 0 | 45 | 0 | 22/05/2025 07:58 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | BARKHERA TPS | 2 | 0 | 0 | 45 | 0 | 22/05/2025 07:58 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | KHAMBARKHERA TPS | 1 | 0 | 0 | 45 | 0 | 22/05/2025 08:00 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | KHAMBARKHERA TPS | 2 | 0 | 0 | 45 | 0 | 22/05/2025 07:45 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | KUNDARKI TPS | 1 | 0 | 0 | 45 | 0 | 22/05/2025 00:57 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | KUNDARKI TPS | 2 | 0 | 0 | 45 | 0 | 22/05/2025 00:57 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | MAQSOODPUR TPS | 1 | 0 | 0 | 45 | 0 | 22/05/2025 08:00 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | MAQSOODPUR TPS | 2 | 0 | 0 | 45 | 0 | 22/05/2025 08:00 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | UTRAULA TPS | 1 | 0 | 0 | 45 | 0 | 22/05/2025 00:41 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | UTRAULA TPS | 2 | 0 | 0 | 45 | 0 | 22/05/2025 00:41 |  | RSD/LOW SCHEDULE
Total Northern |  | 4: 645; 5: 1730; 6: 11385; 7: 0
Western
Chhatisgarh |  | KORBA STPS | 2 | 200 | 0 | 0 | 0 | 24/04/2025 00:55 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh |  | SIPAT STPS | 1 | 660 | 0 | 0 | 0 | 15/05/2025 02:09 |  | OVERHAULING WORKS
Chhatisgarh |  | AKALTARA TPS | 4 | 0 | 0 | 600 | 0 | 22/05/2025 10:29 |  | RSD/LOW SCHEDULE
Chhatisgarh |  | KASAIPALLI TPP | 1 | 0 | 0 | 135 | 0 | 19/05/2025 23:30 |  | ESP PROBLEM
Chhatisgarh |  | KATGHORA TPP | 1 | 0 | 0 | 0 | 0 | 15/10/2012 00:28 |  | NO Power purchase agreement
Chhatisgarh |  | NAWAPARA TPP | 1 | 0 | 0 | 300 | 0 | 21/05/2025 10:30 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Chhatisgarh |  | SALORA TPP | 1 | 0 | 0 | 0 | 0 | 19/10/2014 04:30 |  | NO Power purchase agreement
Chhatisgarh |  | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 0 | 01/04/2015 00:20 |  | NO Power purchase agreement
Chhatisgarh |  | UCHPINDA TPP | 1 | 0 | 360 | 0 | 0 | 23/04/2025 09:06 |  | GENEARTOR MISC.
Gujarat |  | KAKRAPARA | 2 | 220 | 0 | 0 | 0 | 21/05/2025 21:00 |  | ANNUAL MAINTENANCE
Gujarat |  | AKRIMOTA LIG TPS | 1 | 125 | 0 | 0 | 0 | 08/06/2024 19:30 |  | CAPITAL MAINTENANCE
Gujarat |  | AKRIMOTA LIG TPS | 2 | 125 | 0 | 0 | 0 | 19/02/2024 18:45 |  | CAPITAL MAINTENANCE
Gujarat |  | KUTCH LIG. TPS | 3 | 0 | 0 | 75 | 0 | 21/05/2025 20:47 |  | WATER WALL TUBE LEAKAGE
Gujarat |  | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat |  | WANAKBORI TPS | 1 | 0 | 0 | 210 | 0 | 20/05/2025 23:22 |  | WATER WALL TUBE LEAKAGE
Gujarat |  | WANAKBORI TPS | 3 | 0 | 0 | 210 | 0 | 20/05/2025 00:01 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Gujarat |  | WANAKBORI TPS | 5 | 210 | 0 | 0 | 0 | 10/03/2025 00:22 |  | CAPITAL MAINTENANCE
Gujarat |  | SALAYA TPP | 1 | 0 | 0 | 600 | 0 | 16/05/2025 16:21 |  | CONDENSER TUBE LEAKAGE/ CLEANING
Gujarat |  | SURAT LIG. TPS | 1 | 0 | 0 | 125 | 0 | 19/05/2025 09:23 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | VINDHYACHAL STPS | 11 | 500 | 0 | 0 | 0 | 01/05/2025 00:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SANJAY GANDHI TPS | 1 | 210 | 0 | 0 | 0 | 04/08/2024 19:03 |  | ANNUAL MAINTENANCE
Madhya Pradesh |  | SATPURA TPS | 6 | 0 | 0 | 0 | 0 | 05/03/2021 11:55 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh |  | SATPURA TPS | 7 | 0 | 0 | 0 | 0 | 05/03/2021 10:09 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh |  | SATPURA TPS | 8 | 0 | 0 | 0 | 0 | 29/02/2020 23:54 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh |  | SATPURA TPS | 9 | 0 | 0 | 0 | 0 | 24/02/2020 07:20 |  | RSD/LOW SCHEDULE
Madhya Pradesh |  | SHREE SINGAJI TPP | 4 | 0 | 0 | 0 | 0 | 09/05/2025 01:56 | 22/05/2025 03:47 | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | MAHAN TPP | 1 | 0 | 600 | 0 | 0 | 13/04/2025 06:18 |  | GENEARTOR MISC.
Maharashtra |  | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra |  | BHUSAWAL TPS | 3 | 0 | 0 | 210 | 0 | 20/05/2025 23:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Maharashtra |  | KHAPARKHEDA TPS | 5 | 0 | 0 | 500 | 0 | 21/05/2025 21:45 |  | WATER WALL TUBE LEAKAGE
Maharashtra |  | NASIK TPS | 5 | 0 | 0 | 210 | 0 | 14/05/2025 08:51 |  | GENEARTOR MISC.
Maharashtra |  | PARLI TPS | 6 | 0 | 0 | 250 | 0 | 22/05/2025 11:29 |  | RSD/LOW SCHEDULE
Maharashtra |  | PARLI TPS | 8 | 0 | 0 | 250 | 0 | 21/05/2025 11:08 |  | RSD/LOW SCHEDULE
Maharashtra |  | BUTIBORI TPP | 1 | 0 | 300 | 0 | 0 | 29/12/2018 00:30 |  | COAL SHORTAGE
Maharashtra |  | BUTIBORI TPP | 2 | 0 | 300 | 0 | 0 | 17/01/2019 00:15 |  | COAL SHORTAGE
Maharashtra |  | GEPL TPP Ph-I | 1 | 0 | 0 | 0 | 60 | 29/06/2013 00:00 |  | NO Power purchase agreement
Maharashtra |  | GEPL TPP Ph-I | 2 | 0 | 0 | 0 | 60 | 20/06/2013 20:27 |  | NO Power purchase agreement
Maharashtra |  | MIHAN TPS | 1 | 0 | 0 | 0 | 61.51 | 10/01/2013 15:50 |  | NO Power purchase agreement
Maharashtra |  | MIHAN TPS | 2 | 0 | 0 | 0 | 61.5 | 05/11/2013 11:53 |  | NO Power purchase agreement
Maharashtra |  | MIHAN TPS | 3 | 0 | 0 | 0 | 61.5 | 10/06/2013 18:00 |  | NO Power purchase agreement
Maharashtra |  | MIHAN TPS | 4 | 0 | 0 | 0 | 61.5 | 20/08/2013 10:00 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 1 | 0 | 0 | 0 | 0 | 04/03/2014 18:10 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 2 | 0 | 0 | 0 | 0 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 3 | 0 | 0 | 0 | 0 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 4 | 0 | 0 | 0 | 0 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra |  | NASIK (P) TPS | 5 | 0 | 0 | 0 | 0 | 30/05/2017 15:24 |  | NO Power purchase agreement
Total Western |  | 4: 2570; 5: 2135; 6: 3675; 7: 366.01
Southern
Andhra Pradesh |  | SIMHADRI | 2 | 0 | 0 | 0 | 0 | 22/05/2025 00:13 | 22/05/2025 06:20 | ELECTRICAL FAULT
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 6 | 0 | 0 | 210 | 0 | 21/05/2025 20:06 |  | FURNACE FIRE OUT /FLAME FAILURE
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 8 | 0 | 0 | 800 | 0 | 08/05/2025 22:37 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Andhra Pradesh |  | RAYALASEEMA TPS | 3 | 0 | 0 | 210 | 0 | 21/05/2025 21:37 | 22/05/2025 19:41 | ECONOMISER TUBE LEAKAGE
Andhra Pradesh |  | SIMHAPURI TPS | 2 | 0 | 0 | 150 | 0 | 19/05/2025 08:15 | 22/05/2025 13:29 | BOILER AUX. MISC. PROMLEMS
Andhra Pradesh |  | THAMMINAPATNAM TPS | 2 | 0 | 0 | 150 | 0 | 20/05/2025 22:33 |  | C.W. PUMP PROBLEM
Andhra Pradesh |  | VIZAG TPP | 2 | 0 | 520 | 0 | 0 | 01/04/2025 23:12 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
Karnataka |  | KUDGI STPP | 1 | 0 | 0 | 800 | 0 | 22/05/2025 11:43 |  | CONSERVATION OF MAIN FUEL/RSD
Karnataka |  | KAIGA | 1 | 220 | 0 | 0 | 0 | 31/03/2025 23:11 |  | MISCELLANEOUS PLANNED MAINTENANCE
Karnataka |  | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka |  | RAICHUR TPS | 2 | 0 | 0 | 210 | 0 | 22/05/2025 08:58 |  | RSD/LOW SCHEDULE
Karnataka |  | RAICHUR TPS | 3 | 0 | 0 | 210 | 0 | 22/05/2025 11:33 |  | RSD/LOW SCHEDULE
Karnataka |  | RAICHUR TPS | 4 | 0 | 210 | 0 | 0 | 09/11/2024 15:57 |  | REHEATER TUBE LEAKAGE
Karnataka |  | RAICHUR TPS | 5 | 0 | 0 | 210 | 0 | 22/05/2025 09:55 |  | RSD/LOW SCHEDULE
Karnataka |  | RAICHUR TPS | 6 | 0 | 0 | 210 | 0 | 22/05/2025 11:19 |  | RSD/LOW SCHEDULE
Karnataka |  | RAICHUR TPS | 7 | 0 | 0 | 210 | 0 | 22/05/2025 09:24 |  | RSD/LOW SCHEDULE
Karnataka |  | YERMARUS TPP | 1 | 0 | 0 | 800 | 0 | 22/05/2025 11:38 |  | RSD/LOW SCHEDULE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 18/05/2025 10:13 |  | RSD/LOW SCHEDULE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 0 | 600 | 0 | 21/05/2025 01:52 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | NEYVELI TPS-II | 2 | 0 | 0 | 210 | 0 | 20/05/2025 13:39 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | NEYVELI TPS-II | 3 | 0 | 210 | 0 | 0 | 16/03/2025 02:38 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Tamil Nadu |  | NEYVELI TPS-II | 5 | 0 | 0 | 210 | 0 | 14/05/2025 22:07 |  | FURNACE DRAFT ABNORMAL
Tamil Nadu |  | NEYVELI TPS-II | 6 | 0 | 0 | 210 | 0 | 16/05/2025 16:52 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu |  | NEYVELI TPS-II EXP | 1 | 0 | 0 | 250 | 0 | 11/05/2025 03:33 |  | GENERATOR PROTECTION
Tamil Nadu |  | NTPL TUTICORIN TPP | 1 | 0 | 0 | 500 | 0 | 07/05/2025 19:13 | 22/05/2025 07:59 | ESP PROBLEM
Tamil Nadu |  | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu |  | METTUR TPS | 1 | 0 | 0 | 210 | 0 | 18/05/2025 10:14 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | METTUR TPS | 3 | 0 | 0 | 210 | 0 | 18/05/2025 08:52 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | METTUR TPS | 4 | 0 | 0 | 210 | 0 | 18/05/2025 09:03 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | NORTH CHENNAI TPS | 1 | 0 | 210 | 0 | 0 | 26/04/2025 11:44 |  | GENERATOR PROTECTION
Tamil Nadu |  | NORTH CHENNAI TPS | 2 | 0 | 0 | 210 | 0 | 18/05/2025 09:23 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | NORTH CHENNAI TPS | 4 | 0 | 0 | 600 | 0 | 22/05/2025 18:35 | 22/05/2025 23:30 | TURBINE VIBRATIONS HIGH
Tamil Nadu |  | TUTICORIN TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu |  | TUTICORIN TPS | 2 | 0 | 210 | 0 | 0 | 15/03/2025 22:01 |  | FIRE IN CABLE GALLERY
Tamil Nadu |  | TUTICORIN TPS | 3 | 0 | 0 | 210 | 0 | 22/05/2025 05:15 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | TUTICORIN TPS | 4 | 0 | 0 | 210 | 0 | 18/05/2025 10:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | MUTHIARA TPP | 2 | 0 | 600 | 0 | 0 | 13/04/2025 12:15 |  | TURBINE BEARING PROBLEM
Tamil Nadu |  | OPG Power Generation Private Limited | 3 | 0 | 0 | 80 | 0 | 18/05/2025 11:00 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MISCELLANEOUS PLANNED MAINTENANCE
Tamil Nadu |  | TUTICORIN (P) TPP | 1 | 0 | 0 | 0 | 150 | 03/04/2016 00:31 |  | NO Power purchase agreement
Tamil Nadu |  | TUTICORIN (P) TPP | 2 | 0 | 0 | 0 | 150 | 16/04/2016 01:42 |  | NO Power purchase agreement
Tamil Nadu |  | TUTICORIN TPP ST-IV | 1 | 0 | 0 | 525 | 0 | 18/05/2025 10:21 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | KAKATIYA TPS | 1 | 0 | 0 | 500 | 0 | 22/05/2025 19:10 |  | ECONOMISER TUBE LEAKAGE
Telangana |  | KAKATIYA TPS | 2 | 0 | 0 | 0 | 0 | 22/05/2025 13:59 | 22/05/2025 17:01 | BOILER MISC. PROBLEM
Telangana |  | KOTHAGUDEM TPS (NEW) | 9 | 0 | 0 | 250 | 0 | 22/05/2025 07:21 | 22/05/2025 18:01 | RSD/LOW SCHEDULE
Telangana |  | KOTHAGUDEM TPS (NEW) | 11 | 0 | 0 | 500 | 0 | 21/05/2025 19:18 |  | ECONOMISER TUBE LEAKAGE
Telangana |  | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Telangana |  | YADADRI TPS | 2 | 0 | 0 | 800 | 0 | 20/05/2025 10:50 |  | WATER WALL TUBE LEAKAGE
Total Southern |  | 4: 283.5; 5: 2662.5; 6: 11265; 7: 300
Eastern
Bihar |  | BARAUNI TPS | 6 | 0 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARAUNI TPS | 7 | 0 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar |  | BARAUNI TPS | 8 | 0 | 0 | 0 | 0 | 22/05/2025 21:06 |  | WATER WALL TUBE LEAKAGE
Bihar |  | BARH STPS | 2 | 0 | 0 | 660 | 0 | 20/05/2025 02:11 |  | WATER WALL TUBE LEAKAGE
Jharkhand |  | BOKARO TPS `A` EXP | 1 | 500 | 0 | 0 | 0 | 25/03/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Jharkhand |  | TENUGHAT TPS | 2 | 210 | 0 | 0 | 0 | 20/04/2025 22:46 |  | CAPITAL MAINTENANCE
Odisha |  | JSW Energy Utkal Limited | 1 | 0 | 0 | 350 | 0 | 22/05/2025 19:23 |  | SEAL OIL SYSTEM PROBLEM
West Bengal |  | FARAKKA STPS | 2 | 0 | 0 | 200 | 0 | 20/05/2025 20:29 | 22/05/2025 16:38 | ECONOMISER TUBE LEAKAGE
West Bengal |  | MEJIA TPS | 1 | 0 | 0 | 210 | 0 | 22/05/2025 14:53 |  | RSD/LOW SCHEDULE
West Bengal |  | D.P.L. TPS | 8 | 0 | 0 | 0 | 0 | 07/05/2025 04:10 | 22/05/2025 11:25 | STATION TRANSFORMER PROBLEM
West Bengal |  | KOLAGHAT TPS | 6 | 0 | 0 | 210 | 0 | 21/05/2025 02:17 |  | CONDENSER TUBE LEAKAGE/ CLEANING
West Bengal |  | HIRANMAYE TPP | 1 | 0 | 150 | 0 | 0 | 26/04/2025 00:23 |  | GENRATOR VIBRATIONS
West Bengal |  | SOUTHERN REPL. TPS | 1 | 0 | 0 | 67.5 | 0 | 21/05/2025 22:30 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 1 | 0 | 0 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 2 | 0 | 0 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 3 | 0 | 0 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal |  | TITAGARH TPS | 4 | 0 | 0 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  | 4: 710; 5: 150; 6: 1697.5; 7: 0
Total |  | 4: 4208.5; 5: 6677.5; 6: 28022.5; 7: 666.01
Remarks:-
Report Version :-