## dailyOutage_Report
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 22-05-2025
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[8 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Haryana |  | INDIRA GANDHI STPP | 1 | 0 | 0 | 500 | 0 | 21/05/2025 13:34 |  | BOILER AUX. MISC. PROMLEMS
Haryana |  | RAJIV GANDHI TPS | 1 | 0 | 600 | 0 | 0 | 23/02/2025 21:06 | 22/05/2025 21:59 | WATER WALL TUBE LEAKAGE
Punjab |  | TALWANDI SABO TPP | 3 | 0 | 0 | 660 | 0 | 22/05/2025 08:47 | 22/05/2025 22:57 | BOILER AUX. MISC. PROMLEMS
Rajasthan |  | RAJASTHAN A.P.S. | 7 | 0 | 0 | 700 | 0 | 21/05/2025 15:26 |  | REACTOR MAINTENANCE WORKS.
Rajasthan |  | CHHABRA-II TPP | 6 | 0 | 660 | 0 | 0 | 13/04/2025 00:48 |  | TURBINE BEARING PROBLEM
Rajasthan |  | KALISINDH TPS | 2 | 0 | 0 | 600 | 0 | 22/05/2025 19:18 |  | AIR PREHEATERS PROBLEM
Uttar Pradesh |  | MEJA STPP | 2 | 0 | 0 | 660 | 0 | 21/05/2025 19:56 | 22/05/2025 00:32 | BOILER MISC. PROBLEM
Uttar Pradesh |  | HARDUAGANJ TPS | 10 | 0 | 0 | 660 | 0 | 22/05/2025 08:36 |  | SEAL OIL SYSTEM PROBLEM
Uttar Pradesh |  | JAWAHARPUR STPP | 1 | 0 | 0 | 660 | 0 | 22/05/2025 01:56 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | JAWAHARPUR STPP | 2 | 0 | 0 | 660 | 0 | 22/05/2025 08:04 |  | RSD/LOW SCHEDULE
Uttar Pradesh |  | OBRA TPS | 14 | 0 | 0 | 660 | 0 | 22/05/2025 16:35 |  | TURBINE VIBRATIONS HIGH
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 22/05/2025 00:32 |  | RESERVE SHUT DOWN / STANDBY UNIT
Chhatisgarh |  | SIPAT STPS | 1 | 660 | 0 | 0 | 0 | 15/05/2025 02:09 |  | OVERHAULING WORKS
Chhatisgarh |  | AKALTARA TPS | 4 | 0 | 0 | 600 | 0 | 22/05/2025 10:29 |  | RSD/LOW SCHEDULE
Gujarat |  | SALAYA TPP | 1 | 0 | 0 | 600 | 0 | 16/05/2025 16:21 |  | CONDENSER TUBE LEAKAGE/ CLEANING
Madhya Pradesh |  | VINDHYACHAL STPS | 11 | 500 | 0 | 0 | 0 | 01/05/2025 00:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SHREE SINGAJI TPP | 4 | 0 | 0 | 0 | 0 | 09/05/2025 01:56 | 22/05/2025 03:47 | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | MAHAN TPP | 1 | 0 | 600 | 0 | 0 | 13/04/2025 06:18 |  | GENEARTOR MISC.
Maharashtra |  | CHANDRAPUR | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION
Maharashtra |  | (MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | RELAY OPERATION PROBLEM
Maharashtra |  | KHAPARKHEDA TPS | 5 | 0 | 0 | 500 | 0 | 21/05/2025 21:45 |  | WATER WALL TUBE LEAKAGE
Andhra Pradesh |  | SIMHADRI | 2 | 0 | 0 | 0 | 0 | 22/05/2025 00:13 | 22/05/2025 06:20 | ELECTRICAL FAULT
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 8 | 0 | 0 | 800 | 0 | 08/05/2025 22:37 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Andhra Pradesh |  | VIZAG TPP | 2 | 0 | 520 | 0 | 0 | 01/04/2025 23:12 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
Karnataka |  | KUDGI STPP | 1 | 0 | 0 | 800 | 0 | 22/05/2025 11:43 |  | CONSERVATION OF MAIN FUEL/RSD
Karnataka |  | YERMARUS TPP | 1 | 0 | 0 | 800 | 0 | 22/05/2025 11:38 |  | RSD/LOW SCHEDULE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 18/05/2025 10:13 |  | RSD/LOW SCHEDULE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 0 | 600 | 0 | 21/05/2025 01:52 |  | RESERVE SHUT DOWN / STANDBY UNIT
Tamil Nadu |  | NTPL TUTICORIN TPP | 1 | 0 | 0 | 500 | 0 | 07/05/2025 19:13 | 22/05/2025 07:59 | ESP PROBLEM
Tamil Nadu |  | NORTH CHENNAI TPS | 4 | 0 | 0 | 600 | 0 | 22/05/2025 18:35 | 22/05/2025 23:30 | TURBINE VIBRATIONS HIGH
Tamil Nadu |  | MUTHIARA TPP | 2 | 0 | 600 | 0 | 0 | 13/04/2025 12:15 |  | TURBINE BEARING PROBLEM
Tamil Nadu |  | TUTICORIN TPP ST-IV | 1 | 0 | 0 | 525 | 0 | 18/05/2025 10:21 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | KAKATIYA TPS | 1 | 0 | 0 | 500 | 0 | 22/05/2025 19:10 |  | ECONOMISER TUBE LEAKAGE
Telangana |  | KAKATIYA TPS | 2 | 0 | 0 | 0 | 0 | 22/05/2025 13:59 | 22/05/2025 17:01 | BOILER MISC. PROBLEM
Telangana |  | KOTHAGUDEM TPS (NEW) | 11 | 0 | 0 | 500 | 0 | 21/05/2025 19:18 |  | ECONOMISER TUBE LEAKAGE
Telangana |  | YADADRI TPS | 2 | 0 | 0 | 800 | 0 | 20/05/2025 10:50 |  | WATER WALL TUBE LEAKAGE
Bihar |  | BARH STPS | 2 | 0 | 0 | 660 | 0 | 20/05/2025 02:11 |  | WATER WALL TUBE LEAKAGE
Jharkhand |  | BOKARO TPS `A` EXP | 1 | 500 | 0 | 0 | 0 | 25/03/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
| Total | 5: 1660; 6: 3480; 7: 15805; DD/MM/YYYY HH24:MM 8: 0
Remarks:-
Report Version :-