## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 22-05-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
PRAGATI CCPP | 2 | 104.60 | 21/05/2025 22:30 | 22/05/2025 08:23 | Low system demand/ costly fuel
PANIPAT TPS | 8 | 250.00 | 21/05/2025 18:49 | 22/05/2025 20:43 | GRID DISTURBANCE
RAJIV GANDHI TPS | 1 | 600.00 | 23/02/2025 21:06 | 22/05/2025 21:59 | WATER WALL TUBE LEAKAGE
GH TPS (LEH.MOH.) | 4 | 250.00 | 19/05/2025 14:15 | 22/05/2025 13:47 | WATER WALL TUBE LEAKAGE
TALWANDI SABO TPP | 3 | 660.00 | 22/05/2025 08:47 | 22/05/2025 22:57 | BOILER AUX. MISC. PROMLEMS
RAJASTHAN A.P.S. | 2 | 200.00 | 22/05/2025 12:39 | 22/05/2025 13:11 | Miscellaneous
RAJASTHAN A.P.S. | 2 |  | 31/12/2024 21:44 | 22/05/2025 01:56 | ANNUAL MAINTENANCE
RAJASTHAN A.P.S. | 2 |  | 22/05/2025 04:10 | 22/05/2025 07:45 | Miscellaneous
CHHABRA-I PH-1 TPP | 2 | 250.00 | 22/05/2025 17:11 | 22/05/2025 20:38 | FURNACE DRAFT ABNORMAL
KOTA TPS | 4 | 210.00 | 21/05/2025 11:58 | 22/05/2025 21:41 | BOILER MISC. PROBLEM
JALIPA KAPURDI TPP | 2 | 135.00 | 16/05/2025 15:44 | 22/05/2025 06:02 | BOILER MISC. PROBLEM
DADRI (NCTPP) | 1 | 210.00 | 21/05/2025 20:08 | 22/05/2025 21:05 | TRIPPING OF TRANSMISSION LINE
DADRI (NCTPP) | 2 | 210.00 | 21/05/2025 20:01 | 22/05/2025 16:22 | TRIPPING OF TRANSMISSION LINE
DADRI (NCTPP) | 3 | 210.00 | 21/05/2025 20:01 | 22/05/2025 20:19 | TRIPPING OF TRANSMISSION LINE
DADRI (NCTPP) | 4 | 210.00 | 21/05/2025 20:01 | 22/05/2025 07:59 | TRIPPING OF TRANSMISSION LINE
DADRI (NCTPP) | 5 | 490.00 | 21/05/2025 20:25 | 22/05/2025 07:35 | TRIPPING OF TRANSMISSION LINE
DADRI (NCTPP) | 6 | 490.00 | 21/05/2025 20:12 | 22/05/2025 14:56 | TRIPPING OF TRANSMISSION LINE
MEJA STPP | 2 | 660.00 | 21/05/2025 19:56 | 22/05/2025 00:32 | BOILER MISC. PROBLEM
SHREE SINGAJI TPP | 4 | 660.00 | 09/05/2025 01:56 | 22/05/2025 03:47 | WATER WALL TUBE LEAKAGE
SIMHADRI | 2 | 500.00 | 22/05/2025 00:13 | 22/05/2025 06:20 | ELECTRICAL FAULT
RAYALASEEMA TPS | 3 | 210.00 | 21/05/2025 21:37 | 22/05/2025 19:41 | ECONOMISER TUBE LEAKAGE
SIMHAPURI TPS | 2 | 150.00 | 19/05/2025 08:15 | 22/05/2025 13:29 | BOILER AUX. MISC. PROMLEMS
NTPL TUTICORIN TPP | 1 | 500.00 | 07/05/2025 19:13 | 22/05/2025 07:59 | ESP PROBLEM
NORTH CHENNAI TPS | 4 | 600.00 | 01/03/2025 11:14 | 22/05/2025 00:51 | TURBINE MISC. PROBLEM
NORTH CHENNAI TPS | 4 |  | 22/05/2025 18:35 | 22/05/2025 23:30 | TURBINE VIBRATIONS HIGH
KAKATIYA TPS | 2 | 600.00 | 22/05/2025 13:59 | 22/05/2025 17:01 | BOILER MISC. PROBLEM
KOTHAGUDEM TPS (NEW) | 9 | 250.00 | 22/05/2025 07:21 | 22/05/2025 18:01 | RSD/LOW SCHEDULE
FARAKKA STPS | 2 | 200.00 | 20/05/2025 20:29 | 22/05/2025 16:38 | ECONOMISER TUBE LEAKAGE
D.P.L. TPS | 8 | 250.00 | 07/05/2025 04:10 | 22/05/2025 11:25 | STATION TRANSFORMER PROBLEM
KATHALGURI CCPP | 4 | 33.50 | 22/05/2025 00:00 | 22/05/2025 23:59 | LOW SYSTEM DEMAND
KATHALGURI CCPP | 8 | 30.00 | 22/05/2025 00:00 | 22/05/2025 23:59 | MISCELLANEOUS PLANNED MAINTENANCE
KATHALGURI CCPP | 9 | 30.00 | 22/05/2025 00:00 | 22/05/2025 16:09 | MISCELLANEOUS
LAKWA REPLACEMENT POWER PROJECT | 4 | 9.96 | 21/05/2025 09:59 | 22/05/2025 14:42 | GRID DISTURBENCE
LAKWA REPLACEMENT POWER PROJECT | 5 | 9.96 | 22/05/2025 14:49 | 22/05/2025 19:54 | GRID DISTURBANCE
AGARTALA GT | 1 | 21.00 | 22/05/2025 00:00 | 22/05/2025 23:59 | Fuel Shortage
AGARTALA GT | 2 | 21.00 | 22/05/2025 00:00 | 22/05/2025 23:59 | Fuel Shortage
AGARTALA GT | 5 | 25.50 | 22/05/2025 00:00 | 22/05/2025 23:59 | Fuel Shortage
AGARTALA GT | 6 | 25.50 | 22/05/2025 05:02 | 22/05/2025 06:46 | MISCELLANEOUS
Total |  | 9,266.03