## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 26-03-2025
Sub-Report-10
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana | PANIPAT TPS | 7 | 250 | 0 | 0 | 0 | 21/03/2025 00:20 |  | ANNUAL MAINTENANCE
Haryana | RAJIV GANDHI TPS | 1 | 0 | 600 | 0 | 0 | 23/02/2025 21:06 |  | WATER WALL TUBE LEAKAGE
Punjab | GH TPS (LEH.MOH.) | 1 | 0 | 0 | 210 | 0 | 21/03/2025 15:58 |  | STATOR EARTH FAULT
Punjab | GH TPS (LEH.MOH.) | 2 | 0 | 0 | 210 | 0 | 17/03/2025 23:33 |  | FUEL OIL PROBLEM
Punjab | GOINDWAL SAHIB TPP | 1 | 270 | 0 | 0 | 0 | 29/01/2025 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Punjab | ROPAR TPS | 4 | 210 | 0 | 0 | 0 | 18/03/2025 03:05 |  | ANNUAL MAINTENANCE
Punjab | TALWANDI SABO TPP | 2 | 0 | 0 | 660 | 0 | 26/03/2025 12:06 |  | AIR PREHEATERS PROBLEM
Rajasthan | DAE (RAJASTHAN) | 1 | 0 | 100 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan | RAJASTHAN A.P.S. | 2 | 200 | 0 | 0 | 0 | 31/12/2024 21:44 |  | ANNUAL MAINTENANCE
Rajasthan | RAJASTHAN A.P.S. | 5 | 220 | 0 | 0 | 0 | 16/02/2025 23:55 |  | ANNUAL MAINTENANCE
Rajasthan | CHHABRA-I PH-2 TPP | 4 | 0 | 0 | 250 | 0 | 25/03/2025 00:30 | 26/03/2025 16:06 | WATER WALL TUBE LEAKAGE
Rajasthan | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | KOTA TPS | 6 | 195 | 0 | 0 | 0 | 15/03/2025 06:20 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan | KOTA TPS | 7 | 0 | 0 | 195 | 0 | 24/03/2025 20:30 | 26/03/2025 08:01 | FURNACE DRAFT ABNORMAL
Rajasthan | SURATGARH TPS | 1 | 0 | 0 | 250 | 0 | 23/03/2025 12:31 |  | A.V.R. FAILURE
Rajasthan | SURATGARH TPS | 2 | 250 | 0 | 0 | 0 | 12/03/2025 00:15 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Rajasthan | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 13:48 |  | GENERATOR STATOR DAMAGED
Uttar Pradesh | MEJA STPP | 2 | 660 | 0 | 0 | 0 | 26/02/2025 22:27 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh | ANPARA TPS | 1 | 0 | 0 | 210 | 0 | 16/03/2025 03:57 |  | TURBINE VIBRATION HIGH
Uttar Pradesh | ANPARA TPS | 3 | 0 | 0 | 210 | 0 | 26/03/2025 17:48 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh | JAWAHARPUR STPP | 1 | 0 | 0 | 660 | 0 | 26/03/2025 16:55 | 26/03/2025 22:39 | BOILER MISC. PROBLEM
Uttar Pradesh | JAWAHARPUR STPP | 2 | 0 | 0 | 660 | 0 | 24/03/2025 20:28 | 26/03/2025 11:12 | ECONOMISER TUBE LEAKAGE
Uttar Pradesh | OBRA TPS | 10 | 0 | 0 | 200 | 0 | 21/03/2025 23:00 |  | AIR PREHEATERS PROBLEM
Uttar Pradesh | OBRA TPS | 14 | 660 | 0 | 0 | 0 | 25/03/2025 00:03 |  | MISCELLANEOUS PLANNED MAINTENANCE
Uttar Pradesh | BARKHERA TPS | 1 | 45 | 0 | 0 | 0 | 13/03/2025 20:58 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh | BARKHERA TPS | 2 | 0 | 45 | 0 | 0 | 05/02/2025 11:59 |  | RSD/LOW SCHEDULE
Uttar Pradesh | KHAMBARKHERA TPS | 1 | 45 | 0 | 0 | 0 | 15/02/2025 11:58 |  | TURBINE INSPECTION MISC
Uttar Pradesh | KHAMBARKHERA TPS | 2 | 45 | 0 | 0 | 0 | 18/02/2025 00:00 |  | ANNUAL MAINTENANCE
Uttar Pradesh | KUNDARKI TPS | 1 | 0 | 45 | 0 | 0 | 22/02/2025 21:13 |  | GOVERNOR SLUGGISH/HUNTING /FAIL/TROUBLE
Uttar Pradesh | KUNDARKI TPS | 2 | 45 | 0 | 0 | 0 | 20/02/2025 00:00 |  | ANNUAL MAINTENANCE
Uttar Pradesh | MAQSOODPUR TPS | 1 | 45 | 0 | 0 | 0 | 02/02/2025 20:00 |  | ANNUAL MAINTENANCE
Uttar Pradesh | MAQSOODPUR TPS | 2 | 0 | 0 | 45 | 0 | 22/03/2025 14:45 |  | COAL FEEDING SYSTEM FAILURE.
Uttar Pradesh | PRAYAGRAJ TPP | 3 | 0 | 0 | 660 | 0 | 20/03/2025 18:29 |  | SUPER HEATER TUBE LEAKAGE
Uttar Pradesh | UTRAULA TPS | 1 | 0 | 45 | 0 | 0 | 28/02/2025 11:29 |  | GENEARTOR MISC.
Uttar Pradesh | UTRAULA TPS | 2 | 45 | 0 | 0 | 0 | 20/02/2025 00:30 |  | INSPECTION OF GENERATING UNIT
Total Northern |  |  | 3435 | 1085 | 4420 | 0
Western
Chhatisgarh | SIPAT STPS | 4 | 500 | 0 | 0 | 0 | 16/03/2025 00:22 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh | BANDAKHAR TPP | 1 | 0 | 0 | 300 | 0 | 24/03/2025 23:00 |  | I.D. FANS PROBLEM
Chhatisgarh | KATGHORA TPP | 1 | 0 | 0 | 0 | 35 | 15/10/2012 00:28 |  | NO Power purchase agreement
Chhatisgarh | NAWAPARA TPP | 1 | 0 | 0 | 300 | 0 | 25/03/2025 07:32 |  | ASH HANDLING SYSTEM PROBLEM
Chhatisgarh | OP JINDAL TPS | 4 | 0 | 250 | 0 | 0 | 09/02/2025 08:36 |  | ELECTRICAL FAULT
Chhatisgarh | RATIJA TPS | 1 | 50 | 0 | 0 | 0 | 13/02/2025 01:05 |  | CAPITAL MAINTENANCE
Chhatisgarh | SALORA TPP | 1 | 0 | 0 | 0 | 135 | 19/10/2014 04:30 |  | NO Power purchase agreement
Chhatisgarh | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 25 | 01/04/2015 00:20 |  | NO Power purchase agreement
Chhatisgarh | UCHPINDA TPP | 4 | 0 | 0 | 360 | 0 | 17/03/2025 11:53 |  | BOILER MISC. PROBLEM
Gujarat | KAKRAPARA | 4 | 0 | 0 | 700 | 0 | 24/03/2025 01:59 |  | MAIN STEAM LINE PROBLEM
Gujarat | AKRIMOTA LIG TPS | 1 | 125 | 0 | 0 | 0 | 08/06/2024 19:30 |  | CAPITAL MAINTENANCE
Gujarat | AKRIMOTA LIG TPS | 2 | 125 | 0 | 0 | 0 | 19/02/2024 18:45 |  | CAPITAL MAINTENANCE
Gujarat | BHAVNAGAR CFBC TPP | 2 | 250 | 0 | 0 | 0 | 26/01/2025 23:59 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Gujarat | KUTCH LIG. TPS | 3 | 75 | 0 | 0 | 0 | 16/03/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Gujarat | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat | SIKKA REP. TPS | 3 | 0 | 0 | 250 | 0 | 21/03/2025 10:20 |  | AIR PREHEATERS PROBLEM
Gujarat | UKAI TPS | 4 | 0 | 0 | 200 | 0 | 25/03/2025 10:55 |  | WATER WALL TUBE LEAKAGE
Gujarat | WANAKBORI TPS | 5 | 210 | 0 | 0 | 0 | 10/03/2025 00:22 |  | CAPITAL MAINTENANCE
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 5 | 660 | 0 | 0 | 0 | 17/03/2025 23:45 |  | CAPITAL MAINTENANCE
Gujarat | MUNDRA UMTPP | 1 | 0 | 0 | 800 | 0 | 24/03/2025 01:53 | 26/03/2025 17:51 | BOILER AUX. MISC. PROMLEMS
Gujarat | MUNDRA UMTPP | 5 | 0 | 0 | 800 | 0 | 13/03/2025 02:53 |  | TURBINE CONTROL VALVE PROBLEM
Madhya Pradesh | GADARWARA TPP | 2 | 0 | 0 | 0 | 0 | 23/03/2025 03:30 | 26/03/2025 05:38 | WATER WALL TUBE LEAKAGE
Madhya Pradesh | VINDHYACHAL STPS | 3 | 210 | 0 | 0 | 0 | 25/02/2025 23:43 |  | OVERHAULING WORKS
Madhya Pradesh | SANJAY GANDHI TPS | 1 | 210 | 0 | 0 | 0 | 04/08/2024 19:03 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SANJAY GANDHI TPS | 2 | 0 | 0 | 210 | 0 | 26/03/2025 00:29 |  | SUPER HEATER TUBE LEAKAGE
Madhya Pradesh | SATPURA TPS | 6 | 200 | 0 | 0 | 0 | 05/03/2021 11:55 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 7 | 210 | 0 | 0 | 0 | 05/03/2021 10:09 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 8 | 210 | 0 | 0 | 0 | 29/02/2020 23:54 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 9 | 210 | 0 | 0 | 0 | 22/02/2020 02:52 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | BINA TPS | 1 | 0 | 250 | 0 | 0 | 27/01/2025 12:17 |  | STATOR EARTH FAULT
Madhya Pradesh | NIWARI TPP | 2 | 0 | 0 | 45 | 0 | 24/03/2025 21:58 |  | FURNACE DRAFT ABNORMAL
Madhya Pradesh | SASAN UMTPP | 3 | 0 | 0 | 660 | 0 | 26/03/2025 10:42 |  | WATER WALL TUBE LEAKAGE
Maharashtra | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | BHUSAWAL TPS | 3 | 0 | 0 | 210 | 0 | 26/03/2025 04:26 |  | WATER WALL TUBE LEAKAGE
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Maharashtra | PARAS TPS | 4 | 0 | 0 | 0 | 0 | 26/03/2025 03:57 | 26/03/2025 12:00 | STATOR/ STATOR EARTH FAULT
Maharashtra | BUTIBORI TPP | 1 | 0 | 300 | 0 | 0 | 29/12/2018 00:30 |  | COAL SHORTAGE
Maharashtra | BUTIBORI TPP | 2 | 0 | 300 | 0 | 0 | 17/01/2019 00:15 |  | COAL SHORTAGE
Maharashtra | GEPL TPP Ph-I | 1 | 0 | 0 | 0 | 60 | 29/06/2013 00:00 |  | NO Power purchase agreement
Maharashtra | GEPL TPP Ph-I | 2 | 0 | 0 | 0 | 60 | 20/06/2013 20:27 |  | NO Power purchase agreement
Maharashtra | JSW RATNAGIRI TPP | 1 | 0 | 0 | 300 | 0 | 12/03/2025 14:30 |  | TURBINE VIBRATION HIGH
Maharashtra | MIHAN TPS | 1 | 0 | 0 | 0 | 61.51 | 10/01/2013 15:50 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 2 | 0 | 0 | 0 | 61.5 | 05/11/2013 11:53 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 3 | 0 | 0 | 0 | 61.5 | 10/06/2013 18:00 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 4 | 0 | 0 | 0 | 61.5 | 20/08/2013 10:00 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 1 | 0 | 0 | 0 | 270 | 04/03/2014 18:10 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 2 | 0 | 0 | 0 | 270 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 3 | 0 | 0 | 0 | 270 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 4 | 0 | 0 | 0 | 270 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 5 | 0 | 0 | 0 | 270 | 30/05/2017 15:24 |  | NO Power purchase agreement
Total Western |  |  | 3565 | 1675 | 5135 | 1911.01
Southern
Andhra Pradesh | RAYALASEEMA TPS | 4 | 0 | 0 | 210 | 0 | 26/03/2025 20:04 |  | WATER WALL TUBE LEAKAGE
Andhra Pradesh | RAYALASEEMA TPS | 5 | 0 | 0 | 210 | 0 | 25/03/2025 11:18 |  | ECONOMISER TUBE LEAKAGE
Andhra Pradesh | THAMMINAPATNAM TPS | 1 | 0 | 150 | 0 | 0 | 27/02/2025 11:07 |  | I.D. FANS PROBLEM
Andhra Pradesh | THAMMINAPATNAM TPS | 2 | 0 | 150 | 0 | 0 | 27/02/2025 14:32 |  | TURBINE MISC. PROBLEM
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 520 | 0 | 19/03/2025 05:09 |  | AIR PREHEATERS PROBLEM
Karnataka | BELLARY TPS | 3 | 0 | 0 | 700 | 0 | 25/03/2025 09:39 |  | WATER WALL TUBE LEAKAGE
Karnataka | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka | RAICHUR TPS | 3 | 0 | 0 | 0 | 0 | 24/03/2025 08:10 | 26/03/2025 01:46 | FURNACE FIRE OUT /FLAME FAILURE
Karnataka | RAICHUR TPS | 4 | 0 | 210 | 0 | 0 | 09/11/2024 15:57 |  | REHEATER TUBE LEAKAGE
Tamil Nadu | NEYVELI ( EXT) TPS | 1 | 0 | 0 | 0 | 0 | 22/03/2025 10:54 | 26/03/2025 06:33 | WATER WALL TUBE LEAKAGE
Tamil Nadu | NEYVELI NEW TPP | 1 | 0 | 0 | 500 | 0 | 24/03/2025 19:14 |  | BOILER MISC. PROBLEM
Tamil Nadu | NEYVELI TPS-II | 3 | 0 | 0 | 210 | 0 | 16/03/2025 02:38 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Tamil Nadu | NEYVELI TPS-II | 6 | 0 | 0 | 210 | 0 | 23/03/2025 23:01 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu | NEYVELI TPS-II EXP | 1 | 250 | 0 | 0 | 0 | 14/09/2024 23:59 |  | CAPITAL MAINTENANCE
Tamil Nadu | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu | METTUR TPS | 3 | 0 | 210 | 0 | 0 | 19/12/2024 16:33 |  | COLLAPSE OF R.C. BUNKER
Tamil Nadu | NORTH CHENNAI TPS | 3 | 0 | 0 | 210 | 0 | 25/03/2025 03:21 |  | SUPER HEATER TUBE LEAKAGE
Tamil Nadu | NORTH CHENNAI TPS | 4 | 0 | 600 | 0 | 0 | 01/03/2025 11:14 |  | TURBINE MISC. PROBLEM
Tamil Nadu | TUTICORIN TPS | 1 | 0 | 0 | 210 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu | TUTICORIN TPS | 2 | 0 | 0 | 210 | 0 | 15/03/2025 22:01 |  | FIRE IN CABLE GALLERY
Tamil Nadu | TUTICORIN TPS | 3 | 0 | 0 | 210 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MISCELLANEOUS PLANNED MAINTENANCE
Tamil Nadu | TUTICORIN (P) TPP | 1 | 0 | 0 | 0 | 150 | 03/04/2016 00:31 |  | NO Power purchase agreement
Tamil Nadu | TUTICORIN (P) TPP | 2 | 0 | 0 | 0 | 150 | 16/04/2016 01:42 |  | NO Power purchase agreement
Telangana | RAMAGUNDEM STPS | 6 | 0 | 0 | 0 | 0 | 22/03/2025 17:48 | 26/03/2025 10:28 | WATER WALL TUBE LEAKAGE
Telangana | BHADRADRI TPP | 1 | 0 | 270 | 0 | 0 | 30/06/2024 00:00 |  | GENEATOR PROTECTION MISC/BACK UP PROT
Telangana | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Telangana | YADADRI TPS | 2 | 0 | 800 | 0 | 0 | 11/02/2025 00:00 |  | WATER WALL TUBE LEAKAGE
Total Southern |  |  | 313.5 | 2882.5 | 3400 | 300
Eastern
Bihar | BARAUNI TPS | 6 | 105 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARAUNI TPS | 7 | 105 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARAUNI TPS | 9 | 250 | 0 | 0 | 0 | 23/02/2025 00:00 |  | OVERHAULING WORKS
Bihar | BARH STPS | 2 | 0 | 0 | 660 | 0 | 23/03/2025 17:09 |  | WATER WALL TUBE LEAKAGE
Bihar | NABINAGAR STPP | 1 | 0 | 0 | 660 | 0 | 25/03/2025 10:10 |  | WATER WALL TUBE LEAKAGE
Jharkhand | BOKARO TPS `A` EXP | 1 | 500 | 0 | 0 | 0 | 25/03/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Jharkhand | NORTH KARANPURA TPP | 1 | 660 | 0 | 0 | 0 | 23/02/2025 00:03 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha | TALCHER STPS | 3 | 0 | 0 | 0 | 0 | 22/03/2025 00:11 | 26/03/2025 05:08 | BOILER MISC. PROBLEM
Odisha | JSW Energy Utkal Limited | 1 | 0 | 0 | 350 | 0 | 26/03/2025 16:45 | 26/03/2025 20:56 | FURNACE DRAFT ABNORMAL
West Bengal | FARAKKA STPS | 2 | 200 | 0 | 0 | 0 | 06/03/2025 03:10 |  | OVERHAULING WORKS
West Bengal | MEJIA TPS | 3 | 210 | 0 | 0 | 0 | 10/02/2025 01:53 |  | CAPITAL MAINTENANCE
West Bengal | MEJIA TPS | 5 | 0 | 0 | 250 | 0 | 26/03/2025 18:19 | 26/03/2025 20:38 | GENERATOR PROTECTION
West Bengal | MEJIA TPS | 7 | 0 | 0 | 500 | 0 | 26/03/2025 16:05 |  | BOILER MISC. PROBLEM
West Bengal | BUDGE BUDGE TPS | 3 | 0 | 0 | 0 | 0 | 25/03/2025 23:01 | 26/03/2025 00:36 | P.A. FANS PROBLEM
West Bengal | DISHERGARH TPP | 1 | 12 | 0 | 0 | 0 | 11/12/2024 12:13 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal | SOUTHERN REPL. TPS | 2 | 67.5 | 0 | 0 | 0 | 15/03/2025 09:00 |  | SCHEDULED CAPITAL MAINTENACE
West Bengal | TITAGARH TPS | 1 | 0 | 60 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 2 | 0 | 60 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 3 | 0 | 60 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 4 | 0 | 60 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  |  | 2109.5 | 240 | 2420 | 0
North Eastern
Assam | BONGAIGAON TPP | 3 | 250 | 0 | 0 | 0 | 25/02/2025 00:34 |  | OVERHAULING WORKS
Total North Eastern |  |  | 250 | 0 | 0 | 0
Total |  |  | 9673 | 5882.5 | 15375 | 2211.01