## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 26-03-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
CHHABRA-I PH-2 TPP | 4 | 250.00 | 25/03/2025 00:30 | 26/03/2025 16:06 | WATER WALL TUBE LEAKAGE
KOTA TPS | 7 | 195.00 | 24/03/2025 20:30 | 26/03/2025 08:01 | FURNACE DRAFT ABNORMAL
RAMGARH CCPP | 2 | 35.50 | 14/03/2025 07:00 | 26/03/2025 10:34 | MINOR MAINTENANCE WORKS
JAWAHARPUR STPP | 1 | 660.00 | 26/03/2025 16:55 | 26/03/2025 22:39 | BOILER MISC. PROBLEM
JAWAHARPUR STPP | 2 | 660.00 | 24/03/2025 20:28 | 26/03/2025 11:12 | ECONOMISER TUBE LEAKAGE
GANDHAR CCPP | 1 | 144.30 | 25/03/2025 17:41 | 26/03/2025 13:50 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 3 | 106.00 | 25/03/2025 17:43 | 26/03/2025 14:02 | NO/REDUCED IRRIGATION DEMAND
MUNDRA UMTPP | 1 | 800.00 | 24/03/2025 01:53 | 26/03/2025 17:51 | BOILER AUX. MISC. PROMLEMS
SUGEN CCPP | 3 | 382.50 | 24/03/2025 21:24 | 26/03/2025 14:45 | RSD/LOW SCHEDULE
GADARWARA TPP | 2 | 800.00 | 23/03/2025 03:30 | 26/03/2025 05:38 | WATER WALL TUBE LEAKAGE
PARAS TPS | 4 | 250.00 | 26/03/2025 03:57 | 26/03/2025 12:00 | STATOR/ STATOR EARTH FAULT
RAICHUR TPS | 3 | 210.00 | 24/03/2025 08:10 | 26/03/2025 01:46 | FURNACE FIRE OUT /FLAME FAILURE
NEYVELI ( EXT) TPS | 1 | 210.00 | 22/03/2025 10:54 | 26/03/2025 06:33 | WATER WALL TUBE LEAKAGE
RAMAGUNDEM STPS | 6 | 500.00 | 22/03/2025 17:48 | 26/03/2025 10:28 | WATER WALL TUBE LEAKAGE
TALCHER STPS | 3 | 500.00 | 22/03/2025 00:11 | 26/03/2025 05:08 | BOILER MISC. PROBLEM
JSW Energy Utkal Limited | 1 | 350.00 | 26/03/2025 16:45 | 26/03/2025 20:56 | FURNACE DRAFT ABNORMAL
MEJIA TPS | 5 | 250.00 | 24/03/2025 23:48 | 26/03/2025 17:20 | TURBINE VIBRATIONS HIGH
MEJIA TPS | 5 |  | 26/03/2025 18:19 | 26/03/2025 20:38 | GENERATOR PROTECTION
BUDGE BUDGE TPS | 3 | 250.00 | 25/03/2025 23:01 | 26/03/2025 00:36 | P.A. FANS PROBLEM
KATHALGURI CCPP | 3 | 33.50 | 26/03/2025 00:00 | 26/03/2025 11:11 | LOW SYSTEM DEMAND
KATHALGURI CCPP | 6 | 33.50 | 26/03/2025 11:18 | 26/03/2025 23:59 | LOW SYSTEM DEMAND
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 25/03/2025 23:06 | 26/03/2025 05:57 | MISC. SHORT DURATION MAINTENANCE
LAKWA REPLACEMENT POWER PROJECT | 1 |  | 26/03/2025 07:39 | 26/03/2025 17:51 | MISCELLANOUS
AGARTALA GT | 3 | 21.00 | 26/03/2025 00:00 | 26/03/2025 23:59 | Fuel Shortage
AGARTALA GT | 4 | 21.00 | 26/03/2025 00:00 | 26/03/2025 23:59 | MISCELLANEOUS PLANNED MAINTENANCE
AGARTALA GT | 6 | 25.50 | 26/03/2025 00:00 | 26/03/2025 23:59 | Fuel Shortage
Total |  | 6,697.77