## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 26-03-2025 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
TALWANDI SABO TPP | 2 | 660.00 | 26/03/2025 12:06 |  | AIR PREHEATERS PROBLEM
AURAIYA CCPP | 5 | 109.30 | 26/03/2025 12:00 | 26/03/2025 | NO/REDUCED IRRIGATION DEMAND
ANPARA TPS | 3 | 210.00 | 26/03/2025 17:48 |  | ECONOMISER TUBE LEAKAGE
JAWAHARPUR STPP | 1 | 660.00 | 26/03/2025 16:55 |  | BOILER MISC. PROBLEM
GANDHAR CCPP | 1 | 144.30 | 26/03/2025 17:45 | 26/03/2025 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 3 | 106.00 | 26/03/2025 17:47 |  | NO/REDUCED IRRIGATION DEMAND
KAWAS CCPP | 5 | 116.10 | 26/03/2025 12:00 | 26/03/2025 | NO/REDUCED IRRIGATION DEMAND
SANJAY GANDHI TPS | 2 | 210.00 | 26/03/2025 00:29 |  | SUPER HEATER TUBE LEAKAGE
SASAN UMTPP | 3 | 660.00 | 26/03/2025 10:42 |  | WATER WALL TUBE LEAKAGE
BHUSAWAL TPS | 3 | 210.00 | 26/03/2025 04:26 |  | WATER WALL TUBE LEAKAGE
PARAS TPS | 4 | 250.00 | 26/03/2025 03:57 |  | STATOR/ STATOR EARTH FAULT
RAYALASEEMA TPS | 4 | 210.00 | 26/03/2025 20:04 |  | WATER WALL TUBE LEAKAGE
JSW Energy Utkal Limited | 1 | 350.00 | 26/03/2025 16:45 | 26/03/2025 | FURNACE DRAFT ABNORMAL
MEJIA TPS | 5 | 250.00 | 26/03/2025 18:19 |  | GENERATOR PROTECTION
MEJIA TPS | 7 | 500.00 | 26/03/2025 16:05 |  | BOILER MISC. PROBLEM
KATHALGURI CCPP | 3 | 33.50 | 26/03/2025 00:00 |  | LOW SYSTEM DEMAND
KATHALGURI CCPP | 6 | 33.50 | 26/03/2025 11:18 |  | LOW SYSTEM DEMAND
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 26/03/2025 07:39 |  | MISCELLANOUS
AGARTALA GT | 3 | 21.00 | 26/03/2025 00:00 |  | Fuel Shortage
AGARTALA GT | 4 | 21.00 | 26/03/2025 00:00 |  | MISCELLANEOUS PLANNED MAINTENANCE
AGARTALA GT | 6 | 25.50 | 26/03/2025 00:00 |  | Fuel Shortage
Total |  | 4790.16
https://npp.gov.in 27/03/2025 17:20:05 |  |  |  |  | PAGE 1