## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 28-09-2023
Sub-Report-10
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Punjab | GH TPS (LEH.MOH.) | 2 | 0 | 210 | 0 | 0 | 30/04/2022 15:01 |  | ASH HANDLING SYSTEM PROBLEM
Punjab | ROPAR TPS | 4 | 0 | 0 | 0 | 210 | 16/09/2023 23:59 | 28/09/2023 21:48 | LOW SYSTEM DEMAND
Punjab | ROPAR TPS | 6 | 0 | 0 | 0 | 210 | 17/09/2023 10:44 |  | LOW SYSTEM DEMAND
Punjab | GOINDWAL SAHIB TPP | 1 | 0 | 0 | 270 | 0 | 26/09/2023 16:32 |  | FURNACE FIRE OUT /FLAME FAILURE
Rajasthan | DAE (RAJASTHAN) | 1 | 0 | 100 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan | RAJASTHAN A.P.S. | 3 | 220 | 0 | 0 | 0 | 28/10/2022 00:00 |  | ENMASS COOLANT CHANNEL REPLACEMENT
Rajasthan | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | SURATGARH TPS | 5 | 0 | 0 | 0 | 0 | 28/09/2023 21:33 |  | FURNACE DRAFT ABNORMAL
Rajasthan | SURATGARH TPS | 6 | 0 | 0 | 250 | 0 | 14/09/2023 00:23 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Uttar Pradesh | RIHAND STPS | 3 | 500 | 0 | 0 | 0 | 23/09/2023 23:50 |  | OVERHAULING WORKS
Uttar Pradesh | SINGRAULI STPS | 7 | 500 | 0 | 0 | 0 | 17/09/2023 23:27 |  | OVERHAULING WORKS
Uttar Pradesh | HARDUAGANJ TPS | 7 | 0 | 0 | 105 | 0 | 26/09/2023 16:32 |  | DRUM LEVEL HIGH/ low
Uttar Pradesh | OBRA TPS | 9 | 0 | 0 | 200 | 0 | 25/09/2023 15:15 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Uttar Pradesh | OBRA TPS | 11 | 0 | 0 | 200 | 0 | 27/09/2023 12:53 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
Uttar Pradesh | PARICHHA TPS | 1 | 0 | 110 | 0 | 0 | 07/07/2016 17:59 |  | VINTAGE UNIT WITHDRAWN AND CLOSED FOR OPERATION
Uttar Pradesh | PARICHHA TPS | 2 | 0 | 110 | 0 | 0 | 30/12/2019 21:32 |  | VINTAGE UNIT WITHDRAWN AND CLOSED FOR OPERATION
Uttar Pradesh | ROSA TPP Ph-I | 1 | 0 | 300 | 0 | 0 | 07/09/2023 04:58 |  | TURBINE BEARING TEMP. HIGH
Total Northern |  |  | 1470 | 830 | 1025 | 420
Western
Chhatisgarh | KORBA STPS | 6 | 0 | 0 | 500 | 0 | 26/09/2023 16:31 |  | SUPER HEATER TUBE LEAKAGE
Chhatisgarh | SIPAT STPS | 2 | 660 | 0 | 0 | 0 | 07/08/2023 05:25 |  | OVERHAULING WORKS
Chhatisgarh | KORBA-WEST TPS | 4 | 210 | 0 | 0 | 0 | 11/09/2023 00:11 |  | CAPITAL MAINTENANCE
Chhatisgarh | AKALTARA TPS | 3 | 600 | 0 | 0 | 0 | 28/09/2023 00:00 |  | CAPITAL MAINTENANCE
Chhatisgarh | AKALTARA TPS | 4 | 0 | 0 | 600 | 0 | 28/09/2023 05:13 |  | TURBINE VIBRATION HIGH
Chhatisgarh | BINJKOTE TPP | 2 | 0 | 300 | 0 | 0 | 02/08/2023 22:54 |  | AIR PREHEATERS PROBLEM
Chhatisgarh | KATGHORA TPP | 1 | 0 | 0 | 0 | 35 | 15/10/2012 00:28 |  | NO Power purchase agreement
Chhatisgarh | NAWAPARA TPP | 2 | 300 | 0 | 0 | 0 | 23/09/2023 00:34 |  | ANNUAL MAINTENANCE
Chhatisgarh | PATHADI TPP | 2 | 0 | 0 | 300 | 0 | 28/09/2023 06:15 |  | WATER SHORTAGE DUE TO INTERNAL PLANT PROBLEM
Chhatisgarh | SALORA TPP | 1 | 0 | 0 | 0 | 135 | 19/10/2014 04:30 |  | NO Power purchase agreement
Chhatisgarh | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 25 | 01/04/2015 00:20 |  | NO Power purchase agreement
Chhatisgarh | TAMNAR TPP | 2 | 0 | 0 | 600 | 0 | 26/09/2023 00:00 |  | TURBINE MISC.
Chhatisgarh | TAMNAR TPP | 4 | 0 | 600 | 0 | 0 | 29/08/2023 03:11 |  | ELECTRICAL FAULT
Chhatisgarh | UCHPINDA TPP | 4 | 0 | 0 | 360 | 0 | 27/09/2023 18:10 |  | AIR PREHEATERS PROBLEM
Gujarat | AKRIMOTA LIG TPS | 1 | 0 | 125 | 0 | 0 | 12/08/2023 17:06 | 28/09/2023 15:15 | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Gujarat | BHAVNAGAR CFBC TPP | 1 | 0 | 0 | 250 | 0 | 28/09/2023 19:16 | 28/09/2023 23:50 | CONDENSER TUBE LEAKAGE/ CLEANING
Gujarat | BHAVNAGAR CFBC TPP | 2 | 0 | 0 | 250 | 0 | 14/09/2023 16:30 |  | WATER WALL TUBE LEAKAGE
Gujarat | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat | SIKKA REP. TPS | 3 | 0 | 0 | 0 | 250 | 16/09/2023 08:07 |  | RESERVE SHUT DOWN
Gujarat | SIKKA REP. TPS | 4 | 0 | 0 | 0 | 250 | 16/09/2023 12:16 |  | RESERVE SHUT DOWN
Gujarat | UKAI TPS | 3 | 0 | 0 | 0 | 200 | 27/09/2023 00:33 |  | RESERVE SHUT DOWN
Gujarat | UKAI TPS | 5 | 0 | 0 | 0 | 210 | 27/09/2023 00:52 |  | RESERVE SHUT DOWN
Gujarat | WANAKBORI TPS | 3 | 0 | 0 | 0 | 0 | 28/09/2023 10:45 | 28/09/2023 12:46 | FURNACE FIRE OUT /FLAME FAILURE
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 5 | 0 | 0 | 660 | 0 | 17/09/2023 00:00 |  | AIR PREHEATERS PROBLEM
Gujarat | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 03/11/2022 10:38 |  | PROTECTION OPERATION
Gujarat | SALAYA TPP | 2 | 0 | 0 | 600 | 0 | 18/09/2023 11:26 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | SURAT LIG. TPS | 4 | 0 | 0 | 125 | 0 | 27/09/2023 18:02 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh | VINDHYACHAL STPS | 2 | 0 | 210 | 0 | 0 | 07/08/2023 00:32 | 28/09/2023 21:59 | BOILER AUX. MISC. PROMLEMS
Madhya Pradesh | VINDHYACHAL STPS | 12 | 0 | 0 | 500 | 0 | 16/09/2023 07:27 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh | SANJAY GANDHI TPS | 1 | 210 | 0 | 0 | 0 | 21/09/2023 00:00 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SATPURA TPS | 6 | 200 | 0 | 0 | 0 | 05/03/2021 11:55 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 7 | 210 | 0 | 0 | 0 | 05/03/2021 10:09 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 8 | 210 | 0 | 0 | 0 | 29/02/2020 23:54 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SATPURA TPS | 9 | 210 | 0 | 0 | 0 | 22/02/2020 02:52 |  | UNIT LIKELY TO BE SCRAPPED.
Madhya Pradesh | SHREE SINGAJI TPP | 4 | 660 | 0 | 0 | 0 | 25/08/2023 01:59 |  | ANNUAL MAINTENANCE
Madhya Pradesh | MAHAN TPP | 2 | 0 | 0 | 600 | 0 | 27/09/2023 05:48 |  | BOILER MISC. PROBLEM
Madhya Pradesh | SASAN UMTPP | 2 | 0 | 0 | 660 | 0 | 27/09/2023 21:00 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh | SASAN UMTPP | 4 | 660 | 0 | 0 | 0 | 18/09/2023 00:21 |  | ANNUAL MAINTENANCE
Maharashtra | MAUDA TPS | 3 | 660 | 0 | 0 | 0 | 25/09/2023 23:35 |  | OVERHAULING WORKS
Maharashtra | TARAPUR | 1 | 160 | 0 | 0 | 0 | 08/01/2020 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 5 | 500 | 0 | 0 | 0 | 22/05/2023 19:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra | KORADI TPS | 9 | 0 | 0 | 660 | 0 | 22/09/2023 11:39 |  | WATER WALL TUBE LEAKAGE
Maharashtra | NASIK TPS | 4 | 0 | 0 | 210 | 0 | 25/09/2023 20:27 |  | I.D. FANS PROBLEM
Maharashtra | AMRAVATI TPS | 4 | 0 | 270 | 0 | 0 | 22/08/2023 18:46 |  | GENERATOR EARTH FAULT
Maharashtra | BUTIBORI TPP | 1 | 0 | 0 | 0 | 300 | 29/12/2018 00:30 |  | NO Power purchase agreement
Maharashtra | BUTIBORI TPP | 2 | 0 | 0 | 0 | 300 | 17/01/2019 00:15 |  | NO Power purchase agreement
Maharashtra | GEPL TPP Ph-I | 1 | 0 | 0 | 0 | 60 | 29/06/2013 00:00 |  | NO Power purchase agreement
Maharashtra | GEPL TPP Ph-I | 2 | 0 | 0 | 0 | 60 | 20/06/2013 20:27 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 1 | 0 | 0 | 0 | 61.5 | 10/01/2013 15:50 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 2 | 0 | 0 | 0 | 61.5 | 05/11/2013 11:53 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 3 | 0 | 0 | 0 | 61.5 | 10/06/2013 18:00 |  | NO Power purchase agreement
Maharashtra | MIHAN TPS | 4 | 0 | 0 | 0 | 61.5 | 20/08/2013 10:00 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 1 | 0 | 0 | 0 | 270 | 04/03/2014 18:10 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 2 | 0 | 0 | 0 | 270 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 3 | 0 | 0 | 0 | 270 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 4 | 0 | 0 | 0 | 270 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 5 | 0 | 0 | 0 | 270 | 30/05/2017 15:24 |  | NO Power purchase agreement
Maharashtra | SHIRPUR TPP | 1 | 0 | 0 | 0 | 150 | 28/09/2017 21:14 |  | NO Power purchase agreement
Total Western |  |  | 5610 | 2380 | 6875 | 3571
Southern
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 3 | 0 | 800 | 0 | 0 | 07/09/2023 12:53 |  | TURBINE BEARING PROBLEM
Andhra Pradesh | Dr. N.TATA RAO TPS | 2 | 0 | 0 | 210 | 0 | 26/09/2023 14:52 |  | WATER WALL TUBE LEAKAGE
Andhra Pradesh | Dr. N.TATA RAO TPS | 5 | 0 | 0 | 210 | 0 | 26/09/2023 19:48 | 28/09/2023 13:33 | WATER WALL TUBE LEAKAGE
Andhra Pradesh | RAYALASEEMA TPS | 1 | 0 | 0 | 0 | 0 | 26/09/2023 05:21 | 28/09/2023 07:44 | SUPER HEATER TUBE LEAKAGE
Andhra Pradesh | PAINAMPURAM TPP | 1 | 0 | 0 | 660 | 0 | 28/09/2023 05:24 |  | TURBINE MISC. PROBLEM
Andhra Pradesh | THAMMINAPATNAM TPS | 1 | 0 | 150 | 0 | 0 | 16/07/2021 05:36 |  | BOILER MISC. PROBLEM
Andhra Pradesh | THAMMINAPATNAM TPS | 2 | 0 | 150 | 0 | 0 | 29/07/2021 00:22 |  | BOILER AUX. MISC. PROMLEMS
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 520 | 0 | 20/09/2023 16:51 |  | BOILER AUX. MISC. PROMLEMS
Karnataka | KUDGI STPP | 2 | 0 | 0 | 800 | 0 | 23/09/2023 07:35 |  | REHEATER TUBE LEAKAGE
Karnataka | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 25/11/2022 23:59 |  | COLLAPSE OF R.C. BUNKER
Karnataka | RAICHUR TPS | 5 | 210 | 0 | 0 | 0 | 27/09/2023 00:00 |  | ANNUAL MAINTENANCE
Karnataka | RAICHUR TPS | 6 | 0 | 0 | 210 | 0 | 24/09/2023 00:00 |  | BOILER MISC. PROBLEM
Karnataka | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 26/09/2023 22:55 |  | MAIN STEAM LINE PROBLEM
Tamil Nadu | NEYVELI ( EXT) TPS | 2 | 0 | 0 | 210 | 0 | 16/09/2023 23:00 |  | RSD/LOW SCHEDULE
Tamil Nadu | NEYVELI NEW TPP | 2 | 0 | 500 | 0 | 0 | 07/09/2023 05:00 |  | H.P. AND L.P. bypass system
Tamil Nadu | NEYVELI TPS-II | 1 | 0 | 210 | 0 | 0 | 30/08/2023 11:45 |  | INSTRUMENTATION PROBLEM
Tamil Nadu | NEYVELI TPS-II | 4 | 0 | 210 | 0 | 0 | 03/09/2023 01:45 |  | BOILER MISC. PROBLEM
Tamil Nadu | NEYVELI TPS-II | 6 | 0 | 210 | 0 | 0 | 05/09/2023 14:30 |  | LIGNITE SHORTAGE
Tamil Nadu | NEYVELI TPS-II | 7 | 0 | 0 | 210 | 0 | 23/09/2023 13:00 |  | LIGNITE SHORTAGE
Tamil Nadu | VALLUR TPP | 1 | 500 | 0 | 0 | 0 | 12/08/2023 19:39 |  | UNSCHEDULED CAPITAL MAINTENANCE
Tamil Nadu | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu | METTUR TPS | 4 | 0 | 0 | 0 | 0 | 28/09/2023 07:34 | 28/09/2023 14:58 | RESERVE SHUT DOWN
Tamil Nadu | METTUR TPS - II | 1 | 0 | 0 | 600 | 0 | 28/09/2023 16:53 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu | NORTH CHENNAI TPS | 1 | 210 | 0 | 0 | 0 | 04/09/2023 13:16 |  | ANNUAL MAINTENANCE
Tamil Nadu | NORTH CHENNAI TPS | 3 | 0 | 0 | 210 | 0 | 28/09/2023 00:00 | 28/09/2023 23:25 | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu | NORTH CHENNAI TPS | 4 | 600 | 0 | 0 | 0 | 12/09/2023 02:03 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | TUTICORIN TPS | 4 | 0 | 0 | 0 | 0 | 28/09/2023 07:34 | 28/09/2023 15:51 | RESERVE SHUT DOWN
Tamil Nadu | TUTICORIN TPS | 5 | 0 | 0 | 0 | 0 | 28/09/2023 23:17 |  | BOILER AUX. MISC. PROMLEMS
Tamil Nadu | TUTICORIN (P) TPP | 1 | 0 | 0 | 0 | 150 | 03/04/2016 00:31 |  | NO Power purchase agreement
Tamil Nadu | TUTICORIN (P) TPP | 2 | 0 | 0 | 0 | 150 | 16/04/2016 01:42 |  | NO Power purchase agreement
Telangana | RAMAGUNDEM STPS | 1 | 0 | 0 | 0 | 0 | 27/09/2023 23:22 | 28/09/2023 06:34 | BOILER FEED PUMP/MOTOR PROBLEM
Telangana | KOTHAGUDEM TPS (STAGE-7) | 12 | 0 | 0 | 800 | 0 | 27/09/2023 19:01 |  | WATER WALL TUBE LEAKAGE
Telangana | RAMAGUNDEM-B TPS | 1 | 0 | 0 | 62.5 | 0 | 13/09/2023 00:00 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Total Southern |  |  | 1520 | 2660 | 5302.5 | 300
Eastern
Bihar | BARAUNI TPS | 6 | 0 | 105 | 0 | 0 | 22/07/2023 12:05 |  | CONSERVATION OF MAIN FUEL/RSD
Bihar | BARAUNI TPS | 7 | 0 | 105 | 0 | 0 | 19/07/2023 15:30 |  | CONSERVATION OF MAIN FUEL/RSD
Bihar | BARAUNI TPS | 9 | 0 | 250 | 0 | 0 | 07/08/2023 06:28 |  | TURBINE MISC.
Bihar | BARH STPS | 1 | 0 | 0 | 660 | 0 | 27/09/2023 17:50 |  | WATER WALL TUBE LEAKAGE
Bihar | BARH STPS | 4 | 0 | 0 | 660 | 0 | 25/09/2023 04:12 |  | ECONOMISER TUBE LEAKAGE
Jharkhand | TENUGHAT TPS | 2 | 0 | 0 | 210 | 0 | 27/09/2023 11:01 |  | WATER WALL TUBE LEAKAGE
Odisha | TALCHER STPS | 4 | 500 | 0 | 0 | 0 | 10/08/2023 01:24 | 28/09/2023 16:28 | OVERHAULING WORKS
Odisha | IB VALLEY TPS | 3 | 660 | 0 | 0 | 0 | 24/09/2023 00:42 |  | ANNUAL MAINTENANCE
Odisha | DERANG TPP | 2 | 0 | 0 | 0 | 0 | 27/09/2023 13:30 | 28/09/2023 00:51 | TURBINE OIL SYSTEM PROBLEM
Odisha | UTKAL TPP (IND BARATH) | 1 | 0 | 0 | 0 | 350 | 01/05/2017 00:00 |  | Other Commercial Reason
Odisha | VEDANTA TPP | 2 | 0 | 0 | 600 | 0 | 26/09/2023 00:47 |  | ASH HANDLING SYSTEM PROBLEM
West Bengal | MEJIA TPS | 2 | 0 | 0 | 210 | 0 | 23/09/2023 19:55 |  | WATER WALL TUBE LEAKAGE
West Bengal | MEJIA TPS | 8 | 0 | 0 | 500 | 0 | 17/09/2023 00:55 |  | TURBINE VIBRATION HIGH
West Bengal | BAKRESWAR TPS | 1 | 0 | 0 | 210 | 0 | 27/09/2023 00:00 | 28/09/2023 17:51 | TURBINE VIBRATION
West Bengal | D.P.L. TPS | 7 | 0 | 0 | 300 | 0 | 14/09/2023 18:00 |  | COAL SHORTAGE
West Bengal | DISHERGARH TPP | 1 | 0 | 0 | 12 | 0 | 26/09/2023 18:18 |  | COAL SHORTAGE
West Bengal | HALDIA TPP | 1 | 0 | 0 | 0 | 0 | 28/09/2023 21:48 |  | INSTRUMENTATION PROBLEM
West Bengal | TITAGARH TPS | 1 | 0 | 60 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 2 | 0 | 60 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 3 | 0 | 60 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 4 | 0 | 60 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern |  |  | 1160 | 700 | 3362 | 350
Total |  |  | 9760 | 6570 | 16564.5 | 4641