## dailyOutage_Report
| CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 28-09-2023
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[7 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Uttar Pradesh | RIHAND STPS | 3 | 500 | 0 | 0 | 0 | 23/09/2023 23:50 |  | OVERHAULING WORKS
Uttar Pradesh | SINGRAULI STPS | 7 | 500 | 0 | 0 | 0 | 17/09/2023 23:27 |  | OVERHAULING WORKS
Chhatisgarh | KORBA STPS | 6 | 0 | 0 | 500 | 0 | 26/09/2023 16:31 |  | SUPER HEATER TUBE LEAKAGE
Chhatisgarh | SIPAT STPS | 2 | 660 | 0 | 0 | 0 | 07/08/2023 05:25 |  | OVERHAULING WORKS
Chhatisgarh | AKALTARA TPS | 3 | 600 | 0 | 0 | 0 | 28/09/2023 00:00 |  | CAPITAL MAINTENANCE
Chhatisgarh | AKALTARA TPS | 4 | 0 | 0 | 600 | 0 | 28/09/2023 05:13 |  | TURBINE VIBRATION HIGH
Chhatisgarh | TAMNAR TPP | 2 | 0 | 0 | 600 | 0 | 26/09/2023 00:00 |  | TURBINE MISC.
Chhatisgarh | TAMNAR TPP | 4 | 0 | 600 | 0 | 0 | 29/08/2023 03:11 |  | ELECTRICAL FAULT
Gujarat | ADANI POWER LIMITED MUNDRA TPP - I & II | 5 | 0 | 0 | 660 | 0 | 17/09/2023 00:00 |  | AIR PREHEATERS PROBLEM
Gujarat | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 03/11/2022 10:38 |  | PROTECTION OPERATION
Gujarat | SALAYA TPP | 2 | 0 | 0 | 600 | 0 | 18/09/2023 11:26 |  | RESERVE SHUT DOWN / STANDBY UNIT
Madhya Pradesh | VINDHYACHAL STPS | 12 | 0 | 0 | 500 | 0 | 16/09/2023 07:27 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh | SHREE SINGAJI TPP | 4 | 660 | 0 | 0 | 0 | 25/08/2023 01:59 |  | ANNUAL MAINTENANCE
Madhya Pradesh | MAHAN TPP | 2 | 0 | 0 | 600 | 0 | 27/09/2023 05:48 |  | BOILER MISC. PROBLEM
Madhya Pradesh | SASAN UMTPP | 2 | 0 | 0 | 660 | 0 | 27/09/2023 21:00 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh | SASAN UMTPP | 4 | 660 | 0 | 0 | 0 | 18/09/2023 00:21 |  | ANNUAL MAINTENANCE
Maharashtra | MAUDA TPS | 3 | 660 | 0 | 0 | 0 | 25/09/2023 23:35 |  | OVERHAULING WORKS
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 5 | 500 | 0 | 0 | 0 | 22/05/2023 19:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra | KORADI TPS | 9 | 0 | 0 | 660 | 0 | 22/09/2023 11:39 |  | WATER WALL TUBE LEAKAGE
Andhra Pradesh | DAMODARAM SANJEEVAIAH TPS | 3 | 0 | 800 | 0 | 0 | 07/09/2023 12:53 |  | TURBINE BEARING PROBLEM
Andhra Pradesh | PAINAMPURAM TPP | 1 | 0 | 0 | 660 | 0 | 28/09/2023 05:24 |  | TURBINE MISC. PROBLEM
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 520 | 0 | 20/09/2023 16:51 |  | BOILER AUX. MISC. PROMLEMS
Karnataka | KUDGI STPP | 2 | 0 | 0 | 800 | 0 | 23/09/2023 07:35 |  | REHEATER TUBE LEAKAGE
Karnataka | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 26/09/2023 22:55 |  | MAIN STEAM LINE PROBLEM
Tamil Nadu | NEYVELI NEW TPP | 2 | 0 | 500 | 0 | 0 | 07/09/2023 05:00 |  | H.P. AND L.P. bypass system
Tamil Nadu | VALLUR TPP | 1 | 500 | 0 | 0 | 0 | 12/08/2023 19:39 |  | UNSCHEDULED CAPITAL MAINTENANCE
Tamil Nadu | METTUR TPS - II | 1 | 0 | 0 | 600 | 0 | 28/09/2023 16:53 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu | NORTH CHENNAI TPS | 4 | 600 | 0 | 0 | 0 | 12/09/2023 02:03 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Telangana | KOTHAGUDEM TPS (STAGE-7) | 12 | 0 | 0 | 800 | 0 | 27/09/2023 19:01 |  | WATER WALL TUBE LEAKAGE
Bihar | BARH STPS | 1 | 0 | 0 | 660 | 0 | 27/09/2023 17:50 |  | WATER WALL TUBE LEAKAGE
Bihar | BARH STPS | 4 | 0 | 0 | 660 | 0 | 25/09/2023 04:12 |  | ECONOMISER TUBE LEAKAGE
Odisha | TALCHER STPS | 4 | 500 | 0 | 0 | 0 | 10/08/2023 01:24 | 28/09/2023 16:28 | OVERHAULING WORKS
Odisha | IB VALLEY TPS | 3 | 660 | 0 | 0 | 0 | 24/09/2023 00:42 |  | ANNUAL MAINTENANCE
Odisha | DERANG TPP | 2 | 0 | 0 | 0 | 0 | 27/09/2023 13:30 | 28/09/2023 00:51 | TURBINE OIL SYSTEM PROBLEM
Odisha | VEDANTA TPP | 2 | 0 | 0 | 600 | 0 | 26/09/2023 00:47 |  | ASH HANDLING SYSTEM PROBLEM
West Bengal | MEJIA TPS | 8 | 0 | 0 | 500 | 0 | 17/09/2023 00:55 |  | TURBINE VIBRATION HIGH
Total |  |  | 7000 | 2700 | 11780 | 0