## dailyOutageReport_12
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS OUT OF GRID FOR MORE THAN 15 DAYS DURING 2023-24 as on: 28-09-2023
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY
1 | 2 | 3 | 4 | 5 | 6
SRAVANTHI CCPP | 1 | 225 | 2023-07-01 |  | FUEL OIL SHORTAGE
FARIDABAD CCPP | 1 | 137.76 | 2018-11-12 14:59 |  | GT- LOW SYSTEM DAMAND
FARIDABAD CCPP | 1 | 137.76 | 2019-02-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
FARIDABAD CCPP | 1 | 137.76 | 2023-09-06 07:30 | 2023-09-28 | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 2 | 137.76 | 2023-08-25 01:13 |  | CONSERVATION OF MAIN FUEL/RSD
FARIDABAD CCPP | 3 | 156.07 | 2019-01-31 23:55 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
FARIDABAD CCPP | 3 | 156.07 | 2023-08-25 00:44 |  | CONSERVATION OF MAIN FUEL/RSD
RAJASTHAN A.P.S. | 3 | 220 | 2022-10-28 |  | ENMASS COOLANT CHANNEL REPLACEMENT
ROSA TPP Ph-I | 1 | 300 | 2019-11-08 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
ROSA TPP Ph-I | 1 | 300 | 2023-09-07 04:58 | 2023-09-30 | TURBINE BEARING TEMP. HIGH
KORBA-WEST TPS | 4 | 210 | 2023-09-11 00:11 |  | CAPITAL MAINTENANCE
SIPAT STPS | 2 | 660 | 2023-08-07 05:25 | 2023-09-28 | OVERHAULING WORKS
TAMNAR TPP | 4 | 600 | 2022-10-14 21:57 |  | TURBINE MISC. PROBLEM
TAMNAR TPP | 4 | 600 | 2020-03-19 14:36 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
TAMNAR TPP | 4 | 600 | 2020-09-09 01:57 |  | AIR PREHEATERS PROBLEM
TAMNAR TPP | 4 | 600 | 2020-12-30 12:16 |  | ASH HANDLING SYSTEM PROBLEM
TAMNAR TPP | 4 | 600 | 2021-08-05 |  | ANNUAL MAINTENANCE
TAMNAR TPP | 4 | 600 | 2021-12-12 |  | AIR PREHEATERS PROBLEM
TAMNAR TPP | 4 | 600 | 2023-08-29 03:11 |  | ELECTRICAL FAULT
BINJKOTE TPP | 2 | 300 | 2019-10-23 |  | COAL SHORTAGE
BINJKOTE TPP | 2 | 300 | 2023-08-02 22:54 |  | AIR PREHEATERS PROBLEM
BINJKOTE TPP | 2 | 300 | 2019-10-18 20:32 |  | Low system demand/ costly fuel
BINJKOTE TPP | 2 | 300 | 2020-01-25 00:01 |  | Cooling Water System Abnormal/ Maintenance
SHREE SINGAJI TPP | 4 | 660 | 2023-08-25 01:59 | 2023-10-18 | ANNUAL MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2022-04-07 06:10 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-03-23 20:15 |  | Fuel Shortage
HAZIRA CCPP EXT | 1 | 351 | 2022-02-23 21:00 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-02-14 |  | MISCELLANEOUS PLANNED MAINTENANCE
HAZIRA CCPP EXT | 1 | 351 | 2021-10-26 19:15 |  | Low system demand/ costly fuel
HAZIRA CCPP EXT | 1 | 351 | 2022-12-23 19:37 |  | GENEATOR PROTECTION MISC/BACK UP PROT
HAZIRA CCPP EXT | 1 | 351 | 2023-02-17 21:00 |  | TURBINE VIBRATIONS HIGH
HAZIRA CCPP EXT | 1 | 351 | 2022-05-02 |  | BOILER INSPECTION/ RE-CERTIFICATION
HAZIRA CCPP EXT | 1 | 351 | 2021-05-02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
DHUVARAN CCPP | 3 | 72 | 2023-07-16 04:23 |  | MISCELLANEOUS
DHUVARAN CCPP | 4 | 40 | 2023-06-17 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
KUTCH LIG. TPS | 4 | 75 | 2023-07-05 07:05 |  | COOLING TOWER PROBLEM
DGEN MEGA CCPP | 1 | 400 | 2023-07-17 11:00 |  | GT-MISCELLANEOUS PROBLEMS
DGEN MEGA CCPP | 1 | 400 | 2023-09-07 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 1 | 400 | 2023-06-20 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2023-09-04 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2023-07-13 09:55 |  | SWITH YARD RELATED PROBLEMS
DGEN MEGA CCPP | 2 | 400 | 2023-06-11 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2021-11-05 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 2 | 400 | 2020-08-12 00:26 |  | RESERVE SHUT DOWN
DGEN MEGA CCPP | 3 | 400 | 2023-04-21 01:11 |  | GT-NO SCHEDULE FROM BENIFICIARIES
DGEN MEGA CCPP | 3 | 400 | 2023-09-09 01:00 |  | GT-NO SCHEDULE FROM BENIFICIARIES
MUNDRA UMTPP | 4 | 800 | 2021-11-21 09:42 |  | ELECTRICAL MISCELLANEOUS PROBLEMS
MUNDRA UMTPP | 4 | 800 | 2022-11-03 10:38 |  | PROTECTION OPERATION
CHANDRAPUR(MAHARASHTRA) STPS | 5 | 500 | 2023-05-22 19:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
URAN CCPP | 5 | 108 | 2022-11-13 |  | Fuel Shortage
URAN CCPP | 6 | 108 | 2023-09-02 07:16 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
RATNAGIRI CCPP | 3 | 230 | 2023-06-06 |  | GT-COOLING TOWER PROBLEM
RATNAGIRI CCPP | 7 | 213 | 2023-07-05 |  | RESERVE SHUT DOWN
RATNAGIRI CCPP | 8 | 213 | 2023-07-07 |  | RESERVE SHUT DOWN
RATNAGIRI CCPP | 9 | 237.54 | 2023-07-07 |  | RESERVE SHUT DOWN
AMRAVATI TPS | 4 | 270 | 2021-11-13 07:15 |  | ASH HANDLING SYSTEM PROBLEM
AMRAVATI TPS | 4 | 270 | 2022-05-31 01:15 |  | ASH HANDLING SYSTEM PROBLEM
AMRAVATI TPS | 4 | 270 | 2023-08-22 18:46 |  | GENERATOR EARTH FAULT
RAICHUR TPS | 1 | 210 | 2022-08-04 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-29 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-08-31 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-08-31 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-02 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-04 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-06-20 20:20 |  | ASH HANDLING SYSTEM PROBLEM
RAICHUR TPS | 1 | 210 | 2022-06-24 18:30 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-06-29 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-06-30 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-01 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-07-01 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-04 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-07 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-08 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-09 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-10 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-11 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-12 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-15 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-16 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-17 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-18 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-23 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-24 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-25 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-07-26 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-07-26 23:59 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-28 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-07-30 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-07-30 07:11 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-01 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-08-02 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-03 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-09-05 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-05 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-07 |  | RSD/LOW SCHEDULE
RAICHUR TPS | 1 | 210 | 2022-08-08 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-09 |  | LOW SYSTEM DEMAND
RAICHUR TPS | 1 | 210 | 2022-08-10 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-08-10 09:00 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-11 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-12 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-13 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-14 |  | RESERVE SHUT DOWN / STANDBY UNIT
RAICHUR TPS | 1 | 210 | 2022-08-15 |  | RESERVE SHUT DOWN/ STANDBY.
RAICHUR TPS | 1 | 210 | 2022-08-17 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-18 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-19 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-20 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-08-21 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-22 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-23 |  | VARIOUS MAINTENANCE WORKS
RAICHUR TPS | 1 | 210 | 2022-08-24 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-08-25 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-08-26 |  | VARIOUS MAINTENANCE WORKS
RAICHUR TPS | 1 | 210 | 2022-08-27 |  | OLD UNIT NOT IN OPERATION DUE TO MISC. FORCED OUTAGE
RAICHUR TPS | 1 | 210 | 2022-09-06 |  | MAJOR BREAK DOWN
RAICHUR TPS | 1 | 210 | 2022-09-09 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-10 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-11 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-12 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-17 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-19 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-26 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-26 23:59 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-27 23:59 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-09-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-09-30 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-01 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-03 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-06 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-09 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-10 |  | COLLAPSE OF R.C. BUNKER
RAICHUR TPS | 1 | 210 | 2022-10-11 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-12 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-12 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-14 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-15 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-22 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-25 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-26 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-10-27 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-28 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-10-29 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-10-30 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-11-03 |  | Fuel System Abnormal/ Maintenance
RAICHUR TPS | 1 | 210 | 2022-11-18 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-20 |  | COAL FEEDING PROBLEM IN PLANT
RAICHUR TPS | 1 | 210 | 2022-11-21 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-23 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-11-24 |  | COAL FEEDING SYSTEM FAILURE.
RAICHUR TPS | 1 | 210 | 2022-11-25 |  | COAL FEEDING SYSTEM NOT READY
RAICHUR TPS | 1 | 210 | 2022-08-06 |  | RESERVE SHUT DOWN
RAICHUR TPS | 1 | 210 | 2022-11-26 |  | COLLAPSE OF R.C. BUNKER
NORTH CHENNAI TPS | 1 | 210 | 2023-09-04 13:16 | 2023-10-03 | ANNUAL MAINTENANCE
NORTH CHENNAI TPS | 4 | 600 | 2023-09-12 02:03 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
KOVIKALPAL CCPP | 1 | 69.65 | 2023-07-31 23:50 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
KOVIKALPAL CCPP | 2 | 38.23 | 2023-07-30 08:00 |  | WATER NON AVAILABILITY
KARUPPUR CCPP | 1 | 70 | 2021-11-04 00:02 |  | GT-PROTECTION /INTERLOCK /RELAY
KARUPPUR CCPP | 1 | 70 | 2022-10-30 00:05 |  | Fuel Shortage
KARUPPUR CCPP | 1 | 70 | 2021-03-17 |  | EXTENDED ANNUAL MAINTENANCE
KARUPPUR CCPP | 2 | 49.8 | 2022-10-30 00:02 |  | Fuel Shortage
KARUPPUR CCPP | 2 | 49.8 | 2021-03-27 |  | ANNUAL MAINTENANCE
KARUPPUR CCPP | 2 | 49.8 | 2021-04-18 10:00 |  | EXTENDED ANNUAL MAINTENANCE
KARUPPUR CCPP | 2 | 49.8 | 2021-11-04 |  | GT-PROTECTION /INTERLOCK /RELAY
NEYVELI TPS-II | 1 | 210 | 2023-08-30 11:45 |  | INSTRUMENTATION PROBLEM
NEYVELI TPS-II | 1 | 210 | 2023-07-01 20:45 |  | MISCELLANEOUS
NEYVELI TPS-II | 4 | 210 | 2020-11-15 12:28 |  | TURBINE MISC. PROBLEMS
NEYVELI TPS-II | 4 | 210 | 2023-09-03 01:45 |  | BOILER MISC. PROBLEM
NEYVELI TPS-II | 6 | 210 | 2023-06-10 20:59 |  | I.D. FANS PROBLEM
NEYVELI TPS-II | 6 | 210 | 2023-09-05 14:30 |  | LIGNITE SHORTAGE
NEYVELI NEW TPP | 2 | 500 | 2023-09-07 05:00 | 2023-09-30 | H.P. AND L.P. bypass system
VALLUR TPP | 1 | 500 | 2023-08-11 19:39 | 2023-09-30 | MISCELLANEOUS
VALLUR TPP | 1 | 500 | 2019-11-19 22:59 |  | WATER WALL TUBE LEAKAGE
VALLUR TPP | 1 | 500 | 2020-04-09 15:26 |  | GEN. TRANSFORMER TRIPPING/ DAMAGED
VALLUR TPP | 1 | 500 | 2020-08-29 22:01 |  | RESERVE SHUT DOWN / STANDBY UNIT
VALLUR TPP | 1 | 500 | 2020-09-03 19:00 |  | PIPES and VALVES BOILER SIDE
VALLUR TPP | 1 | 500 | 2020-11-25 11:50 |  | FLOODS
VALLUR TPP | 1 | 500 | 2021-02-06 11:14 |  | WATER WALL TUBE LEAKAGE
VALLUR TPP | 1 | 500 | 2023-08-12 19:39 |  | UNSCHEDULED CAPITAL MAINTENANCE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2023-09-13 |  | MILLING SYSTEM /RC FEEDER PROBLEM
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-17 17:10 |  | RSD/LOW SCHEDULE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-04-21 21:15 |  | RSD/LOW SCHEDULE
RAMAGUNDEM-B TPS | 1 | 62.5 | 2020-06-09 00:01 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
DAMODARAM SANJEEVAIAH TPS | 3 | 800 | 2023-09-07 12:53 | 2023-09-30 | TURBINE BEARING PROBLEM
DAMODARAM SANJEEVAIAH TPS | 3 | 800 | 2023-04-30 16:16 |  | WATER WALL TUBE LEAKAGE
VIJJESWARAM CCPP | 1 | 33 | 2020-07-05 |  | SCHEDULED ANNUAL MAINTENANCE
VIJJESWARAM CCPP | 1 | 33 | 2022-10-03 |  | Fuel Shortage
VIJJESWARAM CCPP | 1 | 33 | 2019-08-09 22:47 |  | GT SHUT DOWN DUE TO FUEL SHORTAGE
VIJJESWARAM CCPP | 1 | 33 | 2020-01-04 10:27 |  | Fuel Shortage
VIJJESWARAM CCPP | 1 | 33 | 2020-02-03 |  | SCHEDULED ANNUAL MAINTENANCE
VIJJESWARAM CCPP | 2 | 33 | 2022-10-03 |  | Fuel Shortage
VIJJESWARAM CCPP | 2 | 33 | 2020-02-24 |  | SCHEDULED ANNUAL MAINTENANCE
VIJJESWARAM CCPP | 3 | 34 | 2022-10-03 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 1 | 52.8 | 2022-11-19 17:26 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 2 | 52.8 | 2023-04-17 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-12-01 14:40 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2023-04-17 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-06 15:31 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-07 13:45 |  | GT-GEN./FIELD BREAKER PROBLEM
JEGURUPADU CCPP PH I | 3 | 52.8 | 2020-03-26 16:25 |  | Fuel Shortage
JEGURUPADU CCPP PH I | 3 | 52.8 | 2021-03-06 00:29 |  | BOILER INSPECTION/ RE-CERTIFICATION
JEGURUPADU CCPP PH I | 4 | 77 | 2023-04-17 |  | Fuel Shortage
BARAUNI TPS | 6 | 105 | 2023-06-15 15:37 |  | WATER WALL TUBE LEAKAGE
BARAUNI TPS | 6 | 105 | 2023-07-22 12:05 | 2023-09-28 | CONSERVATION OF MAIN FUEL/RSD
BARAUNI TPS | 7 | 105 | 2023-07-19 15:30 | 2023-09-28 | CONSERVATION OF MAIN FUEL/RSD
BARAUNI TPS | 9 | 250 | 2023-08-07 06:28 |  | TURBINE MISC.
NAMRUP CCPP | 2 | 17 | 2022-02-04 09:28 |  | GRID MISCELLANEOUS
NAMRUP CCPP | 2 | 17 | 2022-08-23 04:42 |  | GRID DISTURBANCE
NAMRUP CCPP | 2 | 17 | 2022-08-23 04:46 |  | VIBRATIONS
NAMRUP CCPP | 2 | 17 | 2022-10-07 21:52 |  | SEAL OIL SYSTEM PROBLEM
NAMRUP CCPP | 2 | 17 | 2022-11-30 15:35 |  | REVERSE POWER RELAY OPERATION
NAMRUP CCPP | 2 | 17 | 2023-09-02 15:05 |  | EXCT. FAIL/LOSS OF EXCITATION /MISC. PROB.
NAMRUP CCPP | 2 | 17 | 2023-09-06 23:55 |  | MISCELLANEOUS
NAMRUP CCPP | 2 | 17 | 2020-05-06 20:15 |  | Electrical Scheduled Maitenance
NAMRUP CCPP | 2 | 17 | 2021-12-03 11:08 |  | GRID SYSTEM PROBLEMS
NAMRUP CCPP | 2 | 17 | 2021-12-18 |  | OIL LEAKAGE PROBLEM OPU/SUM/SYSTEM
NAMRUP CCPP | 2 | 17 | 2022-01-28 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
NAMRUP CCPP | 2 | 17 | 2022-01-28 20:25 |  | INSTRUMENTATION PROBLEM
NAMRUP CCPP | 2 | 17 | 2022-02-04 13:38 |  | Fuel Shortage
NAMRUP CCPP | 2 | 17 | 2022-03-22 |  | Instrument air system Failure
NAMRUP CCPP | 2 | 17 | 2022-05-25 20:20 |  | LUBRICATING OIL PUMP/SYSTEM MISC
NAMRUP CCPP | 2 | 17 | 2022-05-27 12:30 |  | LOW SYSTEM DEMAND
NAMRUP CCPP | 2 | 17 | 2022-07-07 07:15 |  | Fuel Shortage
NAMRUP CCPP | 8 | 36.15 | 2023-08-30 06:30 |  | MISCELLANEOUS PLANNED MAINTENANCE
NAMRUP CCPP | 8 | 36.15 | 2021-09-21 |  | GT HIGH VIBRATIONS
LAKWA GT | 7 | 20 | 2021-04-19 |  | GEN. TRANSORMER PROTECTION RELAY OPERATION PROBLEM
LAKWA GT | 7 | 20 | 2023-02-04 21:47 |  | Fuel Shortage
LAKWA GT | 7 | 20 | 2023-09-12 |  | MISCELLANEOUS
LAKWA GT | 7 | 20 | 2020-01-06 |  | MINOR MAINTENANCE WORKS
Total |  | 51701.5