## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 28-09-2023 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
ROPAR TPS | 4 | 210.00 | 16/09/2023 23:59 | 28/09/2023 21:48 | LOW SYSTEM DEMAND
ANTA CCPP | 1 | 88.71 | 27/09/2023 22:55 | 28/09/2023 16:06 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 2 | 88.71 | 27/09/2023 22:55 | 28/09/2023 16:23 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 27/09/2023 22:55 | 28/09/2023 16:48 | CONSERVATION OF MAIN FUEL/RSD
RAMGARH CCPP | 4 | 37.50 | 28/09/2023 11:35 | 28/09/2023 12:30 | DRUM LEVEL HIGH/ low
RAMGARH CCPP | 5 | 110.00 | 27/09/2023 18:00 | 28/09/2023 15:00 | FUEL SUPPLY & OTHER MISC. PROBLEMS
AURAIYA CCPP | 1 | 111.19 | 27/09/2023 23:00 | 28/09/2023 17:09 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 | 111.19 | 27/09/2023 22:43 | 28/09/2023 17:51 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 3 | 111.19 | 27/09/2023 22:57 | 28/09/2023 17:02 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 4 | 111.19 | 27/09/2023 22:58 | 28/09/2023 17:07 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 27/09/2023 22:58 | 28/09/2023 16:33 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 2 | 130.19 | 27/09/2023 22:58 | 28/09/2023 16:52 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 3 | 130.19 | 27/09/2023 22:58 | 28/09/2023 16:43 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 4 | 130.19 | 27/09/2023 22:59 | 28/09/2023 17:01 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 1 | 144.30 | 27/09/2023 22:50 | 28/09/2023 16:44 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 2 | 144.30 | 27/09/2023 22:57 | 28/09/2023 16:30 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 3 | 144.30 | 27/09/2023 23:07 | 28/09/2023 17:00 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 1 | 106.00 | 27/09/2023 22:52 | 28/09/2023 17:00 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 4 | 106.00 | 27/09/2023 22:49 | 28/09/2023 17:16 | CONSERVATION OF MAIN FUEL/RSD
AKRIMOTA LIG TPS | 1 | 125.00 | 12/08/2023 17:06 | 28/09/2023 15:15 | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
BHAVNAGAR CFBC TPP | 1 | 250.00 | 28/09/2023 19:16 | 28/09/2023 23:50 | CONDENSER TUBE LEAKAGE/ CLEANING
BHAVNAGAR CFBC TPP | 1 |  | 28/09/2023 12:52 | 28/09/2023 18:13 | WATER WALL TUBE LEAKAGE
WANAKBORI TPS | 3 | 210.00 | 28/09/2023 10:45 | 28/09/2023 12:46 | FURNACE FIRE OUT /FLAME FAILURE
VINDHYACHAL STPS | 2 | 210.00 | 07/08/2023 00:32 | 28/09/2023 21:59 | BOILER AUX. MISC. PROMLEMS
Dr. N.TATA RAO TPS | 5 | 210.00 | 26/09/2023 19:48 | 28/09/2023 13:33 | WATER WALL TUBE LEAKAGE
RAYALASEEMA TPS | 1 | 210.00 | 26/09/2023 05:21 | 28/09/2023 07:44 | SUPER HEATER TUBE LEAKAGE
METTUR TPS | 4 | 210.00 | 28/09/2023 07:34 | 28/09/2023 14:58 | RESERVE SHUT DOWN
NORTH CHENNAI TPS | 3 | 210.00 | 28/09/2023 00:00 | 28/09/2023 23:25 | MILLING SYSTEM /RC FEEDER PROBLEM
TUTICORIN TPS | 4 | 210.00 | 28/09/2023 07:34 | 28/09/2023 15:51 | RESERVE SHUT DOWN
RAMAGUNDEM STPS | 1 | 200.00 | 27/09/2023 23:22 | 28/09/2023 06:34 | BOILER FEED PUMP/MOTOR PROBLEM
TALCHER STPS | 4 | 500.00 | 10/08/2023 01:24 | 28/09/2023 16:28 | OVERHAULING WORKS
DERANG TPP | 2 | 600.00 | 27/09/2023 13:30 | 28/09/2023 00:51 | TURBINE OIL SYSTEM PROBLEM
BAKRESWAR TPS | 1 | 210.00 | 27/09/2023 00:00 | 28/09/2023 17:51 | TURBINE VIBRATION
KATHALGURI CCPP | 2 | 33.50 | 28/09/2023 00:00 | 28/09/2023 23:59 | Fuel Shortage
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 28/09/2023 11:10 | 28/09/2023 15:57 | Fuel Shortage
LAKWA REPLACEMENT POWER PROJECT | 3 | 9.96 | 27/09/2023 20:05 | 28/09/2023 06:19 | FUEL OIL SHORTAGE
LAKWA REPLACEMENT POWER PROJECT | 5 | 9.96 | 27/09/2023 11:47 | 28/09/2023 06:55 | FUEL OIL SHORTAGE
LAKWA REPLACEMENT POWER PROJECT | 7 | 9.96 | 27/09/2023 20:27 | 28/09/2023 06:38 | FUEL OIL SHORTAGE
AGARTALA GT | 3 | 21.00 | 28/09/2023 00:00 | 28/09/2023 23:59 | TURBINE MISC.
MONARCHAK CCPP | 1 | 65.40 | 28/09/2023 04:22 | 28/09/2023 06:34 | MISCELLANEOUS
MONARCHAK CCPP | 2 | 35.60 | 28/09/2023 04:22 | 28/09/2023 06:35 | MISCELLANEOUS
Total |  | 5,784.41