## dailyOutageReport_15
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 28-09-2023 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
ANTA CCPP | 1 | 88.71 | 28/09/2023 21:08 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 2 | 88.71 | 28/09/2023 21:09 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
ANTA CCPP | 3 | 88.71 | 28/09/2023 21:09 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
SURATGARH TPS | 5 | 250.00 | 28/09/2023 21:33 |  | FURNACE DRAFT ABNORMAL
RAMGARH CCPP | 4 | 37.50 | 28/09/2023 11:35 |  | DRUM LEVEL HIGH/ low
AURAIYA CCPP | 1 | 111.19 | 28/09/2023 23:00 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 2 | 111.19 | 28/09/2023 22:43 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 3 | 111.19 | 28/09/2023 22:57 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
AURAIYA CCPP | 4 | 111.19 | 28/09/2023 22:58 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 1 | 130.19 | 28/09/2023 21:07 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 2 | 130.19 | 28/09/2023 21:28 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 3 | 130.19 | 28/09/2023 21:25 |  | CONSERVATION OF MAIN FUEL/RSD
DADRI CCPP | 4 | 130.19 | 28/09/2023 21:04 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
AKALTARA TPS | 3 | 600.00 | 28/09/2023 00:00 | 06/11/2023 | CAPITAL MAINTENANCE
AKALTARA TPS | 4 | 600.00 | 28/09/2023 05:13 |  | TURBINE VIBRATION HIGH
PATHADI TPP | 2 | 300.00 | 28/09/2023 06:15 |  | WATER SHORTAGE DUE TO INTERNAL PLANT PROBLEM
GANDHAR CCPP | 1 | 144.30 | 28/09/2023 20:43 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 2 | 144.30 | 28/09/2023 20:59 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
GANDHAR CCPP | 3 | 144.30 | 28/09/2023 21:14 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
KAWAS CCPP | 1 | 106.00 | 28/09/2023 21:11 | 28/09/2023 | CONSERVATION OF MAIN FUEL/RSD
BHAVNAGAR CFBC TPP | 1 | 250.00 | 28/09/2023 19:16 |  | CONDENSER TUBE LEAKAGE/ CLEANING
BHAVNAGAR CFBC TPP | 1 |  | 28/09/2023 12:52 |  | WATER WALL TUBE LEAKAGE
WANAKBORI TPS | 3 | 210.00 | 28/09/2023 10:45 |  | FURNACE FIRE OUT /FLAME FAILURE
SUGEN CCPP | 2 | 382.50 | 28/09/2023 01:23 | 29/09/2023 | RSD/LOW SCHEDULE
PAINAMPURAM TPP | 1 | 660.00 | 28/09/2023 05:24 | 30/09/2023 | TURBINE MISC. PROBLEM
METTUR TPS | 4 | 210.00 | 28/09/2023 07:34 | 28/09/2023 | RESERVE SHUT DOWN
METTUR TPS - II | 1 | 600.00 | 28/09/2023 16:53 |  | WATER WALL TUBE LEAKAGE
NORTH CHENNAI TPS | 3 | 210.00 | 28/09/2023 00:00 |  | MILLING SYSTEM /RC FEEDER PROBLEM
TUTICORIN TPS | 4 | 210.00 | 28/09/2023 07:34 |  | RESERVE SHUT DOWN
TUTICORIN TPS | 5 | 210.00 | 28/09/2023 23:17 |  | BOILER AUX. MISC. PROMLEMS
HALDIA TPP | 1 | 300.00 | 28/09/2023 21:48 |  | INSTRUMENTATION PROBLEM
KATHALGURI CCPP | 2 | 33.50 | 28/09/2023 00:00 |  | Fuel Shortage
https://npp.gov.in 29/09/2023 17:43:19 |  |  |  |  | PAGE 1
THERMAL/NUCLEAR UNITS WENT OUT OF GRID ON: 28-09-2023 |  |  |  |  | Sub-Report - 15
Station | Unit No | Capacity (MW) | Date of Maintanance | Expected/Sync Date of return | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
LAKWA REPLACEMENT POWER PROJECT | 2 | 9.96 | 28/09/2023 11:10 |  | Fuel Shortage
LAKWA REPLACEMENT POWER PROJECT | 5 | 9.96 | 28/09/2023 11:35 |  | Fuel Shortage
AGARTALA GT | 3 | 21.00 | 28/09/2023 00:00 |  | TURBINE MISC.
MONARCHAK CCPP | 1 | 65.40 | 28/09/2023 04:22 |  | MISCELLANEOUS
MONARCHAK CCPP | 2 | 35.60 | 28/09/2023 04:22 |  | MISCELLANEOUS
Total |  | 6975.98
https://npp.gov.in 29/09/2023 17:43:19 |  |  |  |  | PAGE 2