## dailyOutage_Report
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
DAILY MAINTENANCE REPORT (COAL, LIGNITE AND NUCLEAR) 29-07-2025
Sub-Report-10
State/System | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
DD/MM/YYYY HH24:MM
DD/MM/YYYY HH24:MM
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Northern
Haryana | PANIPAT TPS | 8 | 0 | 0 | 250 | 0 | 29/07/2025 07:59 |  | TUBE LKG. AT LOW TEMP. SUPERHEATER ZONE
Punjab | ROPAR TPS | 6 | 0 | 0 | 0 | 0 | 29/07/2025 11:05 | 29/07/2025 15:35 | GEN. TRANSFORMER TRIPPING/ DAMAGED
Punjab | RAJPURA TPP | 2 | 0 | 0 | 0 | 0 | 29/07/2025 23:58 |  | H.P. AND L.P. bypass system
Punjab | TALWANDI SABO TPP | 1 | 0 | 0 | 0 | 0 | 27/07/2025 22:00 | 29/07/2025 10:35 | BOILER MISC. PROBLEM
Rajasthan | DAE (RAJASTHAN) | 1 | 0 | 0 | 0 | 0 | 09/10/2004 22:58 |  | GENERATOR EARTH FAULT
Rajasthan | CHHABRA-II TPP | 6 | 0 | 0 | 660 | 0 | 29/07/2025 19:54 |  | SUPER HEATER TUBE LEAKAGE
Rajasthan | CHHABRA-I PH-1 TPP | 1 | 250 | 0 | 0 | 0 | 21/06/2025 23:50 |  | ANNUAL MAINTENANCE
Rajasthan | GIRAL TPS | 1 | 125 | 0 | 0 | 0 | 11/07/2014 08:20 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | GIRAL TPS | 2 | 125 | 0 | 0 | 0 | 27/01/2016 15:27 |  | UNIT LIKELY TO BE SCRAPPED.
Rajasthan | KALISINDH TPS | 1 | 0 | 0 | 600 | 0 | 29/07/2025 19:30 | 29/07/2025 23:59 | FURNACE EXPLOSION (PUFFING)
Rajasthan | KALISINDH TPS | 2 | 600 | 0 | 0 | 0 | 21/06/2025 00:01 |  | ANNUAL MAINTENANCE
Rajasthan | SURATGARH STPS | 7 | 0 | 0 | 0 | 0 | 02/07/2025 06:00 | 29/07/2025 05:47 | EXTENDED ANNUAL MAINTENANCE
Rajasthan | SURATGARH TPS | 3 | 0 | 250 | 0 | 0 | 28/11/2024 13:48 |  | FUEL SUPPLY & OTHER MISC. PROBLEMS
Rajasthan | SURATGARH TPS | 4 | 0 | 0 | 250 | 0 | 27/07/2025 14:30 |  | RSD/LOW SCHEDULE
Rajasthan | SURATGARH TPS | 5 | 0 | 0 | 250 | 0 | 26/07/2025 22:55 |  | RSD/LOW SCHEDULE
Rajasthan | SURATGARH TPS | 6 | 0 | 0 | 250 | 0 | 25/07/2025 12:09 |  | TURBINE VIBRATION HIGH
Rajasthan | JALIPA KAPURDI TPP | 6 | 0 | 135 | 0 | 0 | 05/07/2025 10:53 |  | BOILER MISC. PROBLEM
Uttar Pradesh | DADRI (NCTPP) | 2 | 210 | 0 | 0 | 0 | 01/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Uttar Pradesh | SINGRAULI STPS | 6 | 500 | 0 | 0 | 0 | 18/07/2025 01:50 |  | OVERHAULING WORKS
Uttar Pradesh | SINGRAULI STPS | 7 | 0 | 0 | 500 | 0 | 25/07/2025 17:09 | 29/07/2025 19:29 | BOILER MISC. PROBLEM
Uttar Pradesh | TANDA TPS | 1 | 0 | 110 | 0 | 0 | 30/06/2025 23:05 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 2 | 0 | 110 | 0 | 0 | 30/06/2025 23:17 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 3 | 0 | 110 | 0 | 0 | 30/06/2025 23:54 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | TANDA TPS | 4 | 0 | 110 | 0 | 0 | 30/06/2025 23:41 |  | CONSERVATION OF MAIN FUEL/RSD
Uttar Pradesh | NARORA A.P.S. | 1 | 0 | 220 | 0 | 0 | 14/04/2025 04:36 |  | Turbine Misc
Uttar Pradesh | ANPARA TPS | 1 | 0 | 0 | 210 | 0 | 28/07/2025 11:25 |  | GEN. TRANSFORMER TRIPPING/ DAMAGED
Uttar Pradesh | ANPARA TPS | 4 | 0 | 0 | 500 | 0 | 29/07/2025 11:18 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh | HARDUAGANJ TPS | 7 | 0 | 0 | 105 | 0 | 26/07/2025 00:00 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh | JAWAHARPUR STPP | 1 | 0 | 0 | 660 | 0 | 26/07/2025 22:03 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh | JAWAHARPUR STPP | 2 | 0 | 0 | 660 | 0 | 26/07/2025 22:03 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 26/07/2025 00:23 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh | PRAYAGRAJ TPP | 1 | 0 | 0 | 660 | 0 | 29/07/2025 13:17 |  | ELECTRICAL FAULT
Total Northern | 4: 1810; 5: 1045; 6: 6215; 7: 0
Western
Chhatisgarh | KORBA STPS | 3 | 200 | 0 | 0 | 0 | 15/06/2025 23:58 |  | OVERHAULING WORKS
Chhatisgarh | SIPAT STPS | 5 | 500 | 0 | 0 | 0 | 26/07/2025 03:40 |  | OVERHAULING WORKS
Chhatisgarh | KORBA-WEST TPS | 1 | 210 | 0 | 0 | 0 | 15/07/2025 23:57 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Chhatisgarh | KORBA-WEST TPS | 2 | 0 | 0 | 210 | 0 | 26/07/2025 01:30 |  | WATER WALL TUBE LEAKAGE
Chhatisgarh | KORBA-WEST TPS | 4 | 0 | 0 | 0 | 0 | 29/07/2025 05:42 | 29/07/2025 09:45 | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Chhatisgarh | ADANI POWER LIMITED RAIPUR TPP | 2 | 0 | 0 | 685 | 0 | 23/07/2025 19:57 |  | FURNACE DRAFT ABNORMAL
Chhatisgarh | BANDAKHAR TPP | 1 | 0 | 0 | 300 | 0 | 29/07/2025 13:07 | 29/07/2025 19:06 | FUEL OIL PROBLEM
Chhatisgarh | KATGHORA TPP | 1 | 0 | 0 | 0 | 0 | 15/10/2012 00:28 |  | No Fuel Supply Agreement
Chhatisgarh | SALORA TPP | 1 | 0 | 0 | 0 | 0 | 19/10/2014 04:30 |  | No Fuel Supply Agreement
Chhatisgarh | SWASTIK KORBA TPP | 1 | 0 | 0 | 0 | 0 | 01/04/2015 00:20 |  | No Fuel Supply Agreement
Chhatisgarh | TAMNAR TPP | 1 | 0 | 0 | 0 | 0 | 26/07/2025 09:08 | 29/07/2025 03:54 | AIR PREHEATERS PROBLEM
Chhatisgarh | TAMNAR TPP | 2 | 600 | 0 | 0 | 0 | 25/07/2025 23:40 |  | ANNUAL MAINTENANCE
Chhatisgarh | UCHPINDA TPP | 1 | 0 | 360 | 0 | 0 | 22/06/2025 01:15 |  | TURBINE VIBRATIONS HIGH
Chhatisgarh | UCHPINDA TPP | 2 | 0 | 0 | 360 | 0 | 28/07/2025 15:44 |  | P.A. FANS PROBLEM
Gujarat | KAKRAPARA | 3 | 0 | 0 | 700 | 0 | 15/07/2025 22:33 |  | Miscellaneous
Gujarat | KAKRAPARA | 4 | 0 | 0 | 700 | 0 | 27/07/2025 19:04 |  | Turbine Misc
Gujarat | AKRIMOTA LIG TPS | 1 | 125 | 0 | 0 | 0 | 08/06/2024 19:30 |  | CAPITAL MAINTENANCE
Gujarat | AKRIMOTA LIG TPS | 2 | 125 | 0 | 0 | 0 | 19/02/2024 18:45 |  | CAPITAL MAINTENANCE
Gujarat | BHAVNAGAR CFBC TPP | 1 | 0 | 0 | 250 | 0 | 22/07/2025 10:21 |  | BOILER MISC. PROBLEM
Gujarat | GANDHI NAGAR TPS | 3 | 0 | 0 | 210 | 0 | 23/07/2025 11:28 |  | RAW WATER SUPPLY MISC.
Gujarat | GANDHI NAGAR TPS | 4 | 0 | 0 | 210 | 0 | 23/07/2025 11:53 |  | RAW WATER SUPPLY MISC.
Gujarat | GANDHI NAGAR TPS | 5 | 0 | 0 | 210 | 0 | 28/07/2025 07:09 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | KUTCH LIG. TPS | 3 | 0 | 0 | 75 | 0 | 29/07/2025 10:06 |  | WATER WALL TUBE LEAKAGE
Gujarat | KUTCH LIG. TPS | 4 | 0 | 75 | 0 | 0 | 05/07/2023 07:05 |  | COOLING TOWER PROBLEM
Gujarat | SIKKA REP. TPS | 3 | 0 | 0 | 250 | 0 | 26/07/2025 23:17 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | SIKKA REP. TPS | 4 | 0 | 0 | 250 | 0 | 24/07/2025 15:53 |  | ECONOMISER TUBE LEAKAGE
Gujarat | WANAKBORI TPS | 1 | 210 | 0 | 0 | 0 | 22/07/2025 23:52 |  | ANNUAL MAINTENANCE
Gujarat | WANAKBORI TPS | 2 | 0 | 0 | 210 | 0 | 27/07/2025 08:50 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | WANAKBORI TPS | 3 | 0 | 0 | 210 | 0 | 29/07/2025 20:45 | 29/07/2025 23:06 | TURBINE MISC. PROBLEM
Gujarat | WANAKBORI TPS | 4 | 0 | 0 | 210 | 0 | 27/07/2025 08:26 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | WANAKBORI TPS | 5 | 0 | 0 | 210 | 0 | 28/07/2025 06:52 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | WANAKBORI TPS | 6 | 0 | 0 | 210 | 0 | 28/07/2025 06:53 |  | RESERVE SHUT DOWN / STANDBY UNIT
Gujarat | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Gujarat | SALAYA TPP | 2 | 0 | 600 | 0 | 0 | 14/06/2025 12:08 |  | ELECTRICAL FAULT
Gujarat | SURAT LIG. TPS | 2 | 0 | 0 | 125 | 0 | 28/07/2025 04:27 |  | WATER WALL TUBE LEAKAGE
Gujarat | SURAT LIG. TPS | 4 | 0 | 0 | 125 | 0 | 26/07/2025 07:46 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh | GADARWARA TPP | 1 | 0 | 0 | 0 | 0 | 01/06/2025 00:16 | 29/07/2025 01:23 | OVERHAULING WORKS
Madhya Pradesh | KHARGONE STPP | 1 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | OVERHAULING WORKS
Madhya Pradesh | VINDHYACHAL STPS | 7 | 0 | 0 | 500 | 0 | 29/07/2025 05:29 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh | VINDHYACHAL STPS | 9 | 500 | 0 | 0 | 0 | 20/07/2025 00:00 |  | OVERHAULING WORKS
Madhya Pradesh | SANJAY GANDHI TPS | 5 | 500 | 0 | 0 | 0 | 10/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh | SATPURA TPS | 11 | 250 | 0 | 0 | 0 | 23/07/2025 00:00 |  | ANNUAL MAINTENANCE
Madhya Pradesh | SHREE SINGAJI TPP | 2 | 600 | 0 | 0 | 0 | 10/07/2025 01:52 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh | SASAN UMTPP | 6 | 0 | 0 | 0 | 0 | 28/07/2025 23:40 | 29/07/2025 05:08 | TURBINE VIBRATIONS HIGH
Maharashtra | SOLAPUR STPS | 2 | 660 | 0 | 0 | 0 | 25/06/2025 23:00 |  | OVERHAULING WORKS
Maharashtra | TARAPUR | 1 | 160 | 0 | 0 | 0 | 06/03/2024 00:00 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | TARAPUR | 2 | 160 | 0 | 0 | 0 | 13/07/2020 04:38 |  | RENOVATION/MODERNISATION WORKS
Maharashtra | BHUSAWAL TPS | 3 | 0 | 0 | 210 | 0 | 21/07/2025 11:29 |  | P.A. FANS PROBLEM
Maharashtra | BHUSAWAL TPS | 6 | 0 | 0 | 0 | 0 | 29/07/2025 10:31 | 29/07/2025 13:49 | TURBINE MISC. PROBLEM
Maharashtra | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Maharashtra | KHAPARKHEDA TPS | 5 | 500 | 0 | 0 | 0 | 25/06/2025 00:01 |  | CAPITAL MAINTENANCE
Maharashtra | KORADI TPS | 8 | 660 | 0 | 0 | 0 | 01/07/2025 03:15 |  | CAPITAL MAINTENANCE
Maharashtra | ADANI POWER LIMITED TIRODA TPP | 4 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra | AMRAVATI TPS | 5 | 270 | 0 | 0 | 0 | 30/06/2025 23:12 |  | CAPITAL MAINTENANCE
Maharashtra | BUTIBORI TPP | 2 | 0 | 0 | 300 | 0 | 21/07/2025 01:34 |  | P.A. FANS PROBLEM
Maharashtra | DAHANU TPS | 1 | 250 | 0 | 0 | 0 | 13/07/2025 01:02 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Maharashtra | GEPL TPP Ph-I | 1 | 0 | 60 | 0 | 0 | 29/06/2013 00:00 |  | No Fuel Supply Agreement
Maharashtra | GEPL TPP Ph-I | 2 | 0 | 60 | 0 | 0 | 20/06/2013 20:27 |  | No Fuel Supply Agreement
Maharashtra | GMR WARORA TPS | 1 | 300 | 0 | 0 | 0 | 28/07/2025 11:05 |  | CAPITAL MAINTENANCE
Maharashtra | MIHAN TPS | 1 | 0 | 61.51 | 0 | 0 | 10/01/2013 15:50 |  | No Fuel Supply Agreement
Maharashtra | MIHAN TPS | 2 | 0 | 61.5 | 0 | 0 | 05/11/2013 11:53 |  | No Fuel Supply Agreement
Maharashtra | MIHAN TPS | 3 | 0 | 61.5 | 0 | 0 | 10/06/2013 18:00 |  | No Fuel Supply Agreement
Maharashtra | MIHAN TPS | 4 | 0 | 61.5 | 0 | 0 | 20/08/2013 10:00 |  | No Fuel Supply Agreement
Maharashtra | NASIK (P) TPS | 1 | 0 | 0 | 0 | 0 | 04/03/2014 18:10 |  | No Fuel Supply Agreement
Maharashtra | NASIK (P) TPS | 2 | 0 | 0 | 0 | 0 | 16/02/2017 00:46 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 3 | 0 | 0 | 0 | 0 | 14/04/2017 01:45 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 4 | 0 | 0 | 0 | 0 | 20/05/2017 00:25 |  | NO Power purchase agreement
Maharashtra | NASIK (P) TPS | 5 | 0 | 0 | 0 | 0 | 30/05/2017 15:24 |  | NO Power purchase agreement
Total Western | 4: 8100; 5: 5901.01; 6: 6720; 7: 0
Southern
Andhra Pradesh | Dr. N.TATA RAO TPS | 7 | 500 | 0 | 0 | 0 | 07/07/2025 01:45 |  | ANNUAL MAINTENANCE
Andhra Pradesh | RAYALASEEMA TPS | 2 | 0 | 0 | 210 | 0 | 24/07/2025 13:00 |  | RSD/LOW SCHEDULE
Andhra Pradesh | RAYALASEEMA TPS | 4 | 0 | 0 | 210 | 0 | 26/07/2025 12:29 |  | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh | RAYALASEEMA TPS | 5 | 0 | 0 | 210 | 0 | 26/07/2025 12:22 |  | RESERVE SHUT DOWN / STANDBY UNIT
Andhra Pradesh | SGPL TPP | 2 | 660 | 0 | 0 | 0 | 15/07/2025 02:50 |  | ANNUAL MAINTENANCE
Andhra Pradesh | SIMHAPURI TPS | 3 | 0 | 0 | 150 | 0 | 25/07/2025 00:38 |  | BOILER MISC. PROBLEM
Andhra Pradesh | SIMHAPURI TPS | 4 | 0 | 0 | 150 | 0 | 26/07/2025 01:03 |  | RSD/LOW SCHEDULE
Andhra Pradesh | THAMMINAPATNAM TPS | 2 | 0 | 150 | 0 | 0 | 07/07/2025 22:40 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Andhra Pradesh | VIZAG TPP | 2 | 0 | 0 | 520 | 0 | 28/07/2025 05:40 | 29/07/2025 22:00 | WATER WALL TUBE LEAKAGE
Karnataka | KUDGI STPP | 1 | 0 | 0 | 800 | 0 | 27/07/2025 10:55 |  | RESERVE SHUT DOWN / STANDBY UNIT
Karnataka | KUDGI STPP | 2 | 0 | 800 | 0 | 0 | 31/05/2025 13:35 |  | CONSERVATION OF MAIN FUEL/RSD
Karnataka | KAIGA | 1 | 220 | 0 | 0 | 0 | 31/03/2025 23:11 |  | MISCELLANEOUS PLANNED MAINTENANCE
Karnataka | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka | RAICHUR TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2024 00:00 |  | COAL FEEDING SYSTEM FAILURE.
Karnataka | RAICHUR TPS | 2 | 0 | 0 | 210 | 0 | 28/07/2025 20:42 |  | WATER WALL TUBE LEAKAGE
Karnataka | RAICHUR TPS | 3 | 0 | 0 | 210 | 0 | 25/07/2025 22:51 |  | RSD/LOW SCHEDULE
Karnataka | RAICHUR TPS | 4 | 0 | 0 | 210 | 0 | 25/07/2025 11:25 |  | RSD/LOW SCHEDULE
Karnataka | RAICHUR TPS | 6 | 0 | 0 | 210 | 0 | 26/07/2025 04:27 |  | RSD/LOW SCHEDULE
Karnataka | RAICHUR TPS | 7 | 0 | 0 | 210 | 0 | 27/07/2025 08:07 |  | RSD/LOW SCHEDULE
Karnataka | YERMARUS TPP | 1 | 0 | 0 | 800 | 0 | 25/07/2025 01:50 |  | WATER WALL TUBE LEAKAGE
Karnataka | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 22/07/2025 08:23 |  | RSD/LOW SCHEDULE
Karnataka | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 600 | 0 | 0 | 21/05/2025 01:52 |  | RSD/LOW SCHEDULE
Tamil Nadu | NEYVELI NEW TPP | 2 | 500 | 0 | 0 | 0 | 16/06/2025 18:12 |  | OVERHAULING WORKS
Tamil Nadu | NEYVELI TPS-II | 1 | 0 | 0 | 210 | 0 | 21/07/2025 09:02 |  | MILLING SYSTEM /RC FEEDER PROBLEM
Tamil Nadu | NEYVELI TPS-II | 4 | 210 | 0 | 0 | 0 | 14/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Tamil Nadu | NEYVELI TPS-II | 7 | 0 | 0 | 210 | 0 | 27/07/2025 19:20 |  | I.D. FANS PROBLEM
Tamil Nadu | NEYVELI TPS-II EXP | 1 | 0 | 0 | 250 | 0 | 23/07/2025 18:25 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu | VALLUR TPP | 1 | 0 | 0 | 0 | 0 | 27/07/2025 21:16 | 29/07/2025 06:24 | WATER WALL TUBE LEAKAGE
Tamil Nadu | VALLUR TPP | 3 | 500 | 0 | 0 | 0 | 23/06/2025 00:58 |  | CAPITAL MAINTENANCE
Tamil Nadu | MADRAS A.P.S. | 1 | 0 | 220 | 0 | 0 | 30/01/2018 16:30 |  | REACTOR MAINTENANCE WORKS.
Tamil Nadu | METTUR TPS | 1 | 210 | 0 | 0 | 0 | 25/07/2025 22:46 |  | ANNUAL MAINTENANCE
Tamil Nadu | NORTH CHENNAI TPS | 2 | 0 | 0 | 210 | 0 | 29/07/2025 21:15 |  | REHEATER TUBE LEAKAGE
Tamil Nadu | NORTH CHENNAI TPS | 5 | 0 | 600 | 0 | 0 | 17/06/2025 10:10 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu | TUTICORIN TPS | 1 | 0 | 210 | 0 | 0 | 15/03/2025 21:50 |  | FIRE IN CABLE GALLERY.
Tamil Nadu | TUTICORIN TPS | 2 | 0 | 210 | 0 | 0 | 15/03/2025 22:01 |  | FIRE IN CABLE GALLERY
Tamil Nadu | NEYVELI TPS(Z) | 1 | 0 | 0 | 250 | 0 | 16/07/2025 22:18 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu | OPG Power Generation Private Limited | 1 | 0 | 77 | 0 | 0 | 30/06/2025 23:59 |  | RSD/LOW SCHEDULE
Tamil Nadu | TCP Limited | 1 | 63.5 | 0 | 0 | 0 | 16/07/2021 05:21 |  | MISCELLANEOUS PLANNED MAINTENANCE
Tamil Nadu | TUTICORIN (P) TPP | 1 | 0 | 150 | 0 | 0 | 03/04/2016 00:31 |  | No Fuel Supply Agreement
Tamil Nadu | TUTICORIN (P) TPP | 2 | 0 | 150 | 0 | 0 | 16/04/2016 01:42 |  | No Fuel Supply Agreement
Tamil Nadu | TUTICORIN TPP ST-IV | 1 | 525 | 0 | 0 | 0 | 11/06/2025 23:26 |  | ANNUAL MAINTENANCE
Telangana | TELANGANA STPP PH-1 | 1 | 0 | 0 | 800 | 0 | 25/07/2025 20:19 |  | WATER WALL TUBE LEAKAGE
Telangana | BHADRADRI TPP | 2 | 270 | 0 | 0 | 0 | 06/07/2025 18:10 |  | ANNUAL MAINTENANCE
Telangana | BHADRADRI TPP | 4 | 0 | 0 | 270 | 0 | 26/07/2025 18:24 |  | BOILER MISC. PROBLEM
Telangana | KOTHAGUDEM TPS (NEW) | 10 | 0 | 0 | 250 | 0 | 25/07/2025 09:32 |  | RSD/LOW SCHEDULE
Telangana | KOTHAGUDEM TPS (NEW) | 11 | 0 | 0 | 500 | 0 | 20/07/2025 00:23 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana | RAMAGUNDEM-B TPS | 1 | 0 | 62.5 | 0 | 0 | 04/06/2024 20:24 |  | COAL FEEDING PROBLEM IN PLANT
Telangana | SINGARENI TPP | 1 | 0 | 0 | 600 | 0 | 26/07/2025 06:29 | 29/07/2025 13:18 | TURBINE VIBRATIONS HIGH
Total Southern | 4: 4358.5; 5: 3439.5; 6: 8250; 7: 0
Eastern
Bihar | BARAUNI TPS | 6 | 0 | 0 | 0 | 0 | 22/07/2023 12:05 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARAUNI TPS | 7 | 0 | 0 | 0 | 0 | 19/07/2023 15:30 |  | UNIT LIKELY TO BE SCRAPPED.
Bihar | BARH STPS | 1 | 0 | 0 | 660 | 0 | 28/07/2025 18:45 |  | SUPER HEATER TUBE LEAKAGE
Bihar | BARH STPS | 3 | 0 | 0 | 660 | 0 | 19/07/2025 00:21 |  | BOILER MISC. PROBLEM
Bihar | BARH STPS | 5 | 660 | 0 | 0 | 0 | 02/07/2025 01:25 |  | OVERHAULING WORKS
Bihar | KAHALGAON TPS | 7 | 500 | 0 | 0 | 0 | 14/07/2025 23:59 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Jharkhand | CHANDRAPURA(DVC) TPS | 7 | 0 | 250 | 0 | 0 | 03/06/2025 23:42 |  | STATOR/ STATOR EARTH FAULT
Jharkhand | TENUGHAT TPS | 2 | 210 | 0 | 0 | 0 | 20/04/2025 22:46 |  | CAPITAL MAINTENANCE
Odisha | DARLIPALI STPS | 2 | 800 | 0 | 0 | 0 | 01/07/2025 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha | TALCHER STPS | 3 | 0 | 0 | 500 | 0 | 25/07/2025 00:31 |  | ECONOMISER TUBE LEAKAGE
Odisha | JSW Energy Utkal Limited | 2 | 0 | 0 | 0 | 0 | 27/07/2025 02:58 | 29/07/2025 05:07 | CONDENSER TUBE LEAKAGE/ CLEANING
Odisha | KAMALANGA TPS | 2 | 350 | 0 | 0 | 0 | 06/07/2025 02:54 |  | ANNUAL MAINTENANCE
Odisha | Maadurga Thermal Power Company Ltd. | 1 | 0 | 30 | 0 | 0 | 24/05/2025 12:00 |  | GEN. TRANSFORMER TRIPPING/ DAMAGED
Odisha | Maadurga Thermal Power Company Ltd. | 2 | 0 | 0 | 30 | 0 | 23/07/2025 18:40 |  | TURBINE VIBRATION HIGH
Odisha | VEDANTA TPP | 2 | 0 | 600 | 0 | 0 | 31/05/2025 04:15 |  | AIR PREHEATERS PROBLEM
West Bengal | MEJIA TPS | 7 | 0 | 0 | 500 | 0 | 28/07/2025 01:26 |  | WATER WALL TUBE LEAKAGE
West Bengal | BAKRESWAR TPS | 4 | 210 | 0 | 0 | 0 | 16/06/2025 00:39 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
West Bengal | BANDEL TPS | 2 | 0 | 0 | 60 | 0 | 23/07/2025 17:29 |  | ECONOMISER TUBE LEAKAGE
West Bengal | SOUTHERN REPL. TPS | 1 | 67.5 | 0 | 0 | 0 | 24/07/2025 00:00 |  | SCHEDULED ANNUAL MAINTENANCE
West Bengal | TITAGARH TPS | 1 | 0 | 0 | 0 | 0 | 10/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 2 | 0 | 0 | 0 | 0 | 09/10/2016 04:57 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 3 | 0 | 0 | 0 | 0 | 10/10/2016 04:18 |  | RESERVE SHUT DOWN / STANDBY UNIT
West Bengal | TITAGARH TPS | 4 | 0 | 0 | 0 | 0 | 09/10/2016 05:36 |  | RESERVE SHUT DOWN / STANDBY UNIT
Total Eastern | 4: 2797.5; 5: 880; 6: 2410; 7: 0
Total | 4: 17066; 5: 11265.51; 6: 23595; 7: 0