## dailyOutage_Report
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [7 empty] | Sub-Report-11
DAILY MAINTENANCE REPORT (THERMAL AND NUCLEAR UNITS) FOR 500 AND ABOVE 29-07-2025
State/System |  | Power Station | Unit No. | Planned Maintenance (MW) | Forced Maintenance (Major) (MW) | Forced Maintenance (Minor) (MW) | Others Maintenance (MW) | Date& Time of Maintenance | Expected/sync Date of Return | Reasons/Present Status
[8 empty] | DD/MM/YYYY HH24:MM | DD/MM/YYYY HH24:MM
1 |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Punjab |  | RAJPURA TPP | 2 | 0 | 0 | 0 | 0 | 29/07/2025 23:58 |  | H.P. AND L.P. bypass system
Punjab |  | TALWANDI SABO TPP | 1 | 0 | 0 | 0 | 0 | 27/07/2025 22:00 | 29/07/2025 10:35 | BOILER MISC. PROBLEM
Rajasthan |  | CHHABRA-II TPP | 6 | 0 | 0 | 660 | 0 | 29/07/2025 19:54 |  | SUPER HEATER TUBE LEAKAGE
Rajasthan |  | KALISINDH TPS | 1 | 0 | 0 | 600 | 0 | 29/07/2025 19:30 | 29/07/2025 23:59 | FURNACE EXPLOSION (PUFFING)
Rajasthan |  | KALISINDH TPS | 2 | 600 | 0 | 0 | 0 | 21/06/2025 00:01 |  | ANNUAL MAINTENANCE
Rajasthan |  | SURATGARH STPS | 7 | 0 | 0 | 0 | 0 | 02/07/2025 06:00 | 29/07/2025 05:47 | EXTENDED ANNUAL MAINTENANCE
Uttar Pradesh |  | SINGRAULI STPS | 6 | 500 | 0 | 0 | 0 | 18/07/2025 01:50 |  | OVERHAULING WORKS
Uttar Pradesh |  | SINGRAULI STPS | 7 | 0 | 0 | 500 | 0 | 25/07/2025 17:09 | 29/07/2025 19:29 | BOILER MISC. PROBLEM
Uttar Pradesh |  | ANPARA TPS | 4 | 0 | 0 | 500 | 0 | 29/07/2025 11:18 |  | ECONOMISER TUBE LEAKAGE
Uttar Pradesh |  | JAWAHARPUR STPP | 1 | 0 | 0 | 660 | 0 | 26/07/2025 22:03 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | JAWAHARPUR STPP | 2 | 0 | 0 | 660 | 0 | 26/07/2025 22:03 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | PANKI TPS EXT | 1 | 0 | 0 | 660 | 0 | 26/07/2025 00:23 |  | RESERVE SHUT DOWN / STANDBY UNIT
Uttar Pradesh |  | PRAYAGRAJ TPP | 1 | 0 | 0 | 660 | 0 | 29/07/2025 13:17 |  | ELECTRICAL FAULT
Chhatisgarh |  | SIPAT STPS | 5 | 500 | 0 | 0 | 0 | 26/07/2025 03:40 |  | OVERHAULING WORKS
Chhatisgarh |  | ADANI POWER LIMITED RAIPUR TPP | 2 | 0 | 0 | 685 | 0 | 23/07/2025 19:57 |  | FURNACE DRAFT ABNORMAL
Chhatisgarh |  | TAMNAR TPP | 1 | 0 | 0 | 0 | 0 | 26/07/2025 09:08 | 29/07/2025 03:54 | AIR PREHEATERS PROBLEM
Chhatisgarh |  | TAMNAR TPP | 2 | 600 | 0 | 0 | 0 | 25/07/2025 23:40 |  | ANNUAL MAINTENANCE
Gujarat |  | KAKRAPARA | 3 | 0 | 0 | 700 | 0 | 15/07/2025 22:33 |  | Miscellaneous
Gujarat |  | KAKRAPARA | 4 | 0 | 0 | 700 | 0 | 27/07/2025 19:04 |  | Turbine Misc
Gujarat |  | MUNDRA UMTPP | 1 | 0 | 800 | 0 | 0 | 03/07/2025 11:54 |  | AIR PREHEATERS PROBLEM
Gujarat |  | MUNDRA UMTPP | 2 | 0 | 800 | 0 | 0 | 02/07/2025 22:59 |  | F.D. FANS PROBLEM
Gujarat |  | MUNDRA UMTPP | 3 | 0 | 800 | 0 | 0 | 02/07/2025 00:22 |  | TURBINE CONTROL VALVE PROBLEM
Gujarat |  | MUNDRA UMTPP | 4 | 0 | 800 | 0 | 0 | 01/07/2025 08:55 |  | COOLING WATER SYSTEM PROBLEM/PIPES REPLACE
Gujarat |  | MUNDRA UMTPP | 5 | 0 | 800 | 0 | 0 | 02/07/2025 08:55 |  | TURBINE MISC. PROBLEMS
Gujarat |  | SALAYA TPP | 2 | 0 | 600 | 0 | 0 | 14/06/2025 12:08 |  | ELECTRICAL FAULT
Madhya Pradesh |  | GADARWARA TPP | 1 | 0 | 0 | 0 | 0 | 01/06/2025 00:16 | 29/07/2025 01:23 | OVERHAULING WORKS
Madhya Pradesh |  | KHARGONE STPP | 1 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | OVERHAULING WORKS
Madhya Pradesh |  | VINDHYACHAL STPS | 7 | 0 | 0 | 500 | 0 | 29/07/2025 05:29 |  | WATER WALL TUBE LEAKAGE
Madhya Pradesh |  | VINDHYACHAL STPS | 9 | 500 | 0 | 0 | 0 | 20/07/2025 00:00 |  | OVERHAULING WORKS
Madhya Pradesh |  | SANJAY GANDHI TPS | 5 | 500 | 0 | 0 | 0 | 10/07/2025 00:00 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SHREE SINGAJI TPP | 2 | 600 | 0 | 0 | 0 | 10/07/2025 01:52 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Madhya Pradesh |  | SASAN UMTPP | 6 | 0 | 0 | 0 | 0 | 28/07/2025 23:40 | 29/07/2025 05:08 | TURBINE VIBRATIONS HIGH
Maharashtra |  | SOLAPUR STPS | 2 | 660 | 0 | 0 | 0 | 25/06/2025 23:00 |  | OVERHAULING WORKS
Maharashtra |  | BHUSAWAL TPS | 6 | 0 | 0 | 0 | 0 | 29/07/2025 10:31 | 29/07/2025 13:49 | TURBINE MISC. PROBLEM
Maharashtra |  | CHANDRAPUR(MAHARASHTRA) STPS | 9 | 0 | 500 | 0 | 0 | 11/01/2025 18:55 |  | GENERATOR PROTECTION RELAY OPERATION PROBLEM
Maharashtra |  | KHAPARKHEDA TPS | 5 | 500 | 0 | 0 | 0 | 25/06/2025 00:01 |  | CAPITAL MAINTENANCE
Maharashtra |  | KORADI TPS | 8 | 660 | 0 | 0 | 0 | 01/07/2025 03:15 |  | CAPITAL MAINTENANCE
Maharashtra |  | ADANI POWER LIMITED TIRODA TPP | 4 | 660 | 0 | 0 | 0 | 01/07/2025 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Andhra Pradesh |  | Dr. N.TATA RAO TPS | 7 | 500 | 0 | 0 | 0 | 07/07/2025 01:45 |  | ANNUAL MAINTENANCE
Andhra Pradesh |  | SGPL TPP | 2 | 660 | 0 | 0 | 0 | 15/07/2025 02:50 |  | ANNUAL MAINTENANCE
Andhra Pradesh |  | VIZAG TPP | 2 | 0 | 0 | 520 | 0 | 28/07/2025 05:40 | 29/07/2025 22:00 | WATER WALL TUBE LEAKAGE
Karnataka |  | KUDGI STPP | 1 | 0 | 0 | 800 | 0 | 27/07/2025 10:55 |  | RESERVE SHUT DOWN /
Karnataka |  | KUDGI STPP | 1 | 0 | 0 | 800 | 0 | 27/07/2025 10:55 |  | STANDBY UNIT
Karnataka |  | KUDGI STPP | 2 | 0 | 800 | 0 | 0 | 31/05/2025 13:35 |  | CONSERVATION OF MAIN FUEL/RSD
Karnataka |  | BELLARY TPS | 3 | 700 | 0 | 0 | 0 | 21/07/2025 23:35 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Karnataka |  | YERMARUS TPP | 1 | 0 | 0 | 800 | 0 | 25/07/2025 01:50 |  | WATER WALL TUBE LEAKAGE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 1 | 0 | 0 | 600 | 0 | 22/07/2025 08:23 |  | RSD/LOW SCHEDULE
Karnataka |  | ADANI POWER LIMITED UDUPI TPP | 2 | 0 | 600 | 0 | 0 | 21/05/2025 01:52 |  | RSD/LOW SCHEDULE
Tamil Nadu |  | NEYVELI NEW TPP | 2 | 500 | 0 | 0 | 0 | 16/06/2025 18:12 |  | OVERHAULING WORKS
Tamil Nadu |  | VALLUR TPP | 1 | 0 | 0 | 0 | 0 | 27/07/2025 21:16 | 29/07/2025 06:24 | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | VALLUR TPP | 3 | 500 | 0 | 0 | 0 | 23/06/2025 00:58 |  | CAPITAL MAINTENANCE
Tamil Nadu |  | NORTH CHENNAI TPS | 5 | 0 | 600 | 0 | 0 | 17/06/2025 10:10 |  | WATER WALL TUBE LEAKAGE
Tamil Nadu |  | TUTICORIN TPP ST-IV | 1 | 525 | 0 | 0 | 0 | 11/06/2025 23:26 |  | ANNUAL MAINTENANCE
Telangana |  | TELANGANA STPP PH-1 | 1 | 0 | 0 | 800 | 0 | 25/07/2025 20:19 |  | WATER WALL TUBE LEAKAGE
Telangana |  | KOTHAGUDEM TPS (NEW) | 11 | 0 | 0 | 500 | 0 | 20/07/2025 00:23 |  | RESERVE SHUT DOWN / STANDBY UNIT
Telangana |  | SINGARENI TPP | 1 | 0 | 0 | 600 | 0 | 26/07/2025 06:29 | 29/07/2025 13:18 | TURBINE VIBRATIONS HIGH
Bihar |  | BARH STPS | 1 | 0 | 0 | 660 | 0 | 28/07/2025 18:45 |  | SUPER HEATER TUBE LEAKAGE
Bihar |  | BARH STPS | 3 | 0 | 0 | 660 | 0 | 19/07/2025 00:21 |  | BOILER MISC. PROBLEM
Bihar |  | BARH STPS | 5 | 660 | 0 | 0 | 0 | 02/07/2025 01:25 |  | OVERHAULING WORKS
Bihar |  | KAHALGAON TPS | 7 | 500 | 0 | 0 | 0 | 14/07/2025 23:59 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha |  | DARLIPALI STPS | 2 | 800 | 0 | 0 | 0 | 01/07/2025 01:04 |  | BOILER OVERHAUL/ ANNUAL MAINTENANCE
Odisha |  | TALCHER STPS | 3 | 0 | 0 | 500 | 0 | 25/07/2025 00:31 |  | ECONOMISER TUBE LEAKAGE
Odisha |  | VEDANTA TPP | 2 | 0 | 600 | 0 | 0 | 31/05/2025 04:15 |  | AIR PREHEATERS PROBLEM
West Bengal |  | MEJIA TPS | 7 | 0 | 0 | 500 | 0 | 28/07/2025 01:26 |  | WATER WALL TUBE LEAKAGE
| Total | 5: 12285; 6: 7700; 7: 14425; DD/MM/YYYY HH24:MM 8: 0