## dailyOutageReport_14
CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION
RECOMMISSIONNING OF THERMAL/NUCLEAR UNITS AS ON: 29-07-2025 |  |  |  |  | Sub-Report - 14
Station | Unit No | Capacity (MW) | Date of Maintanance | Sync Date | remarks
|  |  | DD/MM/YYYY HH:24MM | DD/MM/YYYY HH:24MM
1 | 2 | 3 | 4 | 5 | 6
ROPAR TPS | 6 | 210.00 | 29/07/2025 11:05 | 29/07/2025 15:35 | GEN. TRANSFORMER TRIPPING/ DAMAGED
TALWANDI SABO TPP | 1 | 660.00 | 27/07/2025 22:00 | 29/07/2025 10:35 | BOILER MISC. PROBLEM
KALISINDH TPS | 1 | 600.00 | 29/07/2025 19:30 | 29/07/2025 23:59 | FURNACE EXPLOSION (PUFFING)
SURATGARH STPS | 7 | 660.00 | 02/07/2025 06:00 | 29/07/2025 05:47 | EXTENDED ANNUAL MAINTENANCE
SINGRAULI STPS | 7 | 500.00 | 25/07/2025 17:09 | 29/07/2025 19:29 | BOILER MISC. PROBLEM
KORBA-WEST TPS | 4 | 210.00 | 29/07/2025 05:42 | 29/07/2025 09:45 | GENERATOR PROTECTION RELAY OPERATION PROBLEM
BANDAKHAR TPP | 1 | 300.00 | 29/07/2025 13:07 | 29/07/2025 19:06 | FUEL OIL PROBLEM
TAMNAR TPP | 1 | 600.00 | 26/07/2025 09:08 | 29/07/2025 03:54 | AIR PREHEATERS PROBLEM
WANAKBORI TPS | 3 | 210.00 | 28/07/2025 22:23 | 29/07/2025 08:00 | TURBINE MISC.
WANAKBORI TPS | 3 |  | 29/07/2025 18:25 | 29/07/2025 20:15 | FURNACE FIRE OUT /FLAME FAILURE
WANAKBORI TPS | 3 |  | 29/07/2025 20:45 | 29/07/2025 23:06 | TURBINE MISC. PROBLEM
GADARWARA TPP | 1 | 800.00 | 01/06/2025 00:16 | 29/07/2025 01:23 | OVERHAULING WORKS
SASAN UMTPP | 6 | 660.00 | 28/07/2025 23:40 | 29/07/2025 05:08 | TURBINE VIBRATIONS HIGH
BHUSAWAL TPS | 6 | 660.00 | 29/07/2025 10:31 | 29/07/2025 13:49 | TURBINE MISC. PROBLEM
VIZAG TPP | 2 | 520.00 | 28/07/2025 05:40 | 29/07/2025 22:00 | WATER WALL TUBE LEAKAGE
VALLUR TPP | 1 | 500.00 | 27/07/2025 21:16 | 29/07/2025 06:24 | WATER WALL TUBE LEAKAGE
NORTH CHENNAI TPS | 2 | 210.00 | 27/07/2025 17:40 | 29/07/2025 16:00 | GRID DISTURBANCE
SINGARENI TPP | 1 | 600.00 | 26/07/2025 06:29 | 29/07/2025 13:18 | TURBINE VIBRATIONS HIGH
JSW Energy Utkal Limited | 2 | 350.00 | 27/07/2025 02:58 | 29/07/2025 05:07 | CONDENSER TUBE LEAKAGE/ CLEANING
KATHALGURI CCPP | 2 | 33.50 | 29/07/2025 00:00 | 29/07/2025 23:59 | LOW SYSTEM DEMAND
LAKWA GT | 6 | 20.00 | 02/06/2025 19:30 | 29/07/2025 10:23 | GT HIGH VIBRATIONS
LAKWA REPLACEMENT POWER PROJECT | 1 | 9.96 | 28/07/2025 23:00 | 29/07/2025 06:40 | GRID DISTURBENCE
Total |  | 8,313.47