## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [14 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:APR-2023 VIS-A-VIS APR-2022 AND APR-APR-2023 VIS-A-VIS APR-APR-2022
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | APR-2023 |  |  |  |  | APRIL 2023 - APR-2023 |  |  |  |  | APR-2023 |  |  | APRIL 2023 - APR-2023
|  |  | PROGRAM | ACTUAL | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL | ACTUAL SAME MONTH | PROGRAM |  | ACTUAL | ACTUAL SAME PERIOD
Apr 2023 to Mar 2024
[5 empty] | 2022-23 |  |  |  |  | 2022-23 | [8 empty] | 2022-23
2022-23
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |  | 17 | 18
NORTHERN REGION
THERMAL | 51565.96 | 300220 | 28879 | 22494.09 | 25146.03 | 77.8908 | 89.4538 | 28879 | 22494.09 | 25146.03 | 77.8908 | 89.4538 | 81.5509 | 66.8699 | 73.394 | 81.5509 |  | 66.8699 | 73.394
NUCLEAR | 1620 | 9239 | 881 | 915.77 | 907.12 | 103.9467 | 100.9536 | 881 | 915.77 | 907.12 | 103.9467 | 100.9536 | 80.5007 | 78.5125 | 77.7709 | 80.5007 |  | 78.5125 | 77.7709
HYDRO | 19696.27 | 77797 | 5219 | 4292.15 | 5519.12 | 82.2409 | 77.7687 | 5219 | 4292.15 | 5519.12 | 82.2409 | 77.7687
Total | 72882.23 | 387256 | 34979 | 27702.01 | 31572.27 | 79.1961 | 87.7416 | 34979 | 27702.01 | 31572.27 | 79.1961 | 87.7416
WESTERN REGION
THERMAL | 96392.49 | 499455 | 49301 | 43934.05 | 43682.94 | 89.1139 | 100.5748 | 49301 | 43934.05 | 43682.94 | 89.1139 | 100.5748 | 78.7423 | 69.7314 | 69.8355 | 78.7423 |  | 69.7314 | 69.8355
NUCLEAR | 1840 | 17165 | 1079 | 707.07 | 1101.47 | 65.5301 | 64.1933 | 1079 | 707.07 | 1101.47 | 65.5301 | 64.1933 | 59.0004 | 53.3718 | 83.1424 | 59.0004 |  | 53.3718 | 83.1424
HYDRO | 7392 | 15491 | 1117 | 980.06 | 1435.35 | 87.7399 | 68.2799 | 1117 | 980.06 | 1435.35 | 87.7404 | 68.2802
Total | 105624.49 | 532111 | 51497 | 45621.18 | 46219.76 | 88.59 | 98.7049 | 51497 | 45621.18 | 46219.76 | 88.59 | 98.7049
SOUTHERN REGION
THERMAL | 50339.795 | 255020 | 24931 | 21950.09 | 21018.88 | 88.0434 | 104.4304 | 24931 | 21950.09 | 21018.88 | 88.0434 | 104.4304 | 74.4127 | 70.1042 | 68.1827 | 74.4127 |  | 70.1042 | 68.1827
NUCLEAR | 3320 | 19786 | 2093 | 1889.61 | 1512.6 | 90.2824 | 124.9246 | 2093 | 1889.61 | 1512.6 | 90.2824 | 124.9246 | 87.5586 | 79.0499 | 63.2781 | 87.5586 |  | 79.0499 | 63.2781
HYDRO | 11747.15 | 31078 | 2557 | 2063.82 | 2651.44 | 80.7126 | 77.8379 | 2557 | 2063.82 | 2651.44 | 80.7126 | 77.8377
Total | 65406.945 | 305884 | 29581 | 25903.52 | 25182.92 | 87.5681 | 102.8615 | 29581 | 25903.52 | 25182.92 | 87.5681 | 102.8615
EASTERN REGION
THERMAL | 36509.71 | 253230 | 23745 | 21839.39 | 20373.9 | 91.9747 | 107.193 | 23745 | 21839.39 | 20373.9 | 91.9747 | 107.193 | 88.4174 | 83.2102 | 80.2208 | 88.4174 |  | 83.2102 | 80.2208
HYDRO | 5987.75 | 20178 | 1236 | 1102.85 | 1604.51 | 89.2273 | 68.7344 | 1236 | 1102.85 | 1604.51 | 89.2273 | 68.7344
Total | 42497.46 | 273408 | 24981 | 22942.24 | 21978.41 | 91.8388 | 104.3853 | 24981 | 22942.24 | 21978.41 | 91.8388 | 104.3853
NORTH EASTERN REGION
THERMAL | 2450.955 | 16185 | 1478 | 1355.86 | 1361.08 | 91.7361 | 99.6165 | 1478 | 1355.86 | 1361.08 | 91.7361 | 99.6165 | 94.6296 | 82.9537 | 91.7241 | 94.6296 |  | 82.9537 | 91.7241
HYDRO | 2027 | 12156 | 540 | 290.09 | 330.54 | 53.7204 | 87.7624 | 540 | 290.09 | 330.54 | 53.7204 | 87.7624
Total | 4477.955 | 28341 | 2018 | 1645.95 | 1691.62 | 81.5634 | 97.3002 | 2018 | 1645.95 | 1691.62 | 81.5634 | 97.3002
BHUTAN IMP. REGION
| 0 | 8000 | 569 | 58.2 | 386.1 | 10.2285 | 15.0738 | 569 | 58.2 | 386.1 | 10.2285 | 15.0738
ALL INDIA REGION
THERMAL | 237258.91 | 1324110 | 128334 | 111573.48 | 111582.83 | 86.9399 | 99.9916 | 128334 | 111573.48 | 111582.83 | 86.9399 | 99.9916 | 80.1612 | 71.5712 | 72.1028 | 80.1612 |  | 71.5712 | 72.1028
NUCLEAR | 6780 | 46190 | 4053 | 3512.45 | 3521.19 | 86.663 | 99.7518 | 4053 | 3512.45 | 3521.19 | 86.663 | 99.7518 | 76.276 | 71.9528 | 72.1319 | 76.276 |  | 71.9528 | 72.1319
HYDRO | 46850.17 | 156700 | 10669 | 8728.97 | 11540.96 | 81.8161 | 75.6347 | 10669 | 8728.97 | 11540.96 | 81.8162 | 75.6347
BHUTAN IMP. | 0 | 8000 | 569 | 58.2 | 386.1 | 10.2285 | 15.0738 | 569 | 58.2 | 386.1 | 10.2285 | 15.0738
Total | 290889.08 | 1535000 | 143625 | 123873.1 | 127031.08 | 86.2476 | 97.514 | 143625 | 123873.1 | 127031.08 | 86.2476 | 97.514