## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [14 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:DEC-2024 VIS-A-VIS DEC-2023 AND APR-DEC-2024 VIS-A-VIS APR-DEC-2023
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | DEC-2024 |  |  |  |  | APRIL 2024 - DEC-2024 |  |  |  |  | DEC-2024 |  |  | APRIL 2024 - DEC-2024
|  |  | PROGRAM | ACTUAL | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL | ACTUAL SAME MONTH | PROGRAM |  | ACTUAL | ACTUAL SAME PERIOD
Apr 2024 to Mar 2025
[5 empty] | 2023-24 |  |  |  |  | 2023-24 | [8 empty] | 2023-24
2023-24
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |  | 17 | 18
NORTHERN REGION
THERMAL | 54499.96 | 322361 | 26222 | 22537.37 | 21863.12 | 85.9483 | 103.084 | 245419 | 225641.83 | 211511.35 | 91.9415 | 106.6807 | 70.5538 | 63.1404 | 62.8175 | 76.4412 |  | 70.7449 | 67.408
NUCLEAR | 1620 | 10793 | 902 | 991.58 | 659.93 | 109.9313 | 150.2553 | 7699 | 8617.31 | 7317.63 | 111.9277 | 117.7609 | 79.7609 | 82.2697 | 54.7533 | 76.7444 |  | 80.5959 | 68.4402
HYDRO | 19774.27 | 80886 | 3896 | 3183.31 | 3166.38 | 81.7071 | 100.5346 | 69190 | 67334.45 | 63579.49 | 97.3182 | 105.9059
Total | 75894.23 | 414040 | 31020 | 26712.26 | 25689.43 | 86.113 | 103.9815 | 322308 | 301593.59 | 282408.47 | 93.5731 | 106.7934
WESTERN REGION
THERMAL | 96592.5 | 544560 | 45604 | 44354.45 | 43737.99 | 97.26 | 101.4094 | 408108 | 403067.95 | 392670.84 | 98.765 | 102.6478 | 69.6768 | 68.7828 | 67.801 | 70.2927 |  | 69.0253 | 67.907
NUCLEAR | 3240 | 22576 | 1735 | 1925.3 | 1454.14 | 110.9683 | 132.4013 | 16686 | 15860.49 | 11932.5 | 95.0527 | 132.9184 | 66.6222 | 79.8694 | 76.9484 | 79.9153 |  | 74.1699 | 78.3219
HYDRO | 7392 | 16573 | 1054 | 1220.58 | 851.46 | 115.8046 | 143.3514 | 13025 | 15725.81 | 13581.48 | 120.7356 | 115.7886
Total | 107224.5 | 583709 | 48393 | 47500.33 | 46043.59 | 98.1554 | 103.1638 | 437819 | 434654.25 | 418184.82 | 99.2772 | 103.9383
SOUTHERN REGION
THERMAL | 52997.295 | 286830 | 22960 | 18737.43 | 18734.13 | 81.609 | 100.0176 | 211936 | 181979.25 | 180097.77 | 85.8652 | 101.0447 | 66.5786 | 52.7825 | 55.7515 | 69.8134 |  | 59.1575 | 61.4165
NUCLEAR | 3320 | 21979 | 1824 | 2207.82 | 2162.74 | 121.0428 | 102.0844 | 15845 | 18552.21 | 17013.23 | 117.0856 | 109.0458 | 73.8438 | 89.3825 | 87.5575 | 72.312 |  | 84.6669 | 77.6434
HYDRO | 11787.15 | 30878 | 2290 | 2422.84 | 1315.77 | 105.8009 | 184.1393 | 22861 | 26559.45 | 16203.52 | 116.178 | 163.9116
Total | 68104.445 | 339687 | 27074 | 23368.09 | 22212.64 | 86.3119 | 105.2018 | 250642 | 227090.91 | 213314.52 | 90.6037 | 106.4583
EASTERN REGION
THERMAL | 37889.71 | 275250 | 22475 | 21541.22 | 19955.79 | 95.8453 | 107.9447 | 206020 | 196007.25 | 185089.45 | 95.1399 | 105.8987 | 75.7936 | 76.0531 | 72.2636 | 80.9648 |  | 78.3166 | 76.0154
HYDRO | 5987.75 | 12220 | 553 | 537.53 | 522.05 | 97.2025 | 102.9652 | 10457 | 9376.58 | 15921.7 | 89.668 | 58.8918
Total | 43877.46 | 287470 | 23028 | 22078.75 | 20477.84 | 95.8778 | 107.8178 | 216477 | 205383.83 | 201011.15 | 94.8756 | 102.1753
NORTH EASTERN REGION
THERMAL | 2450.955 | 15942 | 1289 | 1071.05 | 1200.22 | 83.0915 | 89.2378 | 12001 | 10052.41 | 11417.85 | 83.7631 | 88.0412 | 78.6738 | 56.3405 | 75.3871 | 84.9091 |  | 74.4236 | 79.4051
HYDRO | 2027 | 7152 | 335 | 389.17 | 311.45 | 116.1701 | 124.9542 | 6376 | 6425.21 | 5471.58 | 100.7718 | 117.4288
Total | 4477.955 | 23094 | 1624 | 1460.22 | 1511.67 | 89.915 | 96.5965 | 18377 | 16477.62 | 16889.43 | 89.6644 | 97.5617
BHUTAN IMP. REGION
| 0 | 8000 | 623 | 24.6 | 11.6 | 3.9486 | 212.069 | 6702 | 5240.2 | 4672.1 | 78.1886 | 112.1594
ALL INDIA REGION
THERMAL | 244430.42 | 1444943 | 118550 | 108241.53 | 105491.25 | 91.3045 | 102.6071 | 1083484 | 1016748.69 | 980787.26 | 93.8407 | 103.6666 | 70.3151 | 65.4886 | 65.0493 | 73.4118 |  | 68.9992 | 67.9159
NUCLEAR | 8180 | 55348 | 4461 | 5124.7 | 4276.81 | 114.8778 | 119.8253 | 40230 | 43030.01 | 36263.36 | 106.96 | 118.6597 | 72.577 | 84.2058 | 76.8503 | 75.8418 |  | 79.7029 | 75.8026
HYDRO | 46968.17 | 147709 | 8128 | 7753.43 | 6167.11 | 95.3916 | 125.7223 | 121909 | 125421.5 | 114757.77 | 102.8812 | 109.2924
BHUTAN IMP. | 0 | 8000 | 623 | 24.6 | 11.6 | 3.9486 | 212.069 | 6702 | 5240.2 | 4672.1 | 78.1886 | 112.1594
Total | 299578.59 | 1656000 | 131762 | 121144.26 | 115946.77 | 91.9417 | 104.4827 | 1252325 | 1190440.4 | 1136480.49 | 95.0584 | 104.748