## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [14 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:AUG-2025 VIS-A-VIS AUG-2024 AND APR-AUG-2025 VIS-A-VIS APR-AUG-2024
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | AUG-2025 |  |  |  |  | APRIL 2025 - AUG-2025 |  |  |  |  | AUG-2025 |  |  | APRIL 2025 - AUG-2025
|  |  | PROGRAM | ACTUAL | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL | ACTUAL SAME MONTH | PROGRAM |  | ACTUAL | ACTUAL SAME PERIOD
Apr 2025 to Mar 2026
[5 empty] | 2024-25 |  |  |  |  | 2024-25 | [8 empty] | 2024-25
2024-25
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |  | 17 | 18
NORTHERN REGION
THERMAL | 56196.96 | 337626 | 27367 | 23474.15 | 24289.94 | 85.7754 | 96.6414 | 146043 | 124767.46 | 133836.12 | 85.432 | 93.2241 | 73.9638 | 61.4715 | 67.6229 | 80.5482 |  | 65.9711 | 74.2591
NUCLEAR | 2220 | 15247 | 1228 | 1230.26 | 1072.52 | 100.184 | 114.7074 | 6106 | 5387.42 | 4643.95 | 88.2316 | 116.0094 | 79.8493 | 74.4854 | 94.8394 | 77.8831 |  | 66.0884 | 83.2034
HYDRO | 21414.26 | 80988 | 12405 | 11742.36 | 11107.33 | 94.6583 | 105.7172 | 46812 | 47171.37 | 45254.25 | 100.7677 | 104.2363
Total | 79831.22 | 433861 | 41000 | 36446.77 | 36469.79 | 88.8946 | 99.9369 | 198961 | 177326.25 | 183734.32 | 89.1261 | 96.5123
WESTERN REGION
THERMAL | 94070.4 | 561830 | 42788 | 40643.68 | 39505.4 | 94.9885 | 102.8813 | 236589 | 219147.09 | 233580.36 | 92.6278 | 93.8209 | 64.9029 | 63.1622 | 61.2439 | 72.7544 |  | 68.7445 | 72.5688
NUCLEAR | 3240 | 23240 | 1812 | 1427.81 | 2071.37 | 78.7975 | 68.9307 | 10166 | 8099.2 | 9032.23 | 79.6695 | 89.67 | 72.9193 | 59.2315 | 85.929 | 84.5192 |  | 68.0761 | 75.9184
HYDRO | 7392 | 17229 | 2248 | 3225.29 | 3063.32 | 143.4738 | 105.2874 | 6788 | 8771.6 | 8115.99 | 129.2222 | 108.078
Total | 104702.4 | 602299 | 46848 | 45296.78 | 44640.09 | 96.6888 | 101.4711 | 253543 | 236017.89 | 250728.58 | 93.0879 | 94.1328
SOUTHERN REGION
THERMAL | 52381.601 | 303516 | 23855 | 18619.05 | 18674.69 | 78.0509 | 99.7021 | 129762 | 97548.51 | 105842.4 | 75.1749 | 92.1639 | 64.1001 | 51.4074 | 53.754 | 72.3031 |  | 55.271 | 61.7666
NUCLEAR | 3320 | 18105 | 1085 | 1447.6 | 2348.18 | 133.4194 | 61.6477 | 8034 | 9741.95 | 9724 | 121.259 | 100.1846 | 50.6366 | 58.6054 | 95.0649 | 75.969 |  | 79.9107 | 79.7635
HYDRO | 13287.15 | 34253 | 4237 | 5783.02 | 5002.96 | 136.4886 | 115.592 | 13387 | 19295.75 | 12131.09 | 144.138 | 159.0603
Total | 68988.751 | 355874 | 29177 | 25849.67 | 26025.83 | 88.5961 | 99.3231 | 151183 | 126586.21 | 127697.49 | 83.7305 | 99.1298
EASTERN REGION
THERMAL | 39017.71 | 285685 | 22659 | 20775.38 | 20567.95 | 91.6871 | 101.0085 | 120081 | 106253.82 | 108764.95 | 88.4851 | 97.6912 | 76.1134 | 71.6397 | 74.1849 | 82.2612 |  | 74.734 | 79.513
HYDRO | 5987.75 | 12202 | 1570 | 1598.94 | 1430.45 | 101.8433 | 111.7788 | 5590 | 5572.26 | 4773.3 | 99.6826 | 116.7381
Total | 45005.46 | 297887 | 24229 | 22374.32 | 21998.4 | 92.3452 | 101.7089 | 125671 | 111826.08 | 113538.25 | 88.9832 | 98.492
NORTH EASTERN REGION
THERMAL | 2450.955 | 15005 | 1238 | 1029.59 | 1096.13 | 83.1656 | 93.9296 | 6366 | 5196.52 | 5679.65 | 81.6293 | 91.4937 | 78.3154 | 68.5108 | 73.7043 | 81.5541 |  | 67.6118 | 77.4041
HYDRO | 2027 | 11002 | 1681 | 1166.33 | 961.84 | 69.3831 | 121.2603 | 5311 | 4037.11 | 3822.68 | 76.0141 | 105.6094
Total | 4477.955 | 26007 | 2919 | 2195.92 | 2057.97 | 75.2285 | 106.7032 | 11677 | 9233.63 | 9502.33 | 79.0754 | 97.1723
BHUTAN IMP. REGION
| 0 | 9472 | 1011 | 1549.55 | 1167.2 | 153.269 | 132.7579 | 4495 | 4895.34 | 3077.9 | 108.9063 | 159.0481
ALL INDIA REGION
THERMAL | 244117.626 | 1503662 | 117907 | 104541.85 | 104134.11 | 88.6647 | 100.3916 | 638841 | 552913.4 | 587703.48 | 86.5495 | 94.0803 | 68.6669 | 61.7355 | 63.3078 | 76.0084 |  | 66.2678 | 71.8352
NUCLEAR | 8780 | 56592 | 4125 | 4105.67 | 5492.07 | 99.5314 | 74.7563 | 24306 | 23228.57 | 23400.18 | 95.5672 | 99.2666 | 65.1901 | 62.8516 | 91.3591 | 79.5176 |  | 72.0486 | 78.8688
HYDRO | 50108.16 | 155674 | 22141 | 23515.94 | 21565.9 | 106.2099 | 109.0422 | 77888 | 84848.09 | 74097.31 | 108.936 | 114.509
BHUTAN IMP. | 0 | 9472 | 1011 | 1549.55 | 1167.2 | 153.269 | 132.7579 | 4495 | 4895.34 | 3077.9 | 108.9063 | 159.0481
Total | 303005.786 | 1725400 | 145184 | 133713.01 | 132359.28 | 92.099 | 101.0228 | 745530 | 665885.4 | 688278.87 | 89.317 | 96.7465