## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [14 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:JUN-2025 VIS-A-VIS JUN-2024 AND APR-JUN-2025 VIS-A-VIS APR-JUN-2024
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | JUN-2025 |  |  |  |  | APRIL 2025 - JUN-2025 |  |  |  |  | JUN-2025 |  |  | APRIL 2025 - JUN-2025
|  |  | PROGRAM | ACTUAL | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL | ACTUAL SAME MONTH | PROGRAM |  | ACTUAL | ACTUAL SAME PERIOD
Apr 2025 to Mar 2026
[5 empty] | 2024-25 |  |  |  |  | 2024-25 | [8 empty] | 2024-25
2024-25
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |  | 17 | 18
NORTHERN REGION
THERMAL | 56196.96 | 337626 | 29491 | 24917.15 | 28022.88 | 84.4907 | 88.9172 | 89494 | 75868.83 | 82287.29 | 84.7753 | 92.1999 | 82.8609 | 66.7569 | 78.0509 | 83.4235 |  | 67.5776 | 76.0566
NUCLEAR | 2220 | 15247 | 1246 | 1113.22 | 889.35 | 89.3435 | 125.1723 | 3561 | 3056.72 | 2624.74 | 85.8388 | 116.458 | 81.1404 | 69.6459 | 81.2637 | 74.6457 |  | 63.0449 | 79.0661
HYDRO | 20924.26 | 80988 | 10103 | 10300.8 | 9733.24 | 101.9578 | 105.8312 | 22759 | 24093.83 | 22791.86 | 105.8651 | 105.7124
Total | 79341.22 | 433861 | 40840 | 36331.17 | 38645.47 | 88.9598 | 94.0115 | 115814 | 103019.38 | 107703.89 | 88.9524 | 95.6506
WESTERN REGION
THERMAL | 93470.4 | 561830 | 48496 | 43699.89 | 48839.85 | 90.1103 | 89.4759 | 149134 | 137662.29 | 151297.58 | 92.3078 | 90.9878 | 76.0562 | 70.2821 | 76.8407 | 77.158 |  | 72.3987 | 78.4998
NUCLEAR | 3240 | 23240 | 2078 | 1418.56 | 1800.58 | 68.2656 | 78.7835 | 6410 | 5249.16 | 5224.19 | 81.8902 | 100.478 | 88.692 | 60.8093 | 77.1854 | 90.7278 |  | 74.1809 | 73.828
HYDRO | 7392 | 17229 | 833 | 1074.11 | 1202 | 128.9448 | 89.3602 | 3181 | 3370.65 | 3986.18 | 105.962 | 84.5584
Total | 104102.4 | 602299 | 51407 | 46192.56 | 51842.43 | 89.8566 | 89.1018 | 158725 | 146282.1 | 160507.95 | 92.1607 | 91.137
SOUTHERN REGION
THERMAL | 50881.601 | 303516 | 26412 | 18433.28 | 20986.26 | 69.7913 | 87.835 | 81511 | 60554.71 | 68339.17 | 74.2902 | 88.6091 | 73.9704 | 53.8501 | 62.4706 | 77.3864 |  | 58.2071 | 67.0657
NUCLEAR | 3320 | 18105 | 1666 | 1966.23 | 1527.68 | 118.021 | 128.7069 | 5421 | 6280.66 | 5259.34 | 115.858 | 119.4192 | 80.3434 | 82.2553 | 63.909 | 86.1855 |  | 86.6193 | 72.5338
HYDRO | 13047.15 | 34253 | 2033 | 3478.8 | 1499.29 | 171.1166 | 232.0295 | 6515 | 7923.31 | 4214.38 | 121.6164 | 188.0065
Total | 67248.751 | 355874 | 30111 | 23878.31 | 24013.23 | 79.301 | 99.4381 | 93447 | 74758.68 | 77812.89 | 80.0012 | 96.0749
EASTERN REGION
THERMAL | 39017.71 | 285685 | 24590 | 20734.62 | 21851.47 | 84.3214 | 94.8889 | 74103 | 64761.04 | 66852.34 | 87.3933 | 96.8718 | 85.2485 | 73.8754 | 81.4875 | 85.8122 |  | 76.9388 | 82.176
HYDRO | 5987.75 | 12202 | 1044 | 995.2 | 853.54 | 95.3257 | 116.5968 | 2588 | 2430.41 | 2184.41 | 93.9107 | 111.2616
Total | 45005.46 | 297887 | 25634 | 21729.82 | 22705.01 | 84.7695 | 95.705 | 76691 | 67191.45 | 69036.75 | 87.6132 | 97.3271
NORTH EASTERN REGION
THERMAL | 2450.955 | 15005 | 1222 | 1026.71 | 1108.82 | 84.0188 | 92.5948 | 3874 | 3131.22 | 3449.93 | 80.8265 | 90.7618 | 86.6667 | 70.7019 | 74.6778 | 81.685 |  | 66.091 | 77.8059
HYDRO | 2027 | 11002 | 1292 | 926.59 | 924.61 | 71.7175 | 100.2141 | 2074 | 1840.05 | 1791.67 | 88.7199 | 102.7003
Total | 4477.955 | 26007 | 2514 | 1953.3 | 2033.43 | 77.6969 | 96.0594 | 5948 | 4971.27 | 5241.6 | 83.5789 | 94.8426
BHUTAN IMP. REGION
| 0 | 9472 | 926 | 1129.21 | 535.2 | 121.9449 | 210.9884 | 2489 | 1860.72 | 744 | 74.7577 | 250.0968
ALL INDIA REGION
THERMAL | 242017.626 | 1503662 | 130211 | 108811.65 | 120809.28 | 83.5656 | 90.069 | 398116 | 341978.09 | 372226.31 | 85.8991 | 91.8737 | 78.7114 | 66.6156 | 74.8158 | 80.0631 |  | 69.0544 | 76.1433
NUCLEAR | 8780 | 56592 | 4990 | 4498.01 | 4217.61 | 90.1405 | 106.6483 | 15392 | 14586.54 | 13108.27 | 94.767 | 111.2774 | 83.5735 | 71.153 | 72.4974 | 85.3205 |  | 76.0685 | 74.2816
HYDRO | 49378.16 | 155674 | 15305 | 16775.5 | 14212.68 | 109.608 | 118.0319 | 37117 | 39658.25 | 34968.5 | 106.8466 | 113.4114
BHUTAN IMP. | 0 | 9472 | 926 | 1129.21 | 535.2 | 121.9449 | 210.9884 | 2489 | 1860.72 | 744 | 74.7577 | 250.0968
Total | 300175.786 | 1725400 | 151432 | 131214.37 | 139774.77 | 86.649 | 93.8756 | 453114 | 398083.6 | 421047.08 | 87.8551 | 94.5461