## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [14 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:MAR-2025 VIS-A-VIS MAR-2024 AND APR-MAR-2025 VIS-A-VIS APR-MAR-2024
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | MAR-2025 |  |  |  |  | APRIL 2024 - MAR-2025 |  |  |  |  | MAR-2025 |  |  | APRIL 2024 - MAR-2025
|  |  | PROGRAM | ACTUAL | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL | ACTUAL SAME MONTH | PROGRAM |  | ACTUAL | ACTUAL SAME PERIOD
Apr 2024 to Mar 2025
[5 empty] | 2023-24 |  |  |  |  | 2023-24 | [8 empty] | 2023-24
2023-24
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |  | 17 | 18
NORTHERN REGION
THERMAL | 55819.96 | 322361 | 27001 | 25300.39 | 23277.97 | 93.7017 | 108.6881 | 322361 | 297306.93 | 280772.62 | 92.2279 | 105.8889 | 72.7632 | 67.6149 | 65.2855 | 75.1911 |  | 69.0593 | 67.1222
NUCLEAR | 1620 | 10793 | 1089 | 698.83 | 933.4 | 64.1717 | 74.8693 | 10793 | 11060.43 | 9934.3 | 102.4778 | 111.3358 | 72.952 | 57.9807 | 77.4426 | 77.2801 |  | 77.9387 | 69.812
HYDRO | 20474.26 | 80886 | 4382 | 3790.2 | 3887.77 | 86.4948 | 97.4903 | 80886 | 76489.47 | 73088.83 | 94.5645 | 104.6527
Total | 77914.22 | 414040 | 32472 | 29789.42 | 28099.14 | 91.7388 | 106.0154 | 414040 | 384856.83 | 363795.75 | 92.9516 | 105.7893
WESTERN REGION
THERMAL | 97252.5 | 544560 | 47789 | 48412.74 | 47440.93 | 101.3052 | 102.0485 | 544560 | 542523.63 | 532746.78 | 99.6261 | 101.8352 | 73.1002 | 74.3259 | 72.4088 | 70.689 |  | 70.2989 | 69.1765
NUCLEAR | 3240 | 22576 | 2164 | 1704.8 | 1500.85 | 78.78 | 113.589 | 22576 | 20768.99 | 15689.24 | 91.9959 | 132.3773 | 89.3235 | 70.7222 | 79.4201 | 80.466 |  | 73.1756 | 75.4923
HYDRO | 7392 | 16573 | 1195 | 1487.27 | 840.16 | 124.4577 | 177.0233 | 16573 | 19689.91 | 16587.36 | 118.8072 | 118.7043
Total | 107884.5 | 583709 | 51148 | 51604.81 | 49781.94 | 100.8931 | 103.6617 | 583709 | 582982.53 | 565023.38 | 99.8755 | 103.1785
SOUTHERN REGION
THERMAL | 54167.345 | 286830 | 26750 | 24330.57 | 24216.88 | 90.9554 | 100.4695 | 286830 | 249013.27 | 248246.67 | 86.8156 | 100.3088 | 75.0754 | 68.8603 | 69.7837 | 70.5891 |  | 60.5626 | 62.6688
NUCLEAR | 3320 | 21979 | 2085 | 2315.44 | 1585.69 | 111.0523 | 146.021 | 21979 | 24851.41 | 22313.87 | 113.0689 | 111.372 | 76.8801 | 93.7395 | 64.1959 | 73.7161 |  | 85.4494 | 76.5146
HYDRO | 11847.15 | 30878 | 2983 | 2555.97 | 1409.11 | 85.6845 | 181.389 | 30878 | 33966.57 | 20308.65 | 110.0025 | 167.2517
Total | 69334.495 | 339687 | 31818 | 29201.98 | 27211.68 | 91.7782 | 107.3141 | 339687 | 307831.25 | 290869.19 | 90.622 | 105.8315
EASTERN REGION
THERMAL | 37889.71 | 275250 | 24966 | 23578.41 | 22782.47 | 94.4421 | 103.4937 | 275250 | 261751.09 | 249996.17 | 95.0958 | 104.702 | 84.0503 | 83.6004 | 81.128 | 80.7945 |  | 78.9261 | 76.9219
HYDRO | 5987.75 | 12220 | 641 | 635.02 | 567 | 99.0671 | 111.9965 | 12220 | 11216.85 | 17785.34 | 91.7909 | 63.068
Total | 43877.46 | 287470 | 25607 | 24213.43 | 23349.47 | 94.5579 | 103.7001 | 287470 | 272967.94 | 267781.51 | 94.9553 | 101.9368
NORTH EASTERN REGION
THERMAL | 2450.955 | 15942 | 1266 | 1039.83 | 1192.83 | 82.1351 | 87.1734 | 15942 | 13294.84 | 14786.69 | 83.3951 | 89.9109 | 68.638 | 54.7796 | 78.6649 | 84.4749 |  | 72.8645 | 76.7776
HYDRO | 2027 | 7152 | 273 | 294.82 | 311.67 | 107.9927 | 94.5942 | 7152 | 7271.18 | 6283.74 | 101.6664 | 115.7142
Total | 4477.955 | 23094 | 1539 | 1334.65 | 1504.5 | 86.7219 | 88.7105 | 23094 | 20566.02 | 21070.43 | 89.0535 | 97.6061
BHUTAN IMP. REGION
| 0 | 8000 | 383 | 115.4 | 18.3 | 30.1305 | 630.6011 | 8000 | 5484.18 | 4716.1 | 68.5523 | 116.2863
ALL INDIA REGION
THERMAL | 247580.47 | 1444943 | 127772 | 122661.94 | 118911.08 | 96.0006 | 103.1543 | 1444943 | 1363889.76 | 1326548.93 | 94.3906 | 102.8149 | 75.3227 | 73.1694 | 71.8365 | 73.4335 |  | 69.4529 | 68.7353
NUCLEAR | 8180 | 55348 | 5338 | 4719.07 | 4019.94 | 88.4052 | 117.3916 | 55348 | 56680.83 | 47937.41 | 102.4081 | 118.2392 | 80.3538 | 77.5408 | 72.2346 | 76.7733 |  | 79.1004 | 74.6973
HYDRO | 47728.16 | 147709 | 9474 | 8763.28 | 7015.7 | 92.4982 | 124.9095 | 147709 | 148633.98 | 134053.92 | 100.6262 | 110.8763
BHUTAN IMP. | 0 | 8000 | 383 | 115.4 | 18.3 | 30.1305 | 630.6011 | 8000 | 5484.18 | 4716.1 | 68.5523 | 116.2863
Total | 303488.63 | 1656000 | 142967 | 136259.69 | 129965.02 | 95.3085 | 104.8434 | 1656000 | 1574688.75 | 1513256.36 | 95.0899 | 104.0596