## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [13 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:AUG-2023 VIS-A-VIS AUG-2022 AND APR-AUG-2023 VIS-A-VIS APR-AUG-2022
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | AUG-2023 |  |  |  |  | APRIL 2023 - AUG-2023 |  |  |  |  | AUG-2023 |  |  |  | APRIL 2023 - AUG-2023
|  |  | PROGRAM | ACTUAL * | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL * | ACTUAL SAME MONTH |  | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD
Apr 2023 to Mar 2024
[5 empty] | 2022-23 |  |  |  |  | 2022-23 | [8 empty] | 2022-23
2022-23
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | 16 | 17 | 18
NORTHERN REGION
THERMAL | 51779.96 | 300220 | 25032 | 26752.06 | 24180.18 | 106.8714 | 110.6363 | 131211 | 120051.36 | 123245.16 | 91.4949 | 97.4086 | 68.3538 | 75.239 | 69.2967 |  | 72.5667 | 69.0903 |  | 71.1254
NUCLEAR | 1620 | 9239 | 647 | 866.37 | 903.91 | 133.9057 | 95.8469 | 3806 | 4446.88 | 4250.54 | 116.8387 | 104.6192 | 57.2121 | 71.8812 | 74.9959 |  | 68.1903 | 74.7546 |  | 71.454
HYDRO | 19696.27 | 77797 | 11610 | 12151.99 | 11508.12 | 104.6683 | 105.5949 | 45322 | 42816.91 | 43764.94 | 94.4727 | 97.8338
Total | 73096.23 | 387256 | 37289 | 39770.42 | 36592.21 | 106.6546 | 108.6855 | 180339 | 167315.15 | 171260.64 | 92.7781 | 97.6962
WESTERN REGION
THERMAL | 96392.49 | 499455 | 37229 | 43035.48 | 32692.38 | 115.5967 | 131.6376 | 210779 | 215373.27 | 194022.21 | 102.1797 | 111.0044 | 57.1992 | 65.4626 | 50.9075 |  | 65.8184 | 66.8313 |  | 60.9733
NUCLEAR | 2540 | 17165 | 1566 | 1574.34 | 1139.89 | 100.5326 | 138.1133 | 6405 | 5664.01 | 5485.92 | 88.4311 | 103.2463 | 69.6385 | 83.309 | 83.2669 |  | 63.3116 | 72.6334 |  | 81.1949
HYDRO | 7392 | 15491 | 1616 | 3054.35 | 3049.09 | 189.0068 | 100.1725 | 5848 | 7704 | 8041.03 | 131.7373 | 95.8086
Total | 106324.49 | 532111 | 40411 | 47664.17 | 36881.36 | 117.9485 | 129.2365 | 223032 | 228741.28 | 207549.16 | 102.5598 | 110.2107
SOUTHERN REGION
THERMAL | 50339.795 | 255020 | 20437 | 19135.09 | 16030.58 | 93.6296 | 119.3662 | 110866 | 100737.57 | 90585.87 | 90.8643 | 111.2067 | 57.5846 | 59.7483 | 49.7686 |  | 64.2903 | 62.8401 |  | 56.9882
NUCLEAR | 3320 | 19786 | 1898 | 1889.81 | 1542.97 | 99.5685 | 122.4787 | 8215 | 8392.26 | 8780.53 | 102.1578 | 95.5781 | 76.8396 | 76.508 | 62.4664 |  | 67.3856 | 68.8396 |  | 72.0245
HYDRO | 11747.15 | 31078 | 3741 | 2703.37 | 5100.67 | 72.2633 | 53.0003 | 12713 | 10060.9 | 14859.13 | 79.1387 | 67.7085
Total | 65406.945 | 305884 | 26076 | 23728.27 | 22674.22 | 90.9966 | 104.6487 | 131794 | 119190.73 | 114225.53 | 90.4371 | 104.3468
EASTERN REGION
THERMAL | 37169.71 | 253230 | 20495 | 19691.92 | 18953.94 | 96.0816 | 103.8935 | 108678 | 102853.22 | 98791.45 | 94.6403 | 104.1115 | 73.2632 | 71.3025 | 70.8485 |  | 79.108 | 76.2709 |  | 75.34
HYDRO | 5987.75 | 20178 | 2963 | 2987.79 | 2795.13 | 100.8367 | 106.8927 | 10569 | 10637.74 | 10774.51 | 100.6504 | 98.7306
Total | 43157.46 | 273408 | 23458 | 22679.71 | 21749.07 | 96.6822 | 104.279 | 119247 | 113490.96 | 109565.96 | 95.173 | 103.5823
NORTH EASTERN REGION
THERMAL | 2450.955 | 16185 | 1363 | 1354.89 | 1372.92 | 99.405 | 98.6867 | 6917 | 6438.23 | 6558.36 | 93.0783 | 98.1683 | 87.276 | 83.733 | 83.5358 |  | 89.3609 | 80.2502 |  | 85.549
HYDRO | 2027 | 12156 | 1919 | 1029.99 | 951.1 | 53.6733 | 108.2946 | 6068 | 3154.3 | 3797.6 | 51.9825 | 83.0604
Total | 4477.955 | 28341 | 3282 | 2384.88 | 2324.02 | 72.6654 | 102.6187 | 12985 | 9592.53 | 10355.96 | 73.8739 | 92.6281
BHUTAN IMP. REGION
| 0 | 8000 | 860 | 1276.92 | 1293.1 | 148.4791 | 98.7487 | 3740 | 3344.22 | 4165.2 | 89.4176 | 80.2895
ALL INDIA REGION
THERMAL | 238132.91 | 1324110 | 104556 | 109969.44 | 93230 | 105.1776 | 117.955 | 568451 | 545453.65 | 513203.05 | 95.9544 | 106.2842 | 62.594 | 67.5123 | 58.194 |  | 69.3416 | 68.1994 |  | 64.8996
NUCLEAR | 7480 | 46190 | 4111 | 4330.52 | 3586.77 | 105.3398 | 120.7359 | 18426 | 18503.15 | 18516.99 | 100.4187 | 99.9253 | 70.3186 | 77.8154 | 71.1051 |  | 66.1492 | 71.3367 |  | 74.3769
HYDRO | 46850.17 | 156700 | 21849 | 21927.49 | 23404.11 | 100.3592 | 93.6908 | 80520 | 74373.85 | 81237.21 | 92.3669 | 91.5515
BHUTAN IMP | 0 | 8000 | 860 | 1276.92 | 1293.1 | 148.4791 | 98.7487 | 3740 | 3344.22 | 4165.2 | 89.4176 | 80.2895
Total | 292463.08 | 1535000 | 131376 | 137504.37 | 121513.98 | 104.6648 | 113.1593 | 671137 | 641674.87 | 617122.45 | 95.6101 | 103.9785