## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [13 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:AUG-2024 VIS-A-VIS AUG-2023 AND APR-AUG-2024 VIS-A-VIS APR-AUG-2023
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | AUG-2024 |  |  |  |  | APRIL 2024 - AUG-2024 |  |  |  |  | AUG-2024 |  |  |  | APRIL 2024 - AUG-2024
|  |  | PROGRAM | ACTUAL * | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL * | ACTUAL SAME MONTH |  | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD
Apr 2024 to Mar 2025
[5 empty] | 2023-24 |  |  |  |  | 2023-24 | [8 empty] | 2023-24
2023-24
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | 16 | 17 | 18
NORTHERN REGION
THERMAL | 53179.96 | 322361 | 30025 | 24282.32 | 26759.75 | 80.8737 | 90.742 | 141194 | 133828.5 | 120059.05 | 94.7834 | 111.4689 | 83.2086 | 68.462 | 74.7713 |  | 80.1633 | 74.9437 |  | 68.6463
NUCLEAR | 1620 | 10793 | 1045 | 1035.43 | 899.7 | 99.0842 | 115.0861 | 4218 | 4606.86 | 4480.21 | 109.2191 | 102.8269 | 92.4059 | 85.9078 | 74.6466 |  | 75.5719 | 77.4439 |  | 75.3149
HYDRO | 19774.27 | 80886 | 11913 | 11057.46 | 12170.33 | 92.8184 | 90.8559 | 45982 | 45114.12 | 42835.25 | 98.1126 | 105.3201
Total | 74574.23 | 414040 | 42983 | 36375.21 | 39829.78 | 84.627 | 91.3267 | 191394 | 183549.48 | 167374.51 | 95.9014 | 109.6639
WESTERN REGION
THERMAL | 96592.5 | 544560 | 45514 | 39507.49 | 43101.83 | 86.8029 | 91.6608 | 230318 | 233582.45 | 215439.62 | 101.4174 | 108.4213 | 69.4271 | 60.1038 | 65.425 |  | 71.3004 | 71.2563 |  | 66.7924
NUCLEAR | 3240 | 22576 | 2255 | 2069.88 | 1574.18 | 91.7907 | 131.4894 | 9367 | 9030.74 | 5663.85 | 96.4102 | 159.4453 | 94.1919 | 85.8672 | 83.3005 |  | 85.2911 | 75.9059 |  | 72.6313
HYDRO | 7392 | 16573 | 2243 | 3077.02 | 3058.14 | 137.1832 | 100.6173 | 6885 | 8129.69 | 7707.81 | 118.0783 | 105.4734
Total | 107224.5 | 583709 | 50012 | 44654.39 | 47734.15 | 89.2874 | 93.5481 | 246570 | 250742.88 | 228811.28 | 101.6924 | 109.585
SOUTHERN REGION
THERMAL | 52933.795 | 286830 | 25042 | 18658.42 | 19139.74 | 74.5085 | 97.4852 | 123971 | 105826.13 | 100742.22 | 85.3636 | 105.0465 | 73.3116 | 53.7898 | 59.1799 |  | 73.6993 | 62.1695 |  | 62.2366
NUCLEAR | 3320 | 21979 | 2195 | 2344.17 | 1896.24 | 106.7959 | 123.622 | 8829 | 9719.99 | 8398.69 | 110.0916 | 115.7322 | 88.8635 | 94.9026 | 76.7684 |  | 72.422 | 79.7306 |  | 68.8923
HYDRO | 11747.15 | 30878 | 3706 | 4999.17 | 2710.43 | 134.894 | 184.442 | 10940 | 12127.31 | 10067.96 | 110.8529 | 120.4545
Total | 68000.945 | 339687 | 30943 | 26001.76 | 23746.41 | 84.0312 | 109.4976 | 143740 | 127673.43 | 119208.87 | 88.8225 | 107.1006
EASTERN REGION
THERMAL | 37829.71 | 275250 | 23070 | 20464.44 | 19710.02 | 88.7059 | 103.8276 | 116309 | 108915.56 | 102871.32 | 93.6433 | 105.8755 | 81.2048 | 72.68 | 71.3587 |  | 83.5785 | 78.2653 |  | 76.2824
HYDRO | 5987.75 | 12220 | 1732 | 1402.45 | 2991.8 | 80.9729 | 46.8765 | 6090 | 4745.3 | 10641.74 | 77.9196 | 44.5914
Total | 43817.46 | 287470 | 24802 | 21866.89 | 22701.82 | 88.1658 | 96.3222 | 122399 | 113660.86 | 113513.06 | 92.8609 | 100.1302
NORTH EASTERN REGION
THERMAL | 2450.955 | 15942 | 1411 | 1094.93 | 1354.3 | 77.5996 | 80.8484 | 6809 | 5678.45 | 6437.64 | 83.3963 | 88.2071 | 93.5484 | 73.7007 | 83.5251 |  | 89.6514 | 77.4034 |  | 80.2081
HYDRO | 2027 | 7152 | 1090 | 960.41 | 1029.1 | 88.111 | 93.3252 | 3602 | 3821.25 | 3153.41 | 106.0869 | 121.1783
Total | 4477.955 | 23094 | 2501 | 2055.34 | 2383.4 | 82.1807 | 86.2356 | 10411 | 9499.7 | 9591.05 | 91.2468 | 99.0475
BHUTAN IMP. REGION
| 0 | 8000 | 860 | 1234.7 | 1198.8 | 143.5698 | 102.9947 | 3740 | 3145.4 | 3266.1 | 84.1016 | 96.3045
ALL INDIA REGION
THERMAL | 242986.92 | 1444943 | 125062 | 104007.6 | 110065.64 | 83.1648 | 94.496 | 618601 | 587831.1 | 545549.85 | 95.0259 | 107.7502 | 75.3088 | 62.8364 | 67.2851 |  | 75.8888 | 71.4238 |  | 67.9571
NUCLEAR | 8180 | 55348 | 5495 | 5449.48 | 4370.12 | 99.1716 | 124.6986 | 22414 | 23357.59 | 18542.75 | 104.2098 | 125.9662 | 91.427 | 89.5424 | 78.527 |  | 77.5 | 77.7628 |  | 71.4894
HYDRO | 46928.17 | 147709 | 20684 | 21496.51 | 21959.8 | 103.9282 | 97.8903 | 73499 | 73937.68 | 74406.17 | 100.5968 | 99.3704
BHUTAN IMP | 0 | 8000 | 860 | 1234.7 | 1198.8 | 143.5698 | 102.9947 | 3740 | 3145.4 | 3266.1 | 84.1016 | 96.3045
Total | 298095.09 | 1656000 | 152101 | 132188.29 | 137594.36 | 86.9082 | 96.071 | 718254 | 688271.77 | 641764.87 | 95.8257 | 107.2467