## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [13 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:SEP-2024 VIS-A-VIS SEP-2023 AND APR-SEP-2024 VIS-A-VIS APR-SEP-2023
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | SEP-2024 |  |  |  |  | APRIL 2024 - SEP-2024 |  |  |  |  | SEP-2024 |  |  |  | APRIL 2024 - SEP-2024
|  |  | PROGRAM | ACTUAL * | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL * | ACTUAL SAME MONTH |  | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD
Apr 2024 to Mar 2025
[5 empty] | 2023-24 |  |  |  |  | 2023-24 | [8 empty] | 2023-24
2023-24
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | 16 | 17 | 18
NORTHERN REGION
THERMAL | 53179.96 | 322361 | 27449 | 23509.24 | 24710.73 | 85.647 | 95.1378 | 168643 | 157345.36 | 144769.78 | 93.3009 | 108.6866 | 77.9869 | 68.5171 | 72.1585 |  | 79.8065 | 73.8402 |  | 69.1682
NUCLEAR | 1620 | 10793 | 938 | 904.76 | 855.24 | 96.4563 | 105.7902 | 5156 | 5548.71 | 5335.45 | 107.6166 | 103.997 | 85.7091 | 77.5686 | 73.323 |  | 77.2337 | 77.9856 |  | 74.9883
HYDRO | 19774.27 | 80886 | 9544 | 10071.38 | 8965.81 | 105.5258 | 112.331 | 55526 | 55235.37 | 51801.06 | 99.4766 | 106.6298
Total | 74574.23 | 414040 | 37931 | 34485.38 | 34531.78 | 90.9161 | 99.8656 | 229325 | 218129.44 | 201906.29 | 95.118 | 108.035
WESTERN REGION
THERMAL | 96592.5 | 544560 | 44757 | 38506.18 | 43073.48 | 86.0339 | 89.3965 | 275075 | 272086.54 | 258513.1 | 98.9136 | 105.2506 | 70.6542 | 60.2865 | 67.9265 |  | 71.1944 | 69.458 |  | 66.9783
NUCLEAR | 3240 | 22576 | 1875 | 1812.8 | 1586.76 | 96.6827 | 114.2454 | 11242 | 10845.03 | 7250.61 | 96.4689 | 149.574 | 77.2638 | 77.7092 | 86.7651 |  | 83.9752 | 76.212 |  | 75.3163
HYDRO | 7392 | 16573 | 2436 | 3332.24 | 2152.68 | 136.7915 | 154.7949 | 9321 | 11448.23 | 9860.49 | 122.8219 | 116.102
Total | 107224.5 | 583709 | 49068 | 43651.22 | 46812.92 | 88.9607 | 93.2461 | 295638 | 294379.8 | 275624.2 | 99.5744 | 106.8048
SOUTHERN REGION
THERMAL | 52933.795 | 286830 | 22328 | 18552.68 | 19428.92 | 83.0915 | 95.49 | 146299 | 124395.08 | 120171.14 | 85.028 | 103.5149 | 67.566 | 55.9248 | 60.8781 |  | 72.6939 | 61.1612 |  | 62.0105
NUCLEAR | 3320 | 21979 | 1842 | 2179.69 | 2083.77 | 118.3328 | 104.6032 | 10671 | 11903.69 | 10482.46 | 111.5518 | 113.5582 | 77.0582 | 91.1852 | 87.1724 |  | 73.1821 | 81.6359 |  | 71.8891
HYDRO | 11747.15 | 30878 | 3643 | 4731.52 | 1748.11 | 129.8798 | 270.6646 | 14583 | 16862.62 | 11816.07 | 115.6321 | 142.7092
Total | 68000.945 | 339687 | 27813 | 25463.89 | 23260.8 | 91.5539 | 109.4713 | 171553 | 153161.39 | 142469.67 | 89.2793 | 107.5046
EASTERN REGION
THERMAL | 37829.71 | 275250 | 22001 | 20430.28 | 20365.86 | 92.8607 | 100.3163 | 138310 | 129514.48 | 123237.18 | 93.6407 | 105.0937 | 79.4091 | 75.1525 | 76.3124 |  | 82.895 | 77.827 |  | 76.2874
HYDRO | 5987.75 | 12220 | 1677 | 1560.87 | 2595.73 | 93.0751 | 60.1322 | 7767 | 6334.17 | 13237.47 | 81.5523 | 47.8503
Total | 43817.46 | 287470 | 23678 | 21991.15 | 22961.59 | 92.8759 | 95.7736 | 146077 | 135848.65 | 136474.65 | 92.998 | 99.5413
NORTH EASTERN REGION
THERMAL | 2450.955 | 15942 | 1366 | 1113.57 | 1241.56 | 81.5205 | 89.6912 | 8175 | 6793.22 | 7679.2 | 83.0975 | 88.4627 | 88.7037 | 80.6611 | 79.3241 |  | 89.4961 | 77.9381 |  | 80.0631
HYDRO | 2027 | 7152 | 1068 | 799.9 | 860.42 | 74.897 | 92.9662 | 4670 | 4622.58 | 4013.83 | 98.9846 | 115.1663
Total | 4477.955 | 23094 | 2434 | 1913.47 | 2101.98 | 78.6142 | 91.0318 | 12845 | 11415.8 | 11693.03 | 88.8735 | 97.6291
BHUTAN IMP. REGION
| 0 | 8000 | 847 | 1220.34 | 869.4 | 144.0779 | 140.3658 | 4587 | 4298.24 | 4135.5 | 93.7048 | 103.9352
ALL INDIA REGION
THERMAL | 242986.92 | 1444943 | 117901 | 102111.95 | 108820.55 | 86.6082 | 93.8352 | 736502 | 690134.69 | 654370.4 | 93.7044 | 105.4654 | 73.1647 | 63.8145 | 68.8878 |  | 75.4422 | 70.182 |  | 68.099
NUCLEAR | 8180 | 55348 | 4655 | 4897.25 | 4525.77 | 105.2041 | 108.2081 | 27069 | 28297.43 | 23068.52 | 104.5381 | 122.6669 | 78.9107 | 83.1508 | 84.0346 |  | 77.7313 | 78.7647 |  | 73.6464
HYDRO | 46928.17 | 147709 | 18368 | 20495.91 | 16322.75 | 111.5849 | 125.5665 | 91867 | 94502.98 | 90728.92 | 102.8693 | 104.1597
BHUTAN IMP | 0 | 8000 | 847 | 1220.34 | 869.4 | 144.0779 | 140.3658 | 4587 | 4298.24 | 4135.5 | 93.7048 | 103.9352
Total | 298095.09 | 1656000 | 141771 | 128725.45 | 130538.47 | 90.7982 | 98.6111 | 860025 | 817233.34 | 772303.34 | 95.0244 | 105.8177