## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [13 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:AUG-2025 VIS-A-VIS AUG-2024 AND APR-AUG-2025 VIS-A-VIS APR-AUG-2024
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | AUG-2025 |  |  |  |  | APRIL 2025 - AUG-2025 |  |  |  |  | AUG-2025 |  |  |  | APRIL 2025 - AUG-2025
|  |  | PROGRAM | ACTUAL * | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL * | ACTUAL SAME MONTH |  | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD
Apr 2025 to Mar 2026
[5 empty] | 2024-25 |  |  |  |  | 2024-25 | [8 empty] | 2024-25
2024-25
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | 16 | 17 | 18
NORTHERN REGION
THERMAL | 56196.96 | 337626 | 27367 | 23478.11 | 24289.94 | 85.7899 | 96.6578 | 146043 | 124771.42 | 133836.12 | 85.4347 | 93.227 | 73.9638 | 61.4884 | 67.6229 |  | 80.5482 | 65.9746 |  | 74.2591
NUCLEAR | 2220 | 15247 | 1228 | 1204.46 | 1072.52 | 98.0831 | 112.3019 | 6106 | 5361.62 | 4643.95 | 87.809 | 115.4539 | 79.8493 | 72.9233 | 94.8394 |  | 77.8831 | 65.7719 |  | 83.2034
HYDRO | 21414.26 | 80988 | 12405 | 11801.61 | 11107.33 | 95.1359 | 106.2506 | 46812 | 47230.62 | 45254.25 | 100.8943 | 104.3673
Total | 79831.22 | 433861 | 41000 | 36484.18 | 36469.79 | 88.9858 | 100.0395 | 198961 | 177363.66 | 183734.32 | 89.1449 | 96.5327
WESTERN REGION
THERMAL | 94070.4 | 561830 | 42788 | 40649.42 | 39505.4 | 95.0019 | 102.8959 | 236589 | 219152.83 | 233580.36 | 92.6302 | 93.8233 | 64.9029 | 63.1662 | 61.2439 |  | 72.7544 | 68.7453 |  | 72.5688
NUCLEAR | 3240 | 23240 | 1812 | 1427.78 | 2071.37 | 78.7958 | 68.9293 | 10166 | 8099.17 | 9032.23 | 79.6692 | 89.6697 | 72.9193 | 59.2302 | 85.929 |  | 84.5192 | 68.0758 |  | 75.9184
HYDRO | 7392 | 17229 | 2248 | 3226.5 | 3063.32 | 143.5276 | 105.3269 | 6788 | 8772.81 | 8115.99 | 129.24 | 108.0929
Total | 104702.4 | 602299 | 46848 | 45303.7 | 44640.09 | 96.7036 | 101.4866 | 253543 | 236024.81 | 250728.58 | 93.0906 | 94.1356
SOUTHERN REGION
THERMAL | 52381.601 | 303516 | 23855 | 18605.44 | 18674.69 | 77.9939 | 99.6292 | 129762 | 97534.9 | 105842.4 | 75.1645 | 92.1511 | 64.1001 | 51.3698 | 53.754 |  | 72.3031 | 55.2633 |  | 61.7666
NUCLEAR | 3320 | 18105 | 1085 | 1443.58 | 2348.18 | 133.0488 | 61.4765 | 8034 | 9737.93 | 9724 | 121.209 | 100.1433 | 50.6366 | 58.4426 | 95.0649 |  | 75.969 | 79.8778 |  | 79.7635
HYDRO | 13047.15 | 34253 | 4237 | 5734.99 | 5002.96 | 135.355 | 114.6319 | 13387 | 19247.72 | 12131.09 | 143.7792 | 158.6644
Total | 68748.751 | 355874 | 29177 | 25784.01 | 26025.83 | 88.371 | 99.0708 | 151183 | 126520.55 | 127697.49 | 83.687 | 99.0783
EASTERN REGION
THERMAL | 39017.71 | 285685 | 22659 | 20769.86 | 20567.95 | 91.6627 | 100.9817 | 120081 | 106248.3 | 108764.95 | 88.4805 | 97.6862 | 76.1134 | 71.6159 | 74.1849 |  | 82.2612 | 74.7291 |  | 79.513
HYDRO | 5987.75 | 12202 | 1570 | 1580.42 | 1430.45 | 100.6637 | 110.4841 | 5590 | 5553.74 | 4773.3 | 99.3513 | 116.3501
Total | 45005.46 | 297887 | 24229 | 22350.28 | 21998.4 | 92.246 | 101.5996 | 125671 | 111802.04 | 113538.25 | 88.9641 | 98.4708
NORTH EASTERN REGION
THERMAL | 2450.955 | 15005 | 1238 | 1026.07 | 1096.13 | 82.8813 | 93.6084 | 6366 | 5193 | 5679.65 | 81.574 | 91.4317 | 78.3154 | 68.509 | 73.7043 |  | 81.5541 | 67.6115 |  | 77.4041
HYDRO | 2027 | 11002 | 1681 | 1164.53 | 961.84 | 69.276 | 121.0732 | 5311 | 4035.31 | 3822.68 | 75.9802 | 105.5623
Total | 4477.955 | 26007 | 2919 | 2190.6 | 2057.97 | 75.0462 | 106.4447 | 11677 | 9228.31 | 9502.33 | 79.0298 | 97.1163
BHUTAN IMP. REGION
| 0 | 9472 | 1011 | 1617.24 | 1167.2 | 159.9644 | 138.5572 | 4495 | 4963.03 | 3077.9 | 110.4122 | 161.2473
ALL INDIA REGION
THERMAL | 244117.626 | 1503662 | 117907 | 104528.9 | 104134.11 | 88.6537 | 100.3791 | 638841 | 552900.45 | 587703.48 | 86.5474 | 94.0781 | 68.6669 | 61.7286 | 63.3078 |  | 76.0084 | 66.2664 |  | 71.8352
NUCLEAR | 8780 | 56592 | 4125 | 4075.82 | 5492.07 | 98.8078 | 74.2128 | 24306 | 23198.72 | 23400.18 | 95.4444 | 99.1391 | 65.1901 | 62.3947 | 91.3591 |  | 79.5176 | 71.956 |  | 78.8688
HYDRO | 49868.16 | 155674 | 22141 | 23508.05 | 21565.9 | 106.1743 | 109.0057 | 77888 | 84840.2 | 74097.31 | 108.9259 | 114.4984
BHUTAN IMP | 0 | 9472 | 1011 | 1617.24 | 1167.2 | 159.9644 | 138.5572 | 4495 | 4963.03 | 3077.9 | 110.4122 | 161.2473
Total | 302765.786 | 1725400 | 145184 | 133730.01 | 132359.28 | 92.1107 | 101.0356 | 745530 | 665902.4 | 688278.87 | 89.3193 | 96.7489