## monWiseSummeryReport
|  | CENTRAL ELECTRICITY AUTHORITY G O & D WING OPERATION PERFORMANCE MONITORING DIVISION | [13 empty] | SUB- REPORT 2
ENERGYWISE - PERFORMANCE STATUS ALL INDIA - REGIONWISE
PERIOD:SEP-2025 VIS-A-VIS SEP-2024 AND APR-SEP-2025 VIS-A-VIS APR-SEP-2024
2. SUMMARY - REGION WISE
Category / Regions | Monitored Capacity (MW) | Target | GENERATION (GWH) | [9 empty] | PLANT LOAD FACTOR (%)
|  |  | SEP-2025 |  |  |  |  | APRIL 2025 - SEP-2025 |  |  |  |  | SEP-2025 |  |  |  | APRIL 2025 - SEP-2025
|  |  | PROGRAM | ACTUAL * | ACTUAL SAME MONTH | % OF PRO- GRAM (4/3) | % OF LAST YEAR (4/5) | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD | % OF PROGRAM (9/8) | % OF LAST YEAR (9/10) | PROGRAM | ACTUAL * | ACTUAL SAME MONTH |  | PROGRAM | ACTUAL * | ACTUAL SAME PERIOD
Apr 2025 to Mar 2026
[5 empty] | 2024-25 |  |  |  |  | 2024-25 | [8 empty] | 2024-25
2024-25
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |  | 16 | 17 | 18
NORTHERN REGION
THERMAL | 56196.96 | 337626 | 26758 | 22745.63 | 23523.72 | 85.005 | 96.6923 | 172801 | 147513.09 | 157359.84 | 85.3659 | 93.7425 | 74.5303 | 61.5219 | 67.9853 |  | 79.5617 | 65.237 |  | 73.2306
NUCLEAR | 2220 | 15247 | 1218 | 1127.21 | 926.22 | 92.546 | 121.7 | 7324 | 6514.63 | 5570.17 | 88.9491 | 116.9557 | 81.78 | 70.5211 | 84.6327 |  | 78.522 | 66.8151 |  | 83.4377
HYDRO | 21414.26 | 80988 | 9834 | 10890.96 | 10114.95 | 110.748 | 107.6719 | 56646 | 58062.33 | 55369.2 | 102.5003 | 104.8639
Total | 79831.22 | 433861 | 37810 | 34763.8 | 34564.89 | 91.9434 | 100.5755 | 236771 | 212090.05 | 218299.21 | 89.576 | 97.1557
WESTERN REGION
THERMAL | 94070.4 | 561830 | 44772 | 39214.43 | 38465.62 | 87.587 | 101.9467 | 281361 | 258361.52 | 272045.98 | 91.8256 | 94.9698 | 70.2777 | 62.3945 | 61.3683 |  | 72.3484 | 67.702 |  | 70.7326
NUCLEAR | 3240 | 23240 | 1376 | 1655.25 | 1813.65 | 120.2943 | 91.2662 | 11542 | 9754.45 | 10845.88 | 84.5126 | 89.9369 | 63.867 | 70.9555 | 77.7456 |  | 81.1336 | 68.5481 |  | 76.218
HYDRO | 7392 | 17229 | 2447 | 3319.86 | 3311.23 | 135.6706 | 100.2605 | 9235 | 12091.46 | 11427.22 | 130.9308 | 105.8128
Total | 104702.4 | 602299 | 48595 | 44189.54 | 43590.5 | 90.9343 | 101.3742 | 302138 | 280207.43 | 294319.08 | 92.7415 | 95.2053
SOUTHERN REGION
THERMAL | 52381.601 | 303516 | 23764 | 19167.15 | 18557.06 | 80.6562 | 103.2876 | 153526 | 116715.66 | 124399.46 | 76.0234 | 93.8233 | 65.8974 | 54.1038 | 55.2354 |  | 71.253 | 55.0762 |  | 60.6959
NUCLEAR | 3320 | 18105 | 1084 | 1229.85 | 2186.57 | 113.4548 | 56.2457 | 9118 | 10971.8 | 11910.57 | 120.3312 | 92.1182 | 52.2762 | 51.4495 | 91.473 |  | 72.085 | 75.245 |  | 81.6831
HYDRO | 13287.15 | 34253 | 4007 | 5325.61 | 4752.04 | 132.9077 | 112.0701 | 17394 | 24621.36 | 16883.13 | 141.5509 | 145.8341
Total | 68988.751 | 355874 | 28855 | 25722.61 | 25495.67 | 89.1444 | 100.8901 | 180038 | 152308.82 | 153193.16 | 84.5982 | 99.4227
EASTERN REGION
THERMAL | 39017.71 | 285685 | 22598 | 19836.91 | 20434.41 | 87.7817 | 97.076 | 142679 | 126090.73 | 129199.36 | 88.3737 | 97.5939 | 78.4515 | 70.6776 | 76.1053 |  | 81.6366 | 74.0653 |  | 78.9539
HYDRO | 5987.75 | 12202 | 1567 | 1616.73 | 1595.08 | 103.1736 | 101.3573 | 7157 | 7188.99 | 6368.38 | 100.447 | 112.8857
Total | 45005.46 | 297887 | 24165 | 21453.64 | 22029.49 | 88.7798 | 97.386 | 149836 | 133279.72 | 135567.74 | 88.9504 | 98.3123
NORTH EASTERN REGION
THERMAL | 2450.955 | 15005 | 1221 | 1004.51 | 1110.47 | 82.2695 | 90.4581 | 7587 | 6201.03 | 6790.12 | 81.7323 | 91.3243 | 80.9259 | 66.4741 | 80.663 |  | 81.4511 | 67.4253 |  | 77.9384
HYDRO | 2027 | 11002 | 1558 | 1081.02 | 800.95 | 69.3851 | 134.9672 | 6869 | 5118.13 | 4623.63 | 74.5106 | 110.6951
Total | 4477.955 | 26007 | 2779 | 2085.53 | 1911.42 | 75.0461 | 109.1089 | 14456 | 11319.16 | 11413.75 | 78.3008 | 99.1713
BHUTAN IMP. REGION
| 0 | 9472 | 984 | 1474.53 | 1165.6 | 149.8506 | 126.5039 | 5479 | 6369.87 | 4243.5 | 116.2597 | 150.1089
ALL INDIA REGION
THERMAL | 244117.626 | 1503662 | 119113 | 101968.63 | 102091.28 | 85.6066 | 99.8799 | 757954 | 654882.03 | 689794.76 | 86.4013 | 94.9387 | 71.7347 | 61.8516 | 64.1108 |  | 75.3078 | 65.5389 |  | 70.5687
NUCLEAR | 8780 | 56592 | 3678 | 4012.31 | 4926.44 | 109.0895 | 81.4444 | 27984 | 27240.88 | 28326.62 | 97.3445 | 96.1671 | 62.9803 | 63.4698 | 84.6817 |  | 76.8065 | 70.6422 |  | 79.8217
HYDRO | 50108.16 | 155674 | 19413 | 22234.18 | 20574.25 | 114.5324 | 108.068 | 97301 | 107082.27 | 94671.56 | 110.0526 | 113.1092
BHUTAN IMP | 0 | 9472 | 984 | 1474.53 | 1165.6 | 149.8506 | 126.5039 | 5479 | 6369.87 | 4243.5 | 116.2597 | 150.1089
Total | 303005.786 | 1725400 | 143188 | 129689.65 | 128757.57 | 90.573 | 100.7239 | 888718 | 795575.05 | 817036.44 | 89.5194 | 97.3733