## ss_competed_monthly
Sub-Stations (220 kV and above) Commissioned/Ready for commissioning During -AUG 2023
As on 31-Aug-23
Sl No | Name of Sub Stations | Voltage Ratio (kV/kV) | Executing Agency | Capacity (MW/MVA)
1. | 2. | 3. | 4. | 5.
CENTRAL SECTOR
1 | 1x500MVA400/230kV ICT-5 (4th) at Tuticorin under Evacuation of RE inTirunelveli and Tuticorin WEZ | 400/230 | PGCIL | 500
| Total of CENTRAL SECTOR |  |  | 500
STATE SECTOR
2 | Kottayam (T/F - II) | 400/220 | KSEB | 315
3 | 400KV Veltoor Substation | 400/220 | TSTRANSCO | 185
4 | Durgapur 400KV SS Tr. Aug. | 400/220 | WBSETCL | 315
5 | Veerapuram 230 kV | 230/110 | TANTRANSCO | 100
6 | 220 kV S/s Morta Ghaziabad (New) T/F- II and III | 220/33 | UPPTCL | 120
7 | Amargarh (Delina) | 220/132 | JKPDD | 160
8 | Sira (Kallukote)s/s | 220/66/11 | KPTCL | 100
9 | Shahabad | 220/66 | HVPNL | 100
10 | Ganjbasoda 220KV S/s additional 1x160 MVA X-mer | 220/132 | MPPTCL | 160
11 | Itarsi 220 kV S/s replacement of 3x40MVA by 1x160MVA X-mer | 220/132 | MPPTCL | 40
12 | 220kV GSS Halasar | 220/132 | RVPNL | 100
13 | 220/132/33 KV S/s DataganjBadaun (New) T/F- I and II | 220/132 | UPPTCL | 320
| Total of STATE SECTOR |  |  | 2015
| Grand Total |  |  | 2515