## ss_competed_monthly
CENTRAL ELECTRICITY AUTHORITY POWER SYSTEM WING Power System Project Monitoring Division
Sub-Stations (220 kV and above) Commissioned/Ready for commissioning During -AUG 2024
As on 31-Aug-24
Sl No | Name of Sub Stations | Voltage Ratio (kV/kV) | Executing Agency | Capacity (MW/MVA)
1. | 2. | 3. | 4. | 5.
CENTRAL SECTOR
1 | 220KV GIS Infrastructure at MTPS | 400/220 | DVC | 315
2 | 1x500 MVA 400/220 kV ICT 3rd at Bikaner PS to Cater N-1 Contigency at Bikaner PS (Rajasthan) | 400/220 | PGCIL | 500
3 | 1X500 MVA 400/220 kV (2nd) ICT at Shikrapur (PG) GIS under Western Region Expansion Scheme-XXVI | 400/220 | PGCIL | 500
4 | 1X200 MVA 220/132 kV (4th) ICT at Ara POWERGRID S/S under ER Expansion Scheme-XXXVI (ERES-XXXVI) | 220/132 | PGCIL | 200
| Total of CENTRAL SECTOR |  |  | 1515
STATE SECTOR
5 | 400 kV S/S Ropar (1x500 MVA ) 2nd T/F | 400/220 | PSTCL | 500
6 | 400 kV S/S Ropar (1x500 MVA ) 1st T/F | 400/220 | PSTCL | 500
7 | Karaikudi 230/110 kV SS (50 MVA to 100MVA enhancement) | 230/110 | TANTRANSCO | 50
8 | 220 kV Besan | 220/66 | GETCO | 320
9 | 220kV Samain | 220/33 | HVPNL | 100
10 | 220 kV Nalasopara substation (additional 100 MVA T/F) | 220/22 | MSETCL | 100
11 | 220 kV Tembhurni substation (replacement of 25 MVA by 100 MVA T/F) | 220/33 | MSETCL | 25
12 | 220 kV GSS Heerapura (replacement of 100 MVA T/F with 160 MVA) | 220/132 | RVPNL | 60
13 | 220 kV S/s Pahadi Chitrakoot (Capacity Augmentation) | 220/132 | UPPTCL | 160
14 | Food Park (T/F-I) 220 KV GIS | 220/132 | WBSETCL | 160
15 | Food Park (T/F-II) 220 KV GIS | 220/132 | WBSETCL | 160
| Total of STATE SECTOR |  |  | 2135
| Grand Total |  |  | 3650