## State_trans_utility_wise_prt1
CENTRAL ELECTRICITY AUTHORITY POWER SYSTEM WING Power System Project Monitoring Division
Sub-Stations Completed During FY - 2024-25
As on 31-Dec-24
Sl No | Name of Sub Stations | Voltage Ratio (kV/kV) | Executing Agency | Capacity (MW/MVA) |  | Month of Completion
1. | 2. | 3. | 4. | 5. |  | 6.
765 kV
CENTRAL SECTOR
1 | 1X1500 MVA 765/400 KV (5th) ICT at Fatehgarh-II PS (Rajasthan (8.1 GW) under Phase II- Part- A1) | 765/400 | PGCIL | 1500 |  | JUL-24
2 | 1x1500MVA ICT at Padghe (GIS) Trans. Network Expansion in Gujarat to increase ATC from ISTS Part B | 765/400 | PGCIL | 1500 |  | JUN-24
3 | Banaskantha SS (Transmission network expansion in Gujarat to increase its ATC from ISTS Part C) | 765/400 | PGCIL | 1500 |  | NOV-24
4 | 1x1500 MVA 765/400kV ICT-2 at Sikar-II s/s (Rajasthan (8.1 GW) under phase-II- Part C) | 765/400 | PGCIL | 1500 |  | OCT-24
5 | 1x1500 MVA 765/400kV ICT-1 at Sikar-II s/s (Rajasthan (8.1 GW) under phase-II- Part C) | 765/400 | PGCIL | 1500 |  | OCT-24
6 | 1X1500MVA 765/400 KV ICT-3rd at Raigarh Kotra Section-A) | 765/400 | PGCIL | 1500 |  | OCT-24
7 | 1X1500 MVA 765/400 kV ICT (4th) at 765/400 kV Bhadla-II PS under (Phase -II Part -BI) | 765/400 | PGCIL | 1500 |  | SEP-24
| TOTAL CENTRAL SECTOR |  |  | 10500
| TOTAL 765 kV |  |  | 10500
400 kV
CENTRAL SECTOR
8 | 220KV GIS Infrastructure at MTPS | 400/220 | DVC | 315 |  | AUG-24
9 | 220 kV GIS Infrastructure at RTPS | 400/220 | DVC | 630 |  | NOV-24
10 | 1x500 MVA 400/220 kV ICT 3rd at Bikaner PS to Cater N-1 Contigency at Bikaner PS (Rajasthan) | 400/220 | PGCIL | 500 |  | AUG-24
11 | 1X500 MVA 400/220 kV (2nd) ICT at Shikrapur (PG) GIS under Western Region Expansion Scheme-XXVI | 400/220 | PGCIL | 500 |  | AUG-24
12 | 1X500 MVA, ICT-1 at Dharamjaigarh S/s (WRES XXIX {Project name: WRES-XXVIII & WRES-XXIX) | 400/220 | PGCIL | 500 |  | DEC-24
13 | 1X500 MVA, (3rd) ICT at Raipur Pool S/s (WRES XXVIII {Project name: WRES-XXVIII & WRES-XXIX) | 400/220 | PGCIL | 500 |  | DEC-24
14 | 1X500 MVA 400/220kV ICT-4 at Bikaner-II PS (Phase-IV (Part 1) Bikaner Complex- PART E) | 400/220 | PGCIL | 500 |  | DEC-24
15 | 1X500 MVA, 400/220 kV ICT-2 at Bikaner-II PS (Phase-IV (Part 1) Bikaner Complex- PART E) | 400/220 | PGCIL | 500 |  | JUL-24
16 | 1X500MVA ICT(4TH) at ARASUR s/s (Aug. of T/F Capacity by 500 MVA ICT(4th) at Arasur) | 400/230 | PGCIL | 500 |  | JUN-24
17 | Shifting of ICT from Ludiana to Bhinmal(PG) SS (Aug. of T/F capacity at Bhinmal (PG) SS by ICT 3rd) | 400/220 | PGCIL | 315 |  | JUN-24
18 | 1X500 MVA 400/220 kV ICT-1 at Bikaner-II PS (Phase-IV (Part 1) Bikaner Complex- PART E | 400/220 | PGCIL | 500 |  | MAY-24
19 | 1X500 MVA 400/220 kV ICT-3 at Bikaner II PS (Phase-IV (Part 1) Bikaner Complex- PART E) | 400/220 | PGCIL | 500 |  | NOV-24
20 | 1X500MVA ICT-2 at Banka S/S along with Extn. of 400KV AIS Switch. and creation of 220KV GIS at Banka | 400/220 | PGCIL | 500 |  | OCT-24
21 | 1X500MVA ICT-1 at Banka S/S along with Extn. of 400KV AIS Switch. and creation of 220KV GIS at Banka | 400/220 | PGCIL | 500 |  | OCT-24
22 | Aug. by 1x500 MVA 400/220 kV ICT (3rd )at 400/220 kV Jind (PG) S/s under Aug. of ISTS for HVPNL TS | 400/220 | PGCIL | 500 |  | SEP-24
23 | 1X500 MVA, 400/220 kV (2nd) ICT at Raipur Pool S/s (WRES XXVIII (Project: WRES-XXVIII & WRES-XXIX) | 400/220 | PGCIL | 500 |  | SEP-24
24 | 1X500 MVA, 400/220 kV (4th) ICT at Mysore under Aug. of transformation capacity at Mysore | 400/220 | PGCIL | 500 |  | SEP-24
25 | 1x500 MVA ICT (3rd ) at 400/220 kV Bahadurgarh (PG) S/s under Aug. of ISTS of HVPNL TS | 400/220 | PGCIL | 500 |  | SEP-24
26 | 1X500 MVA, 400/220 kV (1st) ICT at Raipur Pool S/s ( WRES XXVIII (Project: WRES-XXVIII & WRES-XXIX) | 400/220 | PGCIL | 500 |  | SEP-24
27 | 1X500 MVA, 400/220 kV (1st) ICT at Shikrapur (PG) GIS under Western Region Expansion Scheme-XXVI | 400/220 | PGCIL | 500 |  | SEP-24
| TOTAL CENTRAL SECTOR |  |  | 9760
| TOTAL 400 kV |  |  | 9760
220 kV
CENTRAL SECTOR
28 | 1X200 MVA 220/132 kV (4th) ICT at Ara POWERGRID S/S under ER Expansion Scheme-XXXVI (ERES-XXXVI) | 220/132 | PGCIL | 200 |  | AUG-24
| TOTAL CENTRAL SECTOR |  |  | 200
| TOTAL 220 kV |  |  | 200
765 kV
STATE SECTOR
29 | Ariyalur (1500 MVA ICT-II) | 765/400 | TANTRANSCO | 1500 |  | DEC-24
| TOTAL STATE SECTOR |  |  | 1500
| TOTAL 765 kV |  |  | 1500
400 kV
STATE SECTOR
30 | Jammalamadugu SS in Kadapa Dist | 400/220 | APTRANSCO | 500 |  | DEC-24
31 | Latehar SS (2X315 MVA T/F) | 400/220 | JUSNL | 630 |  | DEC-24
32 | Bhopal 400 kV SS (replacement of 315 MVA by 500 MVA T/F) | 400/220 | MPPTCL | 185 |  | NOV-24
33 | 400 kV Khadka S/s (3x105 MVA ICT) | 400/220/33 | MSETCL | 315 |  | DEC-24
34 | 400 kV S/S Ropar (1x500 MVA ) 2nd T/F | 400/220 | PSTCL | 500 |  | AUG-24
35 | 400 kV S/S Ropar (1x500 MVA ) 1st T/F | 400/220 | PSTCL | 500 |  | AUG-24
36 | 400 kV S/S Nakodar | 400/220 | PSTCL | 500 |  | NOV-24
37 | 400 kV GSS Pachpadra | 400/220 | RVPNL | 500 |  | DEC-24
38 | Vellalaviduthi (T/F-I) (400/110 (2X200 MVA) | 400/110 | TANTRANSCO | 200 |  | APR-24
39 | Kayathar 400/230-110 KV SS | 400/110 | TANTRANSCO | 200 |  | JUL-24
40 | Alamathy 400/230-110 kV SS (enhancement of capacity at from 2x200 MVA to 3x200 MVA | 400/110 | TANTRANSCO | 200 |  | JUN-24
41 | Thiruvalam 400/230 KV SS- Capacity enhancement from 2x315 to 2x315 + 1x500 MVA | 400/230 | TANTRANSCO | 500 |  | MAY-24
42 | Sriperumbudhur 400/230-110 kV SS- capacity enhancement from 3x315 MVA to 3x315MVA+ 1x500MVA | 400/230 | TANTRANSCO | 500 |  | MAY-24
43 | Sriperumbudur 400/230 kV SS (enhancement from 3x315+1x500 MVA to 2x315+2x500 MVA) | 400/230 | TANTRANSCO | 185 |  | NOV-24
44 | Vellalaviduthi (400/110 kV T/F-II) | 400/110 | TANTRANSCO | 200 |  | NOV-24
45 | Kamalapuram Substation (3rd ICT) | 400/220 | TSTRANSCO | 315 |  | APR-24
46 | 400 kV S/s Dahi Chaoki Unnao (Capacity Aug.) (500-315) | 400/220 | UPPTCL | 185 |  | APR-24
47 | 400 kV S/s Motiram Adda Gorakhpur Capacity Aug. (500-240) T/F-II | 400/220 | UPPTCL | 260 |  | JUN-24
48 | 400 kV S/s Machhalishahar Jaunpur (New) T/F-III | 400/220 | UPPTCL | 315 |  | MAY-24
49 | New Chanditala (4th ICT) | 400/220 | WBSETCL | 315 |  | OCT-24
| TOTAL STATE SECTOR |  |  | 7005
| TOTAL 400 kV |  |  | 7005
230 kV
STATE SECTOR
50 | Karaikudi 230/110 kV SS (50 MVA to 100MVA enhancement) | 230/110 | TANTRANSCO | 50 |  | AUG-24
51 | Selvapuram 230/110 kV SS (T/F-I) | 230/110 | TANTRANSCO | 100 |  | JUL-24
52 | Siruseri 230 KV SS (enhancement of capacity from 2x100MVA to 3x100MVA) | 230/110 | TANTRANSCO | 100 |  | JUN-24
53 | Karuppur (T/F- II) | 230/110 | TANTRANSCO | 100 |  | JUN-24
54 | Mondipatty SS (replacement of 80 MVA T/F with 100 MVA) | 230/110 | TANTRANSCO | 20 |  | NOV-24
| TOTAL STATE SECTOR |  |  | 370
| TOTAL 230 kV |  |  | 370
220 kV
STATE SECTOR
55 | 220/132 kV SS Madanapalli in Chittoor Dist. (3X100-2X100) | 220/132 | APTRANSCO | 100 |  | APR-24
56 | Punganur SS in Chittoor Dist. (T/F-I) | 220/132 | APTRANSCO | 100 |  | DEC-24
57 | 220 kV SS AP Carbides in Kurnool District (3x160+1x100 - 2x160 +1x100) | 220/132 | APTRANSCO | 160 |  | JUL-24
58 | Krishnagiri S/s (T/F-II) | 220/33 | APTRANSCO | 50 |  | JUN-24
59 | 220kV SS Kuppam in Chittoor District (3x100-2x100) | 220/132 | APTRANSCO | 100 |  | JUN-24
60 | Penukonda (Gorantla) (GEC-I) | 220/132 | APTRANSCO | 160 |  | MAY-24
61 | 220KV SS Pallantla in West Godavari Dist. (2 x100-1x100) | 220/132 | APTRANSCO | 100 |  | MAY-24
62 | Bethamcherla in Kurnool District (GEC-I) | 220/132 | APTRANSCO | 160 |  | NOV-24
63 | 220 kV SS Nansuralla in Kurnool District (Additional 50 MVA T/F) | 220/33 | APTRANSCO | 50 |  | NOV-24
64 | Bhimadole Aug. (100 to 160MVA) | 220/132 | APTRANSCO | 60 |  | OCT-24
65 | Jakkanpur (GIS) s/s (160 MVA T/F-II) | 220/132 | BSPTCL | 160 |  | APR-24
66 | Jakkanpur (GIS) s/s (160 MVA T/F-III) | 220/132 | BSPTCL | 160 |  | MAY-24
67 | Patan (Upgradation of existing 132/33 KV S/s by 220/132 KV S/s ) | 220/132 | CSPTCL | 320 |  | JUN-24
68 | Parchanpal (Jagdalpur) SS (late reported, commissioned in October-2024) | 220/132 | CSPTCL | 160 |  | NOV-24
69 | GIS Timarpur (100 MVA T/F) | 220/33 | DTL | 100 |  | APR-24
70 | 220kV GIS Substation at Timarpur (100 MVA T/F-II) | 220/33 | DTL | 100 |  | JUL-24
71 | 220 kV Besan | 220/66 | GETCO | 320 |  | AUG-24
72 | Mera (Mithi Paldi) (T/F-II) (late reported commissioned in Nov-2024) | 220/66 | GETCO | 160 |  | DEC-24
73 | 220 kV Chandrapura (Aug. from 360 to 470 MVA) | 220/66 | GETCO | 110 |  | DEC-24
74 | 220 kV Jamla (Aug. from 410 MVA to 520 MVA) | 220/66 | GETCO | 110 |  | DEC-24
75 | 220 kV Talangpor | 220/66 | GETCO | 60 |  | JUL-24
76 | 220 kV Suva (late reported, commissioned in October-2024) | 220/66 | GETCO | 160 |  | NOV-24
77 | 220 kV Jambuva (Augmentation from 260 MVA to 420MVA) | 220/66 | GETCO | 160 |  | NOV-24
78 | 220/66 kV Heiling Sub-Station | 220/66 | HPPTCL | 100 |  | DEC-24
79 | 220/132/33 kV AIS at Andheri (Kala Amb) District Sirmaur H.P. | 220/132 | HPPTCL | 200 |  | MAY-24
80 | 220KV Chormar (100 MVA T/F) | 220/132 | HVPNL | 100 |  | APR-24
81 | 220kV I.A. Hisar (160-100) | 220/132 | HVPNL | 60 |  | APR-24
82 | 220kV Samain | 220/33 | HVPNL | 100 |  | AUG-24
83 | 220 kV Rohtak (augmentation from 100 to 160 MVA) | 220/132 | HVPNL | 60 |  | DEC-24
84 | 220 kV Fatehabad (augmentation from 100 to 160 MVA) | 220/132 | HVPNL | 60 |  | DEC-24
85 | GIS Sector-15 II Gurugram (T/F-I) | 220/66 | HVPNL | 160 |  | DEC-24
86 | 220 kV Rangala Rajpur (additional 100 MVA) | 220/66 | HVPNL | 100 |  | DEC-24
87 | HSIIDC Rai Sonepat (220/33 kV 100 MVA T/F-II)(charged on 02-05-2024 however late reported by HVPNL) | 220/33 | HVPNL | 100 |  | JUL-24
88 | HSIIDC Rai Sonepat 220/132 kV T/F-II | 220/132 | HVPNL | 160 |  | MAY-24
89 | HSIIDC Rai Sonepat 220/33 kV T/F-I | 220/33 | HVPNL | 100 |  | MAY-24
90 | Sonta ss (160-100 MVA) | 220/66 | HVPNL | 60 |  | MAY-24
91 | Augmentation at 220 kV Masudpur SS | 220/132 | HVPNL | 100 |  | NOV-24
92 | 220 kV GIS Transport Hub, Sector-8 IMT Manesar | 220/66 | HVPNL | 100 |  | SEP-24
93 | Lohardaga GSS | 220/132 | JUSNL | 300 |  | DEC-24
94 | Somasamudra SS (2X100 MVA T/F) | 220/110 | KPTCL | 200 |  | NOV-24
95 | Keonics (Electronic City): 2x150 MVA ICT | 220/66 | KPTCL | 300 |  | SEP-24
96 | Construction of 220/132 kV substation at Bargawan (TBCB) (late reported commissioned in Sept-2024) | 220/132 | MPPTCL | 320 |  | DEC-24
97 | Construction of Begamganj SS (TBCB) (charged on 24-04-2024 however late reported by MPPTCL) | 220/132 | MPPTCL | 320 |  | JUL-24
98 | 220/132/33kV Ajaygarh S/s (TBCB) | 220/132 | MPPTCL | 320 |  | JUN-24
99 | Bairagarh (Bhopal) 220 KV S/s Addl. 1x160MVA X-mer | 220/132 | MPPTCL | 160 |  | MAY-24
100 | Nagda 220 kV SS (replacement of 160 MVA by 200 MVA T/F) | 220/132 | MPPTCL | 40 |  | NOV-24
101 | 220 kV Nalasopara substation (additional 100 MVA T/F) | 220/22 | MSETCL | 100 |  | AUG-24
102 | 220 kV Tembhurni substation (replacement of 25 MVA by 100 MVA T/F) | 220/33 | MSETCL | 25 |  | AUG-24
103 | 220 kV Vairag S/s (replacement of 2X25 MVA by 2X50 MVA T/F) | 220/33 | MSETCL | 50 |  | DEC-24
104 | 220 kV Bhigwan S/s (replacement of 25 MVA by 50 MVA T/F) | 220/33 | MSETCL | 25 |  | DEC-24
105 | 220kV Walchandnagar substation (replacement of 100 MVA by 200 MVA T/F) | 220/132 | MSETCL | 100 |  | JUL-24
106 | 220/33kV New Timber Market GIS (Panvel -II )(50 | 220/33 | MSETCL | 50 |  | JUN-24
MVA T/F)
107 | 220kV Jambhul (Additional T/F) | 220/22 | MSETCL | 50 |  | MAY-24
108 | 220kV Chalisgaon Substation(1x200 MVA Additional T/F) | 220/132 | MSETCL | 200 |  | MAY-24
109 | 220/33 kV New Timber Market GIS (Panvel -II ) | 220/33 | MSETCL | 50 |  | NOV-24
110 | 220/33 kV Shendra GIS (DMIC)(2X50 MVA T/F) | 220/33 | MSETCL | 100 |  | SEP-24
111 | 220 kV Jeur (Replacement of 100 MVA T/F with 200 MVA T/F) | 220/132 | MSETCL | 100 |  | SEP-24
112 | Balichandarpur Palei GSS (T/F-II) | 220/33 | OPTCL | 40 |  | DEC-24
113 | 220/132/33kV Kuarnmunda GSS (2nd 160 MVA Auto transformer) | 220/132 | OPTCL | 160 |  | JUL-24
114 | 220/132/33KV Turmunga GSS (1st 160 MVA Auto Transformer) | 220/132 | OPTCL | 160 |  | JUL-24
115 | 220/33 KV GSS Balichandrapur Palei | 220/33 | OPTCL | 20 |  | MAY-24
116 | 220 kV S/S Botianwala (Addl. 100 MVA 220/66 kV PT/f) | 220/66 | PSTCL | 100 |  | APR-24
117 | 220 kV S/S Bhari (Addl. 100 MVA 220/66 kV PT/f) | 220/66 | PSTCL | 100 |  | APR-24
118 | 220 kV Gurdaspur SS (T/F-II) | 220/66 | PSTCL | 100 |  | DEC-24
119 | 220 kV Rajpura SS (Aug. of 100 MVA by 160 MVA) | 220/66 | PSTCL | 60 |  | DEC-24
120 | 220 kV S/S Gurdaspur (1x100 MVA) (Upgraded from 132 KV to 220 KV) | 220/66 | PSTCL | 100 |  | JUL-24
121 | Aug. of 100 MVA T/F to 160 MVA T/F at 220 kV SS Mandi Gobindgarh G-3 | 220/66 | PSTCL | 60 |  | JUL-24
122 | Aug 100 to 160 MVA at 220 KV S/S Kartarpur | 220/66 | PSTCL | 60 |  | JUN-24
123 | 220 kV S/S Banur (Aug. of 1x100 MVA T/F with 1x160 MVA T/F) | 220/66 | PSTCL | 60 |  | MAY-24
124 | Addl 100 MVA 220/66 KV T/F at 220 KV S/S Naraingarh (N-1) | 220/66 | PSTCL | 100 |  | MAY-24
125 | Addl 100 MVA 220/66 KV T/F at 220 KV S/S Badhshahpur | 220/66 | PSTCL | 100 |  | MAY-24
126 | Aug. of 100MVA 220/66kV T/F to 160MVA 220/66kV T/F at 220kV S/Stn Bajakhana | 220/66 | PSTCL | 60 |  | MAY-24
127 | 220 kV SS Sandhaur (late reported, commissioned in October-2024) | 220/66 | PSTCL | 100 |  | NOV-24
128 | Addl. 100 MVA 220/66 kV T/F at 220 kV Badni Kalan SS | 220/66 | PSTCL | 100 |  | NOV-24
129 | 220 kV SS Civil line Amritsar (late reported, commissioned in October-2024) | 220/132 | PSTCL | 100 |  | NOV-24
130 | 220 kV Sandhwan S/s | 220/66 | PSTCL | 100 |  | SEP-24
131 | 220 kV GSS Heerapura (replacement of 100 MVA T/F with 160 MVA) | 220/132 | RVPNL | 60 |  | AUG-24
132 | 220 kV Jhunjhunu GSS (replacement of 100 MVA T/F by 160 MVA) | 220/132 | RVPNL | 60 |  | DEC-24
133 | 220 kV GSS Khinvsar (replacement of 100 MVA T/F with 160 MVA T/F) | 220/132 | RVPNL | 60 |  | JUL-24
134 | 220kV GSS Bap (Additional T/F) | 220/132 | RVPNL | 160 |  | MAY-24
135 | 220 kV GSS Balotra (replacement of 100 MVA T/F with 160 MVA T/F) | 220/132 | RVPNL | 60 |  | NOV-24
136 | Sawai Madhopur (100 to 160 MVA) | 220/132 | RVPNL | 60 |  | OCT-24
137 | Bharatpur (100 to 160 MVA) | 220/132 | RVPNL | 60 |  | OCT-24
138 | Banar GIS (Distt. Jodhpur) | 220/132 | RVPNL | 200 |  | OCT-24
139 | 220 kV GSS Nimbahera (replacement of existing 100 MVA T/F with 160 MVA T/F) | 220/132 | RVPNL | 60 |  | SEP-24
140 | 220 kV S/s Khurja (Capacity Augmentation 160 MVA T/F-III) | 220/132 | UPPTCL | 160 |  | APR-24
141 | 220 kV S/s Sangipur (New) 160 MVA T/F-II | 220/132 | UPPTCL | 160 |  | APR-24
142 | 220 kV S/s Kanpur South (Capacity Augmentation 60 MVA T/F-III) | 220/33 | UPPTCL | 60 |  | APR-24
143 | 220 kV S/s Sirathu (Capacity Aug. 160 MVA T/F-III) | 220/132 | UPPTCL | 160 |  | APR-24
144 | 220 kV S/s Pahadi Chitrakoot (Capacity Augmentation) | 220/132 | UPPTCL | 160 |  | AUG-24
145 | Sirsaganj Firozabad S/s (Capacity Augmentation) | 220/132 | UPPTCL | 160 |  | DEC-24
146 | 220 kV S/s Metro Depot Gr. Noida GB Nagar (New) T/F-I and T/F-II | 220/132 | UPPTCL | 320 |  | JUL-24
147 | 220 kV S/s Kanduni Sitapur (New) T/F-II | 220/132 | UPPTCL | 200 |  | JUL-24
148 | 220 kV S/s Darshan Nagar Ayodhya (New) T/F-I | 220/132 | UPPTCL | 160 |  | JUL-24
149 | 220 kV S/s Knowledge Park-5 Gr. Noida GB Nagar (New) T/F-II | 220/132 | UPPTCL | 160 |  | JUN-24
150 | 220 kV S/s Maharajganj (New) T/F-II | 220/132 | UPPTCL | 160 |  | MAY-24
151 | 220 kV S/s Khorabar Gorakhpur (New) T/F-II | 220/33 | UPPTCL | 60 |  | MAY-24
152 | 220 kV S/s Hata Kushinagar (Capacity Augmentation) (160-100) | 220/132 | UPPTCL | 60 |  | MAY-24
153 | 220 kV S/s Bhadaura Ghazipur (New) T/F-II | 220/132 | UPPTCL | 100 |  | MAY-24
154 | 220 kV S/s Jahangirabad Bulandshahr (Capacity Augmentation) T/F-III | 220/132 | UPPTCL | 160 |  | MAY-24
155 | 220 kV S/s Mainpuri (Capacity Augmentation) T/F-III (160-100) | 220/132 | UPPTCL | 60 |  | MAY-24
156 | 220 kV GIS SS Badaun Road Bareilly (T/F-II) | 220/33 | UPPTCL | 60 |  | NOV-24
157 | 220 kV GIS S/s Badaun Road Bareilly (New) GIS | 220/33 | UPPTCL | 60 |  | OCT-24
158 | 220 kV S/s Debai Bulandshaher (Capacity Augmentation) | 220/132 | UPPTCL | 160 |  | SEP-24
159 | Food Park (T/F-I) 220 KV GIS | 220/132 | WBSETCL | 160 |  | AUG-24
160 | Food Park (T/F-II) 220 KV GIS | 220/132 | WBSETCL | 160 |  | AUG-24
161 | AB Zone 220 KV GIS (upgraded to 220 kV from 132 kV) | 220/132 | WBSETCL | 320 |  | NOV-24
| TOTAL STATE SECTOR |  |  | 13170
| TOTAL 220 kV |  |  | 13170
400 kV
PRIVATE SECTOR
162 | Augmentation of transformation capacity 1X500 MVA ICT (3rd ) at patran (GIS) S/s (RTM) | 400/220 | INDIGRID | 500 |  | DEC-24
163 | Gadag PS (Trans Scheme for Solar Energy Zone in Gadag (1000 MW) Karnataka Part-A Phase-I) | 400/220 | RENEW | 1000 |  | SEP-24
164 | Xeldem New SS (GTTPL - TBCB) | 400/220 | STERLITE | 1000 |  | OCT-24
165 | Vapi -II (Western Region Strengthening Scheme-XIX (WRSS-XIX and NERSS - IX) | 400/220 | STERLITE | 1000 |  | SEP-24
| TOTAL PRIVATE SECTOR |  |  | 3500
| TOTAL 400 kV |  |  | 3500
220 kV
PRIVATE SECTOR
166 | Nangalbibra 220/132 kV (2x160MVA) | 220/132 | STERLITE | 320 |  | OCT-24
| TOTAL PRIVATE SECTOR |  |  | 320
| TOTAL 220 kV |  |  | 320
| GRAND TOTAL |  |  | 46325