## State_trans_utility_wise_prt1
CENTRAL ELECTRICITY AUTHORITY POWER SYSTEM WING Power System Project Monitoring Division
Sub-Stations Completed During FY - 2024-25
As on 31-Jul-24
Sl No | Name of Sub Stations | Voltage Ratio (kV/kV) | Executing Agency | Capacity (MW/MVA) |  | Month of Completion
1. | 2. | 3. | 4. | 5. |  | 6.
765 kV
CENTRAL SECTOR
1 | 1X1500 MVA 765/400 KV (5th) ICT at Fatehgarh-II PS (Rajasthan (8.1 GW) under Phase II- Part- A1) | 765/400 | PGCIL | 1500 |  | JUL-24
2 | 1x1500MVA ICT at Padghe (GIS) Trans. Network Expansion in Gujarat to increase ATC from ISTS Part B | 765/400 | PGCIL | 1500 |  | JUN-24
| TOTAL CENTRAL SECTOR |  |  | 3000
| TOTAL 765 kV |  |  | 3000
400 kV
CENTRAL SECTOR
3 | 1X500 MVA, 400/220 kV ICT-2 at Bikaner-II PS (Phase-IV (Part 1) Bikaner Complex- PART E) | 400/220 | PGCIL | 500 |  | JUL-24
4 | 1X500MVA ICT(4TH) at ARASUR s/s (Aug. of T/F Capacity by 500 MVA ICT(4th) at Arasur) | 400/230 | PGCIL | 500 |  | JUN-24
5 | Shifting of ICT from Ludiana to Bhinmal(PG) SS (Aug. of T/F capacity at Bhinmal (PG) SS by ICT 3rd) | 400/220 | PGCIL | 315 |  | JUN-24
6 | 1X500 MVA 400/220 kV ICT-1 at Bikaner-II PS (Phase-IV (Part 1) Bikaner Complex- PART E | 400/220 | PGCIL | 500 |  | MAY-24
| TOTAL CENTRAL SECTOR |  |  | 1815
STATE SECTOR
7 | Vellalaviduthi (T/F-I) (400/110 (2X200 MVA) | 400/110 | TANTRANSCO | 200 |  | APR-24
8 | Kayathar 400/230-110 KV SS | 400/110 | TANTRANSCO | 200 |  | JUL-24
9 | Alamathy 400/230-110 kV SS (enhancement of capacity at from 2x200 MVA to 3x200 MVA | 400/110 | TANTRANSCO | 200 |  | JUN-24
10 | Thiruvalam 400/230 KV SS- Capacity enhancement from 2x315 to 2x315 + 1x500 MVA | 400/230 | TANTRANSCO | 500 |  | MAY-24
11 | Sriperumbudhur 400/230-110 kV SS- capacity enhancement from 3x315 MVA to 3x315MVA+ 1x500MVA | 400/230 | TANTRANSCO | 500 |  | MAY-24
12 | Kamalapuram Substation (3rd ICT) | 400/220 | TSTRANSCO | 315 |  | APR-24
13 | 400 kV S/s Unnao Capacity Aug. (500-315) | 400/220 | UPPTCL | 185 |  | APR-24
14 | 400 kV S/s Motiram Adda Gorakhpur Capacity Aug. (500-240) T/F-II | 400/220 | UPPTCL | 260 |  | JUN-24
15 | 400 kV S/s Machhalishahar Jaunpur (New) T/F-III | 400/220 | UPPTCL | 315 |  | MAY-24
| TOTAL STATE SECTOR |  |  | 2675
| TOTAL 400 kV |  |  | 4490
230 kV
STATE SECTOR
16 | Selvapuram 230/110 kV SS (T/F-I) | 230/110 | TANTRANSCO | 100 |  | JUL-24
17 | Siruseri 230 KV SS (enhancement of capacity from 2x100MVA to 3x100MVA) | 230/110 | TANTRANSCO | 100 |  | JUN-24
18 | Karuppur (T/F- II) | 230/110 | TANTRANSCO | 100 |  | JUN-24
| TOTAL STATE SECTOR |  |  | 300
| TOTAL 230 kV |  |  | 300
220 kV
STATE SECTOR
19 | 220/132 kV SS Madanapalli in Chittoor Dist. (3X100-2X100) | 220/132 | APTRANSCO | 100 |  | APR-24
20 | 220 kV SS AP Carbides in Kurnool District (3x160+1x100 - 2x160 +1x100) | 220/132 | APTRANSCO | 160 |  | JUL-24
21 | Krishnagiri S/s (T/F-II) | 220/33 | APTRANSCO | 50 |  | JUN-24
22 | 220kV SS Kuppam in Chittoor District (3x100-2x100) | 220/132 | APTRANSCO | 100 |  | JUN-24
23 | Penukonda (Gorantla) (GEC-I) | 220/132 | APTRANSCO | 160 |  | MAY-24
24 | 220KV SS Pallantla in West Godavari Dist. (2 x100-1x100) | 220/132 | APTRANSCO | 100 |  | MAY-24
25 | Jakkanpur (GIS) s/s (160 MVA T/F-II) | 220/132 | BSPTCL | 160 |  | APR-24
26 | Jakkanpur (GIS) s/s (160 MVA T/F-III) | 220/132 | BSPTCL | 160 |  | MAY-24
27 | Patan (Upgradation of existing 132/33 KV S/s by 220/132 KV S/s ) | 220/132 | CSPTCL | 320 |  | JUN-24
28 | GIS Timarpur (100 MVA T/F) | 220/33 | DTL | 100 |  | APR-24
29 | 220kV GIS Substation at Timarpur (100 MVA T/F-II) | 220/33 | DTL | 100 |  | JUL-24
30 | 220 kV Talangpor | 220/66 | GETCO | 60 |  | JUL-24
31 | 220/132/33 kV AIS at Andheri (Kala Amb) District Sirmaur H.P. | 220/132 | HPPTCL | 200 |  | MAY-24
32 | 220kV I.A. Hisar (160-100) | 220/132 | HVPNL | 60 |  | APR-24
33 | 220KV Chormar (100 MVA T/F) | 220/132 | HVPNL | 100 |  | APR-24
34 | HSIIDC Rai Sonepat (220/33 kV 100 MVA T/F-II)(charged on 02-05-2024 however late reported by HVPNL) | 220/33 | HVPNL | 100 |  | JUL-24
35 | Sonta ss (160-100 MVA) | 220/66 | HVPNL | 60 |  | MAY-24
36 | HSIIDC Rai Sonepat 220/132 kV T/F-II | 220/132 | HVPNL | 160 |  | MAY-24
37 | HSIIDC Rai Sonepat 220/33 kV T/F-I | 220/33 | HVPNL | 100 |  | MAY-24
38 | Construction of Begamganj SS (TBCB) (charged on 24-04-2024 however late reported by MPPTCL) | 220/132 | MPPTCL | 320 |  | JUL-24
39 | 220/132/33kV Ajaygarh S/s (TBCB) | 220/132 | MPPTCL | 320 |  | JUN-24
40 | Bairagarh (Bhopal) 220 KV S/s Addl. 1x160MVA X-mer | 220/132 | MPPTCL | 160 |  | MAY-24
41 | 220kV Walchandnagar substation (replacement of 100 MVA by 200 MVA T/F) | 220/132 | MSETCL | 100 |  | JUL-24
42 | 220/33kV New Timber Market GIS (Panvel -II )(50 MVA T/F) | 220/33 | MSETCL | 50 |  | JUN-24
43 | 220kV Chalisgaon Substation(1x200 MVA Additional T/F) | 220/132 | MSETCL | 200 |  | MAY-24
44 | 220kV Jambhul (Additional T/F) | 220/22 | MSETCL | 50 |  | MAY-24
45 | 220/132/33kV Kuarnmunda GSS (2nd 160 MVA Auto transformer) | 220/132 | OPTCL | 160 |  | JUL-24
46 | 220/132/33KV Turmunga GSS (1st 160 MVA Auto Transformer) | 220/132 | OPTCL | 160 |  | JUL-24
47 | 220/33 KV GSS Balichandrapur Palei | 220/33 | OPTCL | 20 |  | MAY-24
48 | 220 kV S/S Botianwala (Addl. 100 MVA 220/66 kV PT/f) | 220/66 | PSTCL | 100 |  | APR-24
49 | 220 kV S/S Bhari (Addl. 100 MVA 220/66 kV PT/f) | 220/66 | PSTCL | 100 |  | APR-24
50 | 220 kV S/S Gurdaspur (1x100 MVA) (Upgraded from 132 KV to 220 KV) | 220/66 | PSTCL | 100 |  | JUL-24
51 | Aug. of 100 MVA T/F to 160 MVA T/F at 220 kV SS Mandi Gobindgarh G-3 | 220/66 | PSTCL | 60 |  | JUL-24
52 | Aug 100 to 160 MVA at 220 KV S/S Kartarpur | 220/66 | PSTCL | 60 |  | JUN-24
53 | Aug. of 100MVA 220/66kV T/F to 160MVA 220/66kV T/F at 220kV S/Stn Bajakhana | 220/66 | PSTCL | 60 |  | MAY-24
54 | Addl 100 MVA 220/66 KV T/F at 220 KV S/S Naraingarh (N-1) | 220/66 | PSTCL | 100 |  | MAY-24
55 | Addl 100 MVA 220/66 KV T/F at 220 KV S/S Badhshahpur | 220/66 | PSTCL | 100 |  | MAY-24
56 | 220 kV S/S Banur (Aug. of 1x100 MVA T/F with 1x160 MVA T/F) | 220/66 | PSTCL | 60 |  | MAY-24
57 | 220 kV GSS Khinvsar (replacement of 100 MVA T/F with 160 MVA T/F) | 220/132 | RVPNL | 60 |  | JUL-24
58 | 220kV GSS Bap (Additional T/F) | 220/132 | RVPNL | 160 |  | MAY-24
59 | 220 kV S/s Khurja (Capacity Augmentation 160 MVA T/F-III) | 220/132 | UPPTCL | 160 |  | APR-24
60 | 220 kV S/s Kanpur South (Capacity | 220/33 | UPPTCL | 60 |  | APR-24
Augmentation 60 MVA T/F-III)
61 | 220 kV S/s Sirathu (Capacity Aug. 160 MVA T/F-III) | 220/132 | UPPTCL | 160 |  | APR-24
62 | 220 kV S/s Sangipur (New) 160 MVA T/F-II | 220/132 | UPPTCL | 160 |  | APR-24
63 | 220 kV S/s Metro Depot Gr. Noida GB Nagar (New) T/F-I and T/F-II | 220/132 | UPPTCL | 320 |  | JUL-24
64 | 220 kV S/s Kanduni Sitapur (New) T/F-II | 220/132 | UPPTCL | 200 |  | JUL-24
65 | 220 kV S/s Darshan Nagar Ayodhya (New) T/F-I | 220/132 | UPPTCL | 160 |  | JUL-24
66 | 220 kV S/s Knowledge Park-5 Gr. Noida GB Nagar (New) T/F-II | 220/132 | UPPTCL | 160 |  | JUN-24
67 | 220 kV S/s Bhadaura Ghazipur (New) T/F-II | 220/132 | UPPTCL | 100 |  | MAY-24
68 | 220 kV S/s Khorabar Gorakhpur (New) T/F-II | 220/33 | UPPTCL | 60 |  | MAY-24
69 | 220 kV S/s Hata Kushinagar (Capacity Augmentation) (160-100) | 220/132 | UPPTCL | 60 |  | MAY-24
70 | 220 kV S/s Jahangirabad Bulandshahr (Capacity Augmentation) T/F-III | 220/132 | UPPTCL | 160 |  | MAY-24
71 | 220 kV S/s Maharajganj (New) T/F-II | 220/132 | UPPTCL | 160 |  | MAY-24
72 | 220 kV S/s Mainpuri (Capacity Augmentation) T/F-III (160-100) | 220/132 | UPPTCL | 60 |  | MAY-24
| TOTAL STATE SECTOR |  |  | 6830
| TOTAL 220 kV |  |  | 6830
| GRAND TOTAL |  |  | 14620