## ss_competed_monthly
CENTRAL ELECTRICITY AUTHORITY POWER SYSTEM WING Power System Project Monitoring Division
Sub-Stations (220 kV and above) Commissioned/Ready for commissioning During -FEB 2025
As on 28-Feb-25
Sl No | Name of Sub Stations | Voltage Ratio (kV/kV) | Executing Agency | Capacity (MW/MVA)
1. | 2. | 3. | 4. | 5.
CENTRAL SECTOR
1 | 1x1500 MVA 765/400 kV ICT (3rd) at Pune (PG) GIS under Western Region Expansion Scheme-XXXI Part C | 765/400 | PGCIL | 1500
2 | 1x500 MVA 400/220 kV ICT (6th) at Fatehgarh-II PS (PG) to cater the N-1 Contigenecy | 400/220 | PGCIL | 500
3 | 1X500 MVA 400/220 kV ICT-7th at Bikaner-II PS REZ (Phase-IV (Part 1) Bikaner Complex- PART E) | 400/220 | PGCIL | 500
| Total of CENTRAL SECTOR |  |  | 2500
STATE SECTOR
4 | 400 kV GIS Thallayapalem in Guntur Dist (T/F-I) | 400/220 | APTRANSCO | 500
5 | KTPP Bhupalapally SS (2x500 MVA) | 400/220 | TSTRANSCO | 1000
6 | Kavanoor 230 kV SS (100-50 MVA) | 230/110 | TANTRANSCO | 50
7 | Oragadam 230 kV SS (160-100 MVA) | 230/110 | TANTRANSCO | 60
8 | Somayajulapalli SS in kurnool Dist | 220/132 | APTRANSCO | 100
9 | Betamcherla SS in Kurnool District (T/F-II) (GEC-I) | 220/132 | APTRANSCO | 160
10 | Rajim SS (T/F-I) | 220/132 | CSPTCL | 160
11 | Tivim SS | 220/33 | ED-GOA | 63
12 | 220 kV Babarzar | 220/66 | GETCO | 320
13 | 220 kV Kim (Aug. from 560 to 620 MVA) | 220/66 | GETCO | 60
14 | 220 kV A-5 Faridabad | 220/66 | HVPNL | 60
15 | Santhpur SS (2X100 MVA T/F at Kappakera village, Santapur Hobli, in Bidar Dist.) (GEC-II) | 220/110 | KPTCL | 200
16 | 220 kV Palghar SS (ICT-II) | 220/132 | MSETCL | 100
17 | 220 kV Mohali-2 SS (Aug of 100 MVA to 160 MVA ) | 220/66 | PSTCL | 60
18 | 220 kV Ghulal SS (Aug. 100 MVA to 160 MVA) | 220/66 | PSTCL | 60
19 | 220 kV GSS Sayla | 220/132 | RVPNL | 160
20 | Narsapur SS (late reported, charged in October-2024) | 220/132 | TSTRANSCO | 160
21 | 220 kV Nirmal SS (160-100 MVA) | 220/132 | TSTRANSCO | 60
22 | 220 kV Jurala SS (160-100 MVA) | 220/132 | TSTRANSCO | 60
23 | Hial SS (50-20 MVA)(Late reported, charged in July 2024) | 220/33 | TSTRANSCO | 30
24 | 220 kV Kursi Road SS, Lucknow (160-100 MVA) | 220/132 | UPPTCL | 60
| Total of STATE SECTOR |  |  | 3483
| Grand Total |  |  | 5983