## State_trans_utility_wise_prt1
CENTRAL ELECTRICITY AUTHORITY POWER SYSTEM WING Power System Project Monitoring Division
Sub-Stations Completed During FY - 2024-25
As on 28-Feb-25
Sl No | Name of Sub Stations | Voltage Ratio (kV/kV) | Executing Agency | Capacity (MW/MVA) |  | Month of Completion
1. | 2. | 3. | 4. | 5. |  | 6.
765 kV
CENTRAL SECTOR
1 | 1x1500 MVA 765/400 kV ICT (3rd) at Pune (PG) GIS under Western Region Expansion Scheme-XXXI Part C | 765/400 | PGCIL | 1500 |  | FEB-25
2 | 1X1500 MVA 765/400 KV (5th) ICT at Fatehgarh-II PS (Rajasthan (8.1 GW) under Phase II- Part- A1) | 765/400 | PGCIL | 1500 |  | JUL-24
3 | 1x1500MVA ICT at Padghe (GIS) Trans. Network Expansion in Gujarat to increase ATC from ISTS Part B | 765/400 | PGCIL | 1500 |  | JUN-24
4 | Banaskantha SS (Transmission network expansion in Gujarat to increase its ATC from ISTS Part C) | 765/400 | PGCIL | 1500 |  | NOV-24
5 | 1x1500 MVA 765/400kV ICT-1 at Sikar-II s/s (Rajasthan (8.1 GW) under phase-II- Part C) | 765/400 | PGCIL | 1500 |  | OCT-24
6 | 1x1500 MVA 765/400kV ICT-2 at Sikar-II s/s (Rajasthan (8.1 GW) under phase-II- Part C) | 765/400 | PGCIL | 1500 |  | OCT-24
7 | 1X1500MVA 765/400 KV ICT-3rd at Raigarh Kotra Section-A) | 765/400 | PGCIL | 1500 |  | OCT-24
8 | 1X1500 MVA 765/400 kV ICT (4th) at 765/400 kV Bhadla-II PS under (Phase -II Part -BI) | 765/400 | PGCIL | 1500 |  | SEP-24
| TOTAL CENTRAL SECTOR |  |  | 12000
| TOTAL 765 kV |  |  | 12000
400 kV
CENTRAL SECTOR
9 | 220KV GIS Infrastructure at MTPS | 400/220 | DVC | 315 |  | AUG-24
10 | 220 kV GIS Infrastructure at RTPS | 400/220 | DVC | 630 |  | NOV-24
11 | 1X500 MVA 400/220 kV (2nd) ICT at Shikrapur (PG) GIS under Western Region Expansion Scheme-XXVI | 400/220 | PGCIL | 500 |  | AUG-24
12 | 1x500 MVA 400/220 kV ICT 3rd at Bikaner PS to Cater N-1 Contigency at Bikaner PS (Rajasthan) | 400/220 | PGCIL | 500 |  | AUG-24
13 | 1X500 MVA, ICT-1 at Dharamjaigarh S/s (WRES XXIX {Project name: WRES-XXVIII & WRES-XXIX) | 400/220 | PGCIL | 500 |  | DEC-24
14 | 1X500 MVA, (3rd) ICT at Raipur Pool S/s (WRES XXVIII {Project name: WRES-XXVIII & WRES-XXIX) | 400/220 | PGCIL | 500 |  | DEC-24
15 | 1X500 MVA 400/220kV ICT-6th at Bikaner-II PS (Phase-IV (Part 1) Bikaner Complex- PART E) | 400/220 | PGCIL | 500 |  | DEC-24
16 | 1X500 MVA 400/220 kV ICT-7th at Bikaner-II PS REZ (Phase-IV (Part 1) Bikaner Complex- PART E) | 400/220 | PGCIL | 500 |  | FEB-25
17 | 1x500 MVA 400/220 kV ICT (6th) at Fatehgarh-II PS (PG) to cater the N-1 Contigenecy | 400/220 | PGCIL | 500 |  | FEB-25
18 | 1X500 MVA, 400/220 kV ICT-2 at Dharamjaigarh S/s under WRES XXIX | 400/220 | PGCIL | 500 |  | JAN-25
19 | 1X500 MVA, 400/220 kV ICT-4th at Bikaner-II PS (Phase-IV (Part 1) Bikaner Complex- PART E) | 400/220 | PGCIL | 500 |  | JUL-24
20 | Shifting of ICT from Ludiana to Bhinmal(PG) SS (Aug. of T/F capacity at Bhinmal (PG) SS by ICT 3rd) | 400/220 | PGCIL | 315 |  | JUN-24
21 | 1X500MVA ICT(4TH) at ARASUR s/s (Aug. of T/F Capacity by 500 MVA ICT(4th) at Arasur) | 400/230 | PGCIL | 500 |  | JUN-24
22 | 1X500 MVA 400/220 kV ICT-3rd at Bikaner-II PS (Phase-IV (Part 1) Bikaner Complex- PART E | 400/220 | PGCIL | 500 |  | MAY-24
23 | 1X500 MVA 400/220 kV ICT-5th at Bikaner II PS (Phase-IV (Part 1) Bikaner Complex- PART E) | 400/220 | PGCIL | 500 |  | NOV-24
24 | 1X500MVA ICT-2 at Banka S/S along with Extn. of 400KV AIS Switch. and creation of 220KV GIS at Banka | 400/220 | PGCIL | 500 |  | OCT-24
25 | 1X500MVA ICT-1 at Banka S/S along with Extn. of 400KV AIS Switch. and creation of 220KV GIS at Banka | 400/220 | PGCIL | 500 |  | OCT-24
26 | 1X500 MVA, 400/220 kV (4th) ICT at Mysore under Aug. of transformation capacity at Mysore | 400/220 | PGCIL | 500 |  | SEP-24
27 | 1X500 MVA, 400/220 kV (1st) ICT at Raipur Pool S/s ( WRES XXVIII (Project: WRES-XXVIII & WRES-XXIX) | 400/220 | PGCIL | 500 |  | SEP-24
28 | 1X500 MVA, 400/220 kV (1st) ICT at Shikrapur (PG) GIS under Western Region Expansion Scheme-XXVI | 400/220 | PGCIL | 500 |  | SEP-24
29 | 1X500 MVA, 400/220 kV (2nd) ICT at Raipur Pool S/s (WRES XXVIII (Project: WRES-XXVIII & WRES-XXIX) | 400/220 | PGCIL | 500 |  | SEP-24
30 | 1x500 MVA ICT (3rd ) at 400/220 kV Bahadurgarh (PG) S/s under Aug. of ISTS of HVPNL TS | 400/220 | PGCIL | 500 |  | SEP-24
31 | Aug. by 1x500 MVA 400/220 kV ICT (3rd )at 400/220 kV Jind (PG) S/s under Aug. of ISTS for HVPNL TS | 400/220 | PGCIL | 500 |  | SEP-24
| TOTAL CENTRAL SECTOR |  |  | 11260
| TOTAL 400 kV |  |  | 11260
220 kV
CENTRAL SECTOR
32 | 1X200 MVA 220/132 kV (4th) ICT at Ara POWERGRID S/S under ER Expansion Scheme-XXXVI (ERES-XXXVI) | 220/132 | PGCIL | 200 |  | AUG-24
| TOTAL CENTRAL SECTOR |  |  | 200
| TOTAL 220 kV |  |  | 200
765 kV
STATE SECTOR
33 | Ariyalur (1500 MVA ICT-II) | 765/400 | TANTRANSCO | 1500 |  | DEC-24
| TOTAL STATE SECTOR |  |  | 1500
| TOTAL 765 kV |  |  | 1500
400 kV
STATE SECTOR
34 | Jammalamadugu SS in Kadapa Dist | 400/220 | APTRANSCO | 500 |  | DEC-24
35 | 400 kV GIS Thallayapalem in Guntur Dist (T/F-I) | 400/220 | APTRANSCO | 500 |  | FEB-25
36 | Latehar SS (2X315 MVA T/F) | 400/220 | JUSNL | 630 |  | DEC-24
37 | Bhopal 400 kV SS (replacement of 315 MVA by 500 MVA T/F) | 400/220 | MPPTCL | 185 |  | NOV-24
38 | 400 kV Khadka S/s (3x105 MVA ICT) | 400/220/33 | MSETCL | 315 |  | DEC-24
39 | 400 kV S/S Ropar (1x500 MVA ) 2nd T/F | 400/220 | PSTCL | 500 |  | AUG-24
40 | 400 kV S/S Ropar (1x500 MVA ) 1st T/F | 400/220 | PSTCL | 500 |  | AUG-24
41 | 400 kV S/S Nakodar | 400/220 | PSTCL | 500 |  | NOV-24
42 | 400 kV GSS Pachpadra | 400/220 | RVPNL | 500 |  | DEC-24
43 | 400 kV GSS Hindaun (Augmentation) | 400/220 | RVPNL | 500 |  | JAN-25
44 | Vellalaviduthi (T/F-I) (400/110 (2X200 MVA) | 400/110 | TANTRANSCO | 200 |  | APR-24
45 | Kayathar 400/230-110 KV SS | 400/110 | TANTRANSCO | 200 |  | JUL-24
46 | Alamathy 400/230-110 kV SS (enhancement of capacity at from 2x200 MVA to 3x200 MVA | 400/110 | TANTRANSCO | 200 |  | JUN-24
47 | Sriperumbudhur 400/230-110 kV SS- capacity enhancement from 3x315 MVA to 3x315MVA+ 1x500MVA | 400/230 | TANTRANSCO | 500 |  | MAY-24
48 | Thiruvalam 400/230 KV SS- Capacity enhancement from 2x315 to 2x315 + 1x500 MVA | 400/230 | TANTRANSCO | 500 |  | MAY-24
49 | Vellalaviduthi (400/110 kV T/F-II) | 400/110 | TANTRANSCO | 200 |  | NOV-24
50 | Sriperumbudur 400/230 kV SS (enhancement from 3x315+1x500 MVA to 2x315+2x500 MVA) | 400/230 | TANTRANSCO | 185 |  | NOV-24
51 | Kamalapuram Substation (3rd ICT) | 400/220 | TSTRANSCO | 315 |  | APR-24
52 | KTPP Bhupalapally SS (2x500 MVA) | 400/220 | TSTRANSCO | 1000 |  | FEB-25
53 | Asupaka LI Substation T/F-II (late reported, commissioned in Oct-2024) | 400/220 | TSTRANSCO | 315 |  | JAN-25
54 | 400 kV S/s Dahi Chaoki Unnao (Capacity Aug.) (500-315) | 400/220 | UPPTCL | 185 |  | APR-24
55 | 400 kV S/s Sahupuri, Chandauli T/F-I | 400/220 | UPPTCL | 500 |  | JAN-25
56 | 400 kV S/s Sector-123 Noida, GB Nagar (T/F-III) | 400/220 | UPPTCL | 200 |  | JAN-25
57 | 400 kV S/s Motiram Adda Gorakhpur Capacity Aug. (500-240) T/F-II | 400/220 | UPPTCL | 260 |  | JUN-24
58 | 400 kV S/s Machhalishahar Jaunpur (New) T/F-III | 400/220 | UPPTCL | 315 |  | MAY-24
59 | New Chanditala (4th ICT) | 400/220 | WBSETCL | 315 |  | OCT-24
| TOTAL STATE SECTOR |  |  | 10020
| TOTAL 400 kV |  |  | 10020
230 kV
STATE SECTOR
60 | Karaikudi 230/110 kV SS (50 MVA to 100MVA enhancement) | 230/110 | TANTRANSCO | 50 |  | AUG-24
61 | Oragadam 230 kV SS (160-100 MVA) | 230/110 | TANTRANSCO | 60 |  | FEB-25
62 | Kavanoor 230 kV SS (100-50 MVA) | 230/110 | TANTRANSCO | 50 |  | FEB-25
63 | Selvapuram T/F-II | 230/110 | TANTRANSCO | 100 |  | JAN-25
64 | Tiruppur 230/110 kV SS (Enhancement from 100 MVA to 160 MVA) | 230/110 | TANTRANSCO | 60 |  | JAN-25
65 | Kumbakonam SS (Additional 100 MVA) | 230/110 | TANTRANSCO | 100 |  | JAN-25
66 | Kadapperi 230/110 kV SS (Enhancement from 100 MVA to 160 MVA) | 230/110 | TANTRANSCO | 60 |  | JAN-25
67 | Selvapuram 230/110 kV SS (T/F-I) | 230/110 | TANTRANSCO | 100 |  | JUL-24
68 | Siruseri 230 KV SS (enhancement of capacity from 2x100MVA to 3x100MVA) | 230/110 | TANTRANSCO | 100 |  | JUN-24
69 | Karuppur (T/F- II) | 230/110 | TANTRANSCO | 100 |  | JUN-24
70 | Mondipatty SS (replacement of 80 MVA T/F with 100 MVA) | 230/110 | TANTRANSCO | 20 |  | NOV-24
| TOTAL STATE SECTOR |  |  | 800
| TOTAL 230 kV |  |  | 800
220 kV
STATE SECTOR
71 | 220/132 kV SS Madanapalli in Chittoor Dist. (3X100-2X100) | 220/132 | APTRANSCO | 100 |  | APR-24
72 | Punganur SS in Chittoor Dist. (T/F-I) | 220/132 | APTRANSCO | 100 |  | DEC-24
73 | Betamcherla SS in Kurnool District (T/F-II) (GEC-I) | 220/132 | APTRANSCO | 160 |  | FEB-25
74 | Somayajulapalli SS in kurnool Dist | 220/132 | APTRANSCO | 100 |  | FEB-25
75 | 220 kV SS AP Carbides in Kurnool District (3x160+1x100 - 2x160 +1x100) | 220/132 | APTRANSCO | 160 |  | JUL-24
76 | Krishnagiri S/s (T/F-II) | 220/33 | APTRANSCO | 50 |  | JUN-24
77 | 220kV SS Kuppam in Chittoor District (3x100-2x100) | 220/132 | APTRANSCO | 100 |  | JUN-24
78 | Penukonda (Gorantla) (GEC-I) | 220/132 | APTRANSCO | 160 |  | MAY-24
79 | 220KV SS Pallantla in West Godavari Dist. (2 x100-1x100) | 220/132 | APTRANSCO | 100 |  | MAY-24
80 | Bethamcherla in Kurnool District (GEC-I) | 220/132 | APTRANSCO | 160 |  | NOV-24
81 | 220 kV SS Nansuralla in Kurnool District (Additional 50 MVA T/F) | 220/33 | APTRANSCO | 50 |  | NOV-24
82 | Bhimadole Aug. (100 to 160MVA) | 220/132 | APTRANSCO | 60 |  | OCT-24
83 | Jakkanpur (GIS) s/s (160 MVA T/F-II) | 220/132 | BSPTCL | 160 |  | APR-24
84 | Jakkanpur (GIS) s/s (160 MVA T/F-III) | 220/132 | BSPTCL | 160 |  | MAY-24
85 | Rajim SS (T/F-I) | 220/132 | CSPTCL | 160 |  | FEB-25
86 | Patan (Upgradation of existing 132/33 KV S/s by 220/132 KV S/s ) | 220/132 | CSPTCL | 320 |  | JUN-24
87 | Parchanpal (Jagdalpur) SS (late reported, commissioned in October-2024) | 220/132 | CSPTCL | 160 |  | NOV-24
88 | GIS Timarpur (100 MVA T/F) | 220/33 | DTL | 100 |  | APR-24
89 | 220kV GIS Substation at Timarpur (100 MVA T/F-II) | 220/33 | DTL | 100 |  | JUL-24
90 | Tivim SS | 220/33 | ED-GOA | 63 |  | FEB-25
91 | 220 kV Besan | 220/66 | GETCO | 320 |  | AUG-24
92 | 220 kV Jamla (Aug. from 410 MVA to 520 MVA) | 220/66 | GETCO | 110 |  | DEC-24
93 | 220 kV Chandrapura (Aug. from 360 to 470 MVA) | 220/66 | GETCO | 110 |  | DEC-24
94 | Mera (Mithi Paldi) (T/F-II) (late reported commissioned in Nov-2024) | 220/66 | GETCO | 160 |  | DEC-24
95 | 220 kV Babarzar | 220/66 | GETCO | 320 |  | FEB-25
96 | 220 kV Kim (Aug. from 560 to 620 MVA) | 220/66 | GETCO | 60 |  | FEB-25
97 | 220 kV Ichhapore (Augmentation from 410 MVA to 520 MVA) | 220/66 | GETCO | 110 |  | JAN-25
98 | 400 kV Vav (Augmentation from 660 MVA to 720 MVA) | 220/66 | GETCO | 60 |  | JAN-25
99 | 220 kV Anjar (Augmentation from 300 MVA to 360 MVA) | 220/66 | GETCO | 60 |  | JAN-25
100 | 220 kV Talangpor | 220/66 | GETCO | 60 |  | JUL-24
101 | 220 kV Suva (late reported, commissioned in October-2024) | 220/66 | GETCO | 160 |  | NOV-24
102 | 220 kV Jambuva (Augmentation from 260 MVA to 420MVA) | 220/66 | GETCO | 160 |  | NOV-24
103 | 220/66 kV Heiling Sub-Station | 220/66 | HPPTCL | 100 |  | DEC-24
104 | 220/132/33 kV AIS at Andheri (Kala Amb) District Sirmaur H.P. | 220/132 | HPPTCL | 200 |  | MAY-24
105 | 220KV Chormar (100 MVA T/F) | 220/132 | HVPNL | 100 |  | APR-24
106 | 220kV I.A. Hisar (160-100) | 220/132 | HVPNL | 60 |  | APR-24
107 | 220kV Samain | 220/33 | HVPNL | 100 |  | AUG-24
108 | 220 kV Rohtak (augmentation from 100 to 160 MVA) | 220/132 | HVPNL | 60 |  | DEC-24
109 | GIS Sector-15 II Gurugram (T/F-I) | 220/66 | HVPNL | 160 |  | DEC-24
110 | 220 kV Fatehabad (augmentation from 100 to 160 MVA) | 220/132 | HVPNL | 60 |  | DEC-24
111 | 220 kV Rangala Rajpur (additional 100 MVA) | 220/66 | HVPNL | 100 |  | DEC-24
112 | 220 kV A-5 Faridabad | 220/66 | HVPNL | 60 |  | FEB-25
113 | 220 kV Sampla | 220/132 | HVPNL | 100 |  | JAN-25
114 | 400 kV Nawada | 220/33 | HVPNL | 100 |  | JAN-25
115 | 220 kV Mehna Khera | 220/33 | HVPNL | 100 |  | JAN-25
116 | HSIIDC Rai Sonepat (220/33 kV 100 MVA T/F-II)(charged on 02-05-2024 however late reported by HVPNL) | 220/33 | HVPNL | 100 |  | JUL-24
117 | HSIIDC Rai Sonepat 220/132 kV T/F-II | 220/132 | HVPNL | 160 |  | MAY-24
118 | HSIIDC Rai Sonepat 220/33 kV T/F-I | 220/33 | HVPNL | 100 |  | MAY-24
119 | Sonta ss (160-100 MVA) | 220/66 | HVPNL | 60 |  | MAY-24
120 | Augmentation at 220 kV Masudpur SS | 220/132 | HVPNL | 100 |  | NOV-24
121 | 220 kV GIS Transport Hub, Sector-8 IMT Manesar | 220/66 | HVPNL | 100 |  | SEP-24
122 | Lohardaga GSS | 220/132 | JUSNL | 300 |  | DEC-24
123 | Santhpur SS (2X100 MVA T/F at Kappakera village, Santapur Hobli, in Bidar Dist.) (GEC-II) | 220/110 | KPTCL | 200 |  | FEB-25
124 | Somasamudra SS (2X100 MVA T/F) | 220/110 | KPTCL | 200 |  | NOV-24
125 | Keonics (Electronic City): 2x150 MVA ICT | 220/66 | KPTCL | 300 |  | SEP-24
126 | Construction of 220/132 kV substation at Bargawan (TBCB) (late reported commissioned in Sept-2024) | 220/132 | MPPTCL | 320 |  | DEC-24
127 | Indore II (Jaitpura) 220 kV S/s (additional T/F) | 220/132 | MPPTCL | 160 |  | JAN-25
128 | Nepanagar 220 kV S/s (agumentation of 160 MVA by 200 MVA X-mer) | 220/132 | MPPTCL | 40 |  | JAN-25
129 | Pithampur (sector III) 220 kV S/s (agumentation of 160 MVA by 200 MVA X-mer) | 220/132 | MPPTCL | 40 |  | JAN-25
130 | Construction of Begamganj SS (TBCB) (charged on 24-04-2024 however late reported by MPPTCL) | 220/132 | MPPTCL | 320 |  | JUL-24
131 | 220/132/33kV Ajaygarh S/s (TBCB) | 220/132 | MPPTCL | 320 |  | JUN-24
132 | Bairagarh (Bhopal) 220 KV S/s Addl. 1x160MVA X-mer | 220/132 | MPPTCL | 160 |  | MAY-24
133 | Nagda 220 kV SS (replacement of 160 MVA by 200 MVA T/F) | 220/132 | MPPTCL | 40 |  | NOV-24
134 | 220 kV Tembhurni substation (replacement of 25 MVA by 100 MVA T/F) | 220/33 | MSETCL | 25 |  | AUG-24
135 | 220 kV Nalasopara substation (additional 100 MVA T/F) | 220/22 | MSETCL | 100 |  | AUG-24
136 | 220 kV Bhigwan S/s (replacement of 25 MVA by 50 MVA T/F) | 220/33 | MSETCL | 25 |  | DEC-24
137 | 220 kV Vairag S/s (replacement of 2X25 MVA by 2X50 MVA T/F) | 220/33 | MSETCL | 50 |  | DEC-24
138 | 220 kV Palghar SS (ICT-II) | 220/132 | MSETCL | 100 |  | FEB-25
139 | 220 kV Jalna substation (Replacement of 50 MVA T/F with 100 MVA T/F) | 220/132 | MSETCL | 50 |  | JAN-25
140 | 220kV Walchandnagar substation (replacement of 100 MVA by 200 MVA T/F) | 220/132 | MSETCL | 100 |  | JUL-24
141 | 220/33kV New Timber Market GIS (Panvel -II )(50 MVA T/F) | 220/33 | MSETCL | 50 |  | JUN-24
142 | 220kV Jambhul (Additional T/F) | 220/22 | MSETCL | 50 |  | MAY-24
143 | 220kV Chalisgaon Substation(1x200 MVA Additional T/F) | 220/132 | MSETCL | 200 |  | MAY-24
144 | 220/33 kV New Timber Market GIS (Panvel -II ) | 220/33 | MSETCL | 50 |  | NOV-24
145 | 220 kV Jeur (Replacement of 100 MVA T/F with 200 MVA T/F) | 220/132 | MSETCL | 100 |  | SEP-24
146 | 220/33 kV Shendra GIS (DMIC)(2X50 MVA T/F) | 220/33 | MSETCL | 100 |  | SEP-24
147 | Balichandarpur Palei GSS (T/F-II) | 220/33 | OPTCL | 40 |  | DEC-24
148 | 220/132/33 kV Turmunga GSS (20 MVA T/F-I)(late reported, commissioned in August-2024) | 220/33 | OPTCL | 20 |  | JAN-25
149 | 220/132/33KV Turmunga GSS (1st 160 MVA Auto Transformer) | 220/132 | OPTCL | 160 |  | JUL-24
150 | 220/132/33kV Kuarnmunda GSS (2nd 160 MVA Auto transformer) | 220/132 | OPTCL | 160 |  | JUL-24
151 | 220/33 KV GSS Balichandrapur Palei | 220/33 | OPTCL | 20 |  | MAY-24
152 | 220 kV S/S Botianwala (Addl. 100 MVA 220/66 kV PT/f) | 220/66 | PSTCL | 100 |  | APR-24
153 | 220 kV S/S Bhari (Addl. 100 MVA 220/66 kV PT/f) | 220/66 | PSTCL | 100 |  | APR-24
154 | 220 kV Gurdaspur SS (T/F-II) | 220/66 | PSTCL | 100 |  | DEC-24
155 | 220 kV Rajpura SS (Aug. of 100 MVA by 160 MVA) | 220/66 | PSTCL | 60 |  | DEC-24
156 | 220 kV Mohali-2 SS (Aug of 100 MVA to 160 MVA ) | 220/66 | PSTCL | 60 |  | FEB-25
157 | 220 kV Ghulal SS (Aug. 100 MVA to 160 MVA) | 220/66 | PSTCL | 60 |  | FEB-25
158 | Addl 100 MVA T/F at 220 kV S/S Majitha (N-1) | 220/66 | PSTCL | 100 |  | JAN-25
159 | Aug. of 100 MVA T/F to 160 MVA T/F at 220 kV SS Mandi Gobindgarh G-3 | 220/66 | PSTCL | 60 |  | JUL-24
160 | 220 kV S/S Gurdaspur (1x100 MVA) (Upgraded from 132 KV to 220 KV) | 220/66 | PSTCL | 100 |  | JUL-24
161 | Aug 100 to 160 MVA at 220 KV S/S Kartarpur | 220/66 | PSTCL | 60 |  | JUN-24
162 | 220 kV S/S Banur (Aug. of 1x100 MVA T/F with 1x160 MVA T/F) | 220/66 | PSTCL | 60 |  | MAY-24
163 | Aug. of 100MVA 220/66kV T/F to 160MVA 220/66kV T/F at 220kV S/Stn Bajakhana | 220/66 | PSTCL | 60 |  | MAY-24
164 | Addl 100 MVA 220/66 KV T/F at 220 KV S/S Badhshahpur | 220/66 | PSTCL | 100 |  | MAY-24
165 | Addl 100 MVA 220/66 KV T/F at 220 KV S/S Naraingarh (N-1) | 220/66 | PSTCL | 100 |  | MAY-24
166 | Addl. 100 MVA 220/66 kV T/F at 220 kV Badni Kalan SS | 220/66 | PSTCL | 100 |  | NOV-24
167 | 220 kV SS Sandhaur (late reported, commissioned in October-2024) | 220/66 | PSTCL | 100 |  | NOV-24
168 | 220 kV SS Civil line Amritsar (late reported, commissioned in October-2024) | 220/132 | PSTCL | 100 |  | NOV-24
169 | 220 kV Sandhwan S/s | 220/66 | PSTCL | 100 |  | SEP-24
170 | 220 kV GSS Heerapura (replacement of 100 MVA T/F with 160 MVA) | 220/132 | RVPNL | 60 |  | AUG-24
171 | 220 kV Jhunjhunu GSS (replacement of 100 MVA T/F by 160 MVA) | 220/132 | RVPNL | 60 |  | DEC-24
172 | 220 kV GSS Sayla | 220/132 | RVPNL | 160 |  | FEB-25
173 | 220 kV GSS MIA, Alwar (Augmentation) | 220/132 | RVPNL | 100 |  | JAN-25
174 | 220 kV GSS Udyog Vihar, Sriganganagar (Augmentation) | 220/132 | RVPNL | 160 |  | JAN-25
175 | 220 kV GSS Khinvsar (replacement of 100 MVA T/F with 160 MVA T/F) | 220/132 | RVPNL | 60 |  | JUL-24
176 | 220kV GSS Bap (Additional T/F) | 220/132 | RVPNL | 160 |  | MAY-24
177 | 220 kV GSS Balotra (replacement of 100 MVA T/F with 160 MVA T/F) | 220/132 | RVPNL | 60 |  | NOV-24
178 | Bharatpur (100 to 160 MVA) | 220/132 | RVPNL | 60 |  | OCT-24
179 | Sawai Madhopur (100 to 160 MVA) | 220/132 | RVPNL | 60 |  | OCT-24
180 | Banar GIS (Distt. Jodhpur) | 220/132 | RVPNL | 200 |  | OCT-24
181 | 220 kV GSS Nimbahera (replacement of existing 100 MVA T/F with 160 MVA T/F) | 220/132 | RVPNL | 60 |  | SEP-24
182 | Narsapur SS (late reported, charged in October-2024) | 220/132 | TSTRANSCO | 160 |  | FEB-25
183 | Hial SS (50-20 MVA)(Late reported, charged in July 2024) | 220/33 | TSTRANSCO | 30 |  | FEB-25
184 | 220 kV Jurala SS (160-100 MVA) | 220/132 | TSTRANSCO | 60 |  | FEB-25
185 | 220 kV Nirmal SS (160-100 MVA) | 220/132 | TSTRANSCO | 60 |  | FEB-25
186 | 220 kV S/s Khurja (Capacity Augmentation 160 MVA T/F-III) | 220/132 | UPPTCL | 160 |  | APR-24
187 | 220 kV S/s Sangipur (New) 160 MVA T/F-II | 220/132 | UPPTCL | 160 |  | APR-24
188 | 220 kV S/s Sirathu (Capacity Aug. 160 MVA T/F-III) | 220/132 | UPPTCL | 160 |  | APR-24
189 | 220 kV S/s Kanpur South (Capacity Augmentation 60 MVA T/F-III) | 220/33 | UPPTCL | 60 |  | APR-24
190 | 220 kV S/s Pahadi Chitrakoot (Capacity Augmentation) | 220/132 | UPPTCL | 160 |  | AUG-24
191 | Sirsaganj Firozabad S/s (Capacity Augmentation) | 220/132 | UPPTCL | 160 |  | DEC-24
192 | 220 kV Kursi Road SS, Lucknow (160-100 MVA) | 220/132 | UPPTCL | 60 |  | FEB-25
193 | 220 kV S/s Jewar Extn., GB Nagar T/F-I | 220/132 | UPPTCL | 160 |  | JAN-25
194 | 400 kV S/s Sector-148 Noida, GB Nagar (Capacity Augmentation) T/F-II | 220/132 | UPPTCL | 160 |  | JAN-25
195 | 220 kV S/s Sector-129 Noida, GB Nagar (Capacity Augmentation) T/F-IV | 220/132 | UPPTCL | 160 |  | JAN-25
196 | 220 kV S/s Hardoi Road, Lucknow (Capacity Augmentation) T/F-III | 220/132 | UPPTCL | 160 |  | JAN-25
197 | 220 kV S/s Kanduni Sitapur (New) T/F-II | 220/132 | UPPTCL | 200 |  | JUL-24
198 | 220 kV S/s Metro Depot Gr. Noida GB Nagar (New) T/F-I and T/F-II | 220/132 | UPPTCL | 320 |  | JUL-24
199 | 220 kV S/s Darshan Nagar Ayodhya (New) T/F-I | 220/132 | UPPTCL | 160 |  | JUL-24
200 | 220 kV S/s Knowledge Park-5 Gr. Noida GB Nagar (New) T/F-II | 220/132 | UPPTCL | 160 |  | JUN-24
201 | 220 kV S/s Bhadaura Ghazipur (New) T/F-II | 220/132 | UPPTCL | 100 |  | MAY-24
202 | 220 kV S/s Mainpuri (Capacity Augmentation) T/F-III (160-100) | 220/132 | UPPTCL | 60 |  | MAY-24
203 | 220 kV S/s Maharajganj (New) T/F-II | 220/132 | UPPTCL | 160 |  | MAY-24
204 | 220 kV S/s Hata Kushinagar (Capacity Augmentation) (160-100) | 220/132 | UPPTCL | 60 |  | MAY-24
205 | 220 kV S/s Khorabar Gorakhpur (New) T/F-II | 220/33 | UPPTCL | 60 |  | MAY-24
206 | 220 kV S/s Jahangirabad Bulandshahr (Capacity Augmentation) T/F-III | 220/132 | UPPTCL | 160 |  | MAY-24
207 | 220 kV GIS SS Badaun Road Bareilly (T/F-II) | 220/33 | UPPTCL | 60 |  | NOV-24
208 | 220 kV GIS S/s Badaun Road Bareilly (New) GIS | 220/33 | UPPTCL | 60 |  | OCT-24
209 | 220 kV S/s Debai Bulandshaher (Capacity Augmentation) | 220/132 | UPPTCL | 160 |  | SEP-24
210 | Food Park (T/F-II) 220 KV GIS | 220/132 | WBSETCL | 160 |  | AUG-24
211 | Food Park (T/F-I) 220 KV GIS | 220/132 | WBSETCL | 160 |  | AUG-24
212 | AB Zone 220 KV GIS (upgraded to 220 kV from 132 kV) | 220/132 | WBSETCL | 320 |  | NOV-24
| TOTAL STATE SECTOR |  |  | 16883
| TOTAL 220 kV |  |  | 16883
400 kV
PRIVATE SECTOR
213 | Augmentation of transformation capacity 1X500 MVA ICT (3rd ) at patran (GIS) S/s (RTM) | 400/220 | INDIGRID | 500 |  | DEC-24
214 | Aug. of transformation capacity at Kallam PS by 2x500 MVA, 400/220 kV ICTs (3rd & 4th)(ISTS_RTM) | 400/220 | INDIGRID | 1000 |  | JAN-25
215 | Gadag PS (Trans Scheme for Solar Energy Zone in Gadag (1000 MW) Karnataka Part-A Phase-I) | 400/220 | RENEW | 1000 |  | SEP-24
216 | Xeldem New SS (GTTPL - TBCB) | 400/220 | STERLITE | 1000 |  | OCT-24
217 | Vapi -II (Western Region Strengthening Scheme-XIX (WRSS-XIX and NERSS - IX) | 400/220 | STERLITE | 1000 |  | SEP-24
| TOTAL PRIVATE SECTOR |  |  | 4500
| TOTAL 400 kV |  |  | 4500
220 kV
PRIVATE SECTOR
218 | Nangalbibra 220/132 kV (2x160MVA) | 220/132 | STERLITE | 320 |  | OCT-24
| TOTAL PRIVATE SECTOR |  |  | 320
| TOTAL 220 kV |  |  | 320
| GRAND TOTAL |  |  | 57483