## State_trans_utility_wise_prt1
CENTRAL ELECTRICITY AUTHORITY POWER SYSTEM WING Power System Project Monitoring Division
Sub-Stations Completed During FY - 2025-26
As on 30-Jun-25
Sl No | Name of Sub Stations | Voltage Ratio (kV/kV) | Executing Agency | Capacity (MW/MVA) |  | Month of Completion
1. | 2. | 3. | 4. | 5. |  | 6.
765 kV
CENTRAL SECTOR
1 | 1x1500 MVA, 765/400 kV ICT-1 at KPS 2 Substation under Project: Establishment of Khavda Pooling Station-2 (KPS2) in Khavda RE Park | 765/400 | PGCIL | 1500 |  | APR-25
2 | 1x1500 MVA, 765/400 kV ICT-1 at Fathehgarh-3 (New Section) under Project Transmission system for evacuation of power from REZ in Rajasthan (20GW) under Phase-III Part E1 | 765/400 | PGCIL | 1500 |  | APR-25
3 | 2x1500 MVA, 765/400 kV ICT-1 & 2 at Navsari (New) Substation under Project: Transmission Network Expansion in Gujarat to increase its ATC from ISTS Part B | 765/400 | PGCIL | 3000 |  | APR-25
4 | 1x1500 MVA, 765/400 kV ICT-1 at KPS3 Substation under Project: Establishment of Khavda Pooling Station-3 (KPS3) in Khavda RE Park (SPV Name: POWERGRID KPS3 TRANSMISSION LIMITED) | 765/400 | PGCIL | 1500 |  | JUN-25
5 | 1x1500 MVA, 765/400 kV ICT-2 at Fathehgarh-3 (New Section) under Project: Transmission system for evacuation of power from REZ in Rajasthan (20GW) under Phase-III Part E1- Given to PRTL (POWERGRID Ramgarh Transmission Limited) | 765/400 | PGCIL | 1500 |  | JUN-25
| TOTAL CENTRAL SECTOR |  |  | 9000
| TOTAL 765 kV |  |  | 9000
220 kV
CENTRAL SECTOR
6 | 2x160 MVA, 220/132 kV ICT-1&2 at Namsai S/S under Project: System Strengthening Scheme for Eastern and North Eastern Regions (SPV Name: POWERGRID ER NER Transmission Limited) NERSS-XV | 220/132 | PGCIL | 320 |  | JUN-25
| TOTAL CENTRAL SECTOR |  |  | 320
| TOTAL 220 kV |  |  | 320
400 kV
STATE SECTOR
7 | Julwaniya 400 kV S/s (Aug.) | 400/220 | MPPTCL | 500 |  | APR-25
8 | Dhanansu (400 kV SS) (Aug.) | 400/220 | PSTCL | 500 |  | JUN-25
9 | Korattur SS (upgradation from 230 kV to 400 kV GIS) T/F-I | 400/230 | TANTRANSCO | 500 |  | APR-25
10 | Korattur SS (upgradation from 230 kV to 400 kV GIS) (2X200 MVA) | 400/110 | TANTRANSCO | 400 |  | APR-25
11 | K.R. Thoppur S/S (Aug.) | 400/230 | TANTRANSCO | 500 |  | APR-25
12 | Korattur SS (ICT-II) (upgradation from 230 kV to 400 kV GIS) | 400/230 | TANTRANSCO | 500 |  | JUN-25
13 | Sriperumbudur SS (Aug.) (500-315 MVA) | 400/230 | TANTRANSCO | 185 |  | MAY-25
14 | Upgradation of Satgachia GIS (from 220 kV SS to 400 kV) | 400/220 | WBSETCL | 1000 |  | MAY-25
| TOTAL STATE SECTOR |  |  | 4085
| TOTAL 400 kV |  |  | 4085
230 kV
STATE SECTOR
15 | Mambakkam SS (T/F-I) | 230/110 | TANTRANSCO | 100 |  | MAY-25
| TOTAL STATE SECTOR |  |  | 100
| TOTAL 230 kV |  |  | 100
220 kV
STATE SECTOR
16 | 220 kV Racherlapadu SS in Nellore District (Aug.) | 220/132 | APTRANSCO | 100 |  | APR-25
17 | Pampanurthanda SS in Ananthapur Dist (T/F-II) | 220/132 | APTRANSCO | 160 |  | JUN-25
18 | 220 kV Gorantla S/S in Ananthapur Dist | 220/132 | APTRANSCO | 160 |  | MAY-25
19 | Gopalganj SS (Aug.) | 220/132 | BSPTCL | 200 |  | APR-25
20 | Tajpur SS (2X160 MVA) | 220/132 | BSPTCL | 320 |  | JUN-25
21 | Hajipur (T/F-I) | 220/132 | BSPTCL | 200 |  | MAY-25
22 | 220 kV Talangpore (Aug.) (800-740 MVA) | 220/66 | GETCO | 60 |  | MAY-25
23 | 220 kV Radhanpur (Aug.)(420-310 MVA) | 220/66 | GETCO | 110 |  | MAY-25
24 | 220 kV GIS Transport Hub, Sector-8 IMT Manesar (T/F-II) | 220/66 | HVPNL | 100 |  | APR-25
25 | 220 kV Palla (Aug.) (160-100 MVA) | 220/66 | HVPNL | 60 |  | APR-25
26 | Rajokheri SS (Aug.) | 220/66 | HVPNL | 160 |  | JUN-25
27 | Yelburga SS (2×100 MVA) | 220/110 | KPTCL | 200 |  | APR-25
28 | Antharasanahalli (Aug.)(150-100 MVA) | 220/66 | KPTCL | 50 |  | MAY-25
29 | Basarkod-T/F-II | 220/110 | KPTCL | 100 |  | MAY-25
30 | 220 kV Konsari SS (2 x 100 MVA ICTs) (by M/s Lloyds Metal & Energy Ltd.) | 220/132 | MSETCL | 200 |  | MAY-25
31 | Nagbhid S/s (1 x 100 MVA ICT I) | 220/132 | MSETCL | 100 |  | MAY-25
32 | Pardi substation (2 x100 MVA ICTs) | 220/132 | MSETCL | 200 |  | MAY-25
33 | Nagbhid S/s (1 x 25 MVA T/F) | 220/33 | MSETCL | 25 |  | MAY-25
34 | Nayagarh (Aug.) (40-20 MVA) | 220/33 | OPTCL | 20 |  | APR-25
35 | Mendhasal GSS (Aug.) (40-20 MVA) | 220/33 | OPTCL | 20 |  | MAY-25
36 | 220 kV Mohali-1(Aug.) (160-100 MVA) | 220/66 | PSTCL | 60 |  | APR-25
37 | Patti (200 kV S/S) (Aug.) | 220/66 | PSTCL | 100 |  | APR-25
38 | 220 kV Humbran SS (Aug.) (160-100 MVA) | 220/66 | PSTCL | 60 |  | APR-25
39 | Addl 100 MVA at 220 KV S/S Ikolaha | 220/66 | PSTCL | 100 |  | JUN-25
40 | Sherpur S/S (Aug.) | 220/66 | PSTCL | 160 |  | JUN-25
41 | Sherpur SS (Upgradation from 66 kV to 220 kV) | 220/66 | PSTCL | 160 |  | JUN-25
42 | Moga (Singhawala) (220 kV SS) (Aug.) | 220/66 | PSTCL | 100 |  | MAY-25
43 | 220 kV IG Nagar SS (Aug.) (160-100 MVA) | 220/132 | RVPNL | 60 |  | APR-25
44 | 220 kV GSS Sheo (Upgradation) | 220/132 | RVPNL | 160 |  | JUN-25
45 | 220 kV GSS Gangapur City (Aug.) (160-100 MVA) | 220/132 | RVPNL | 60 |  | MAY-25
46 | 220 kV GSS Danta Ramgarh (Aug.) | 220/132 | RVPNL | 100 |  | MAY-25
47 | Wanaparthy SS (Aug.) | 220/132 | TSTRANSCO | 160 |  | APR-25
48 | Sivarampally (Aug.) (160-100 MVA) | 220/132 | TSTRANSCO | 60 |  | APR-25
49 | Chandrayanagutta SS (Aug.) | 220/132 | TSTRANSCO | 160 |  | APR-25
50 | Jurala SS (Aug.)(160-100 MVA) | 220/132 | TSTRANSCO | 60 |  | JUN-25
51 | 220 kV Hafizpur S/s, Azamgarh Aug. (200-160 MVA) | 220/132 | UPPTCL | 40 |  | APR-25
52 | 400 kV S/s Jaunpur (Machhlishshar) (T/F-II) | 220/132 | UPPTCL | 160 |  | MAY-25
53 | 220 kV S/s Bhelupur, Varanasi (Aug.) | 220/33 | UPPTCL | 60 |  | MAY-25
54 | 220 kV S/s Banda (Aug.) | 220/132 | UPPTCL | 160 |  | MAY-25
| TOTAL STATE SECTOR |  |  | 4525
| TOTAL 220 kV |  |  | 4525
765 kV
PRIVATE SECTOR
55 | 2x1500 MVA ICT (3rd & 4th) at KPS 1 (Augmentation of Khavda PS1 by 4X1500 MVA, 765/400 kV ICT) (Taken Over by Adani) | 765/400 | MEGHA | 3000 |  | APR-25
| TOTAL PRIVATE SECTOR |  |  | 3000
| TOTAL 765 kV |  |  | 3000
400 kV
PRIVATE SECTOR
56 | Sangod GSS (2X500 MVA) (Intra-state TBCB) | 400/220 | ADANI | 1000 |  | APR-25
| TOTAL PRIVATE SECTOR |  |  | 1000
| TOTAL 400 kV |  |  | 1000
220 kV
PRIVATE SECTOR
57 | Sangod GSS (Intra-state TBCB) | 220/132 | ADANI | 160 |  | APR-25
| TOTAL PRIVATE SECTOR |  |  | 160
| TOTAL 220 kV |  |  | 160
| GRAND TOTAL |  |  | 22190