## line_completed
Transmission Lines Completed During FY- 2024-25
As on 31-Aug-2024
Voltage Level (kV) | Name of Transmission Lines | Circuit Type | Executing Agency | Line Length (cKM) | Month of Completion
1. | 2. | 3. | 4. | 5. | 6.
765 kV
CENTRAL SECTOR
1 | Fatehgarh II- Bhadla II 765kV D/C Line ( 2nd) Under Transmission system strengthening scheme for evacuation of power from solar energy zones in Rajasthan (8.1 GW) under phase-II- Part B (SPV Name POW | D/C | PGCIL | 405 | AUG-24
Total of CENTRAL SECTOR |  |  |  | 405
Total of 765 kV |  |  |  | 405
400 kV
STATE SECTOR
2 | LILO of Ckt-I of 400kV Varanasi (PG (Thathra) - Biharshariff DC Line at 400kV Sahupuri | D/C | UPPTCL | 52 | APR-24
3 | LILO of Ckt.II of 400 KV DC Quad Varanasi (PG) (Thathra) -Biharsharif at 400 kV Sahupuri SS (charged on 18-05-2024 however late reported by UPPTCL) | D/C | UPPTCL | 53 | JUN-24
4 | YTPP Switchyard - 400kV Dindi SS | D/C | TSTRANSCO | 208 | JUN-24
5 | LILO of one Ckt. of 400kV Ludhiana PGCIL-Koldam at proposed 400kV s/s Ropar | D/C | PSTCL | 14 | JUL-24
6 | 400kV Shamli - Aligarh Line | D/C | UPPTCL | 482 | JUL-24
7 | LILO of Kayathar - Thennampatti 400 kV line Virudhunagar 765/400 KV SS | D/C | TANTRANSCO | 140 | AUG-24
Total of STATE SECTOR |  |  |  | 949
Total of 400 kV |  |  |  | 949
230 kV
STATE SECTOR
8 | Extension of Shoolagiri Karimangalam line (from location no. 6 of Shoolagiri Karimangalam line) to Udanapally 230 KV SS | S/C | TANTRANSCO | 2 | APR-24
9 | UG Cable from Basin Bridge to TNEB Head Quarters | S/C | TANTRANSCO | 6 | APR-24
10 | LILO of 230 kV Basin Bridge -TNEB Head Quarters feeder at Pulianthope 400 KV GIS SS (230KV UG Cable) | D/C | TANTRANSCO | 1 | JUL-24
Total of STATE SECTOR |  |  |  | 9
Total of 230 kV |  |  |  | 9
220 kV
CENTRAL SECTOR
11 | LILO of CTPS (A) - Kalyaneswari line at RTPS | D/C | DVC | 52 | JUN-24
Total of CENTRAL SECTOR |  |  |  | 52
STATE SECTOR
12 | BTPP - Karmnasa GSS line (twin moose conductor) | D/C | BSPTCL | 59 | APR-24
13 | LILO of both circuits of 220kV D/C Mota - Ambheta (Chikhli) line at proposed 220kV Mahuva | M/C | GETCO | 44 | APR-24
14 | LILO of 220kV Sarna Wadala -Granthian at Gurdaspur | D/C | PSTCL | 16 | APR-24
15 | LILO of 220 KV Balimela Jayanagar Circuit III at 220/33 KV GSS Govindpali | D/C | OPTCL | 2 | MAY-24
16 | BTPP - Dumraon (New) GSS | D/C | BSPTCL | 129 | MAY-24
17 | Kudligi (Badeladaku) line from existing 220 kV Itagi SS to the proposed Station at Kudligi | D/C | KPTCL | 65 | MAY-24
18 | LILO of 220 kV line New Duburi - Paradeep Circuit I at 220/33 KV GSS Balichandrapur Palei | D/C | OPTCL | 2 | MAY-24
19 | LILO of 220kV VTS-Tallapally-1 at 220/132 kV SS Rentachintala | D/C | APTRANSCO | 3 | MAY-24
20 | 400/220 kV GIS of POWERGRID at Airendwala to 220/132/33 kV AIS of HPPTCL at Andheri Kala Amb Distt. Sirmaur | D/C | HPPTCL | 11 | MAY-24
21 | Pusouli (New) - Dehri | D/C | BSPTCL | 125 | JUN-24
22 | LILO of both circuits of Satna-Chhatarpur 220kV line at Ajaygarh (TBCB) | D/C | MPPTCL | 14 | JUN-24
23 | Patan (Upgradation of existing 132/33 KV S/s by 220/132 KV S/s ) | D/C | CSPTCL | 45 | JUN-24
24 | LILO of 220 kV S/Stn Mansa - Sunam at 400 kV S/Stn Patran | D/C | PSTCL | 85 | JUN-24
25 | 220 kV Brandix - Atchuthapuram | D/C | APTRANSCO | 7 | JUL-24
26 | 220kV DC line from 400kV Kamavarapukota to 220kV SS Bhimadole SS | D/C | APTRANSCO | 37 | JUL-24
27 | 220 kV D/C Choraniya - Salejada line | D/C | GETCO | 136 | JUL-24
28 | Conversion of 220 kV Bidnal-Soundatti-Mahalingapura S/C line - 220 kV Bidnal - Mahalingapur D/C line | D/C | KPTCL | 125 | JUL-24
29 | LILO of 2nd circuit of 220kV Bidnal -Mahalinapur DC Line at Soundatti SS | D/C | KPTCL | 21 | JUL-24
30 | Sagar - Begamganj 220 kV line (TBCB) (charged on 24-04-2024 however late reported by MPPTCL) | D/C | MPPTCL | 125 | JUL-24
31 | 220 kV Koradi-II to Butibori-III DCMC line | D/C | MSETCL | 109 | JUL-24
32 | Connecting 220 kV PGCIL Ludhiana-Doraha SC line with 220 kV Lalton Kalan-Dhandari Kalan forming PGCIL Ludhiana- Dhandari Kalan SC line (charged in June-2024 however late reported by PSTCL) | S/C | PSTCL | 10 | JUL-24
33 | Darshan Nagar GIS to Sohawal (Tower NO. 152 of Gonda line) | S/C | UPPTCL | 1 | JUL-24
34 | LILO of KTPP- Jangalpur 220 kV D/C line at Food Park 220 kV Substation | D/C | WBSETCL | 2 | JUL-24
35 | Damaracherla -Huzurnagar line | D/C | TSTRANSCO | 77 | AUG-24
36 | LILO of 220 kv ongole-Racherlpadu line at 220 kv ss Kandukur | D/C | APTRANSCO | 7 | AUG-24
37 | Devanahalli Hardware Park (WORK-A) from 400 kV DWHP to CTT for Double LILO of 220 kV Nelamanagal -Hoody DC line (Vidyanagar 66kV line corridor) | M/C | KPTCL | 21 | AUG-24
38 | LILO on 220kV Bhigwan Kurkumb line at 400kV Karjat s/s | D/C | MSETCL | 34 | AUG-24
39 | 220 kV Modipuram-II - Shamli Line | D/C | UPPTCL | 150 | AUG-24
40 | LILO of KTPP-Howrah 220 kV D/C Line at Proposed Food Park 220/132 KV GIS S/S | M/C | WBSETCL | 2 | AUG-24
Total of STATE SECTOR |  |  |  | 1464
Total of 220 kV |  |  |  | 1516
Grand Total |  |  |  | 2879