## Transmission_Lines_Commissioned
CENTRAL ELECTRICITY AUTHORITY POWER SYSTEM WING Power System Project Monitoring Division
Transmission Lines (220 kV and above) Commissioned/Ready for commissioning During Mar-2025
As on 31-Mar-2025
Sl. No. | Voltage Level (kV) | Name of Transmission Lines | Circuit Type | Executing Agency | Line Length (cKM)
1. | 2. | 3. | 4. | 5. | 6.
CENTRAL SECTOR Sector
1 | 765 | 765 kV D/C Kurnool III (PS) - Kurnool (New) line Part-A and Part-B | D/C | PGCIL | 226
2 | 400 | 400 kV D/C Banaskantha - Sankhari Line (2nd Ckt.) under Project - Transmission Network Expansion in Gujarat to increase its ATC from ISTS Part-C | S/C | PGCIL | 44
3 | 400 | Navsari (New) (South Gujarat) (GIS)-Magarwada (GIS) 400 kV D/C Line under Project - Transmission Network Expansion in Gujarat to increase its ATC from ISTS Part-B | D/C | PGCIL | 192
4 | 400 | Raipur Pool - Dhamtari 400 kV D/C line under Project WRES-XXVII (SPV Name POWERGRID Raipur Pool Dhamtari Transmission Limited) | D/C | PGCIL | 176
Total of CENTRAL SECTOR |  |  |  |  | 638
STATE SECTOR Sector
5 | 400 | 400 kV Vemagiri-Kamavarapukota TMDC line from 400 kV Sub-Station Kamavarapukota from Loc No. AP 1/0 to Loc.No.AP 42/0 (102 Locations) (Balance portion) | D/C | APTRANSCO | 71
6 | 400 | LILO of 400kV Shamli-Aligarh Line at THDC Khurja Power Plant | D/C | UPPTCL | 23
7 | 230 | LILO of Ottiyambakkam - Omega 2 at proposed 230/110 kV Mambakkam SS (by Laying of 230 kV DC UG cable for a route length of 2.30KM) | D/C | TANTRANSCO | 5
8 | 230 | LILO of Ottiyambakkam - Omega 2 at proposed 230/110kV Mambakkam SS (by overhead 230kV D/C line on M/C tower with zebra conductor (Loc 24 to Loc.150) for a route length of 19.918 km (OH portion) | D/C | TANTRANSCO | 40
9 | 220 | 220 kV AP Carbides - Settipalli D/C Line in Kurnool Dist | D/C | APTRANSCO | 57
10 | 220 | 220 kV D/C Wagra - Bharuch TSS (NHSRCL) line | D/C | GETCO | 30
11 | 220 | LILO of both circuit of 220 kV PTPS-Jind D/C line at 220 kV Nain SS | M/C | HVPNL | 32
12 | 220 | LILO of one ckt of 220kV D/C Samaypur-Palwal at 220kV Harfali | D/C | HVPNL | 19
13 | 220 | 400/220 kV BTPS(Kudithini) to Somasamudra S/s for a distance of 20.387 Kms | D/C | KPTCL | 41
14 | 220 | LILO of both circuit of 220KV B.Bagewadi- | M/C | KPTCL | 39
Lingasagur DC line to the proposed 220/110KV Basarkod Sub-station for a distance of 9.623 kms
15 | 220 | 220KV DC Kalmeshwar-Warud Phase-III | D/C | MSETCL | 45
16 | 220 | 220 kV Kumbhargaon - Kurunda line (Pkg-B) | D/C | MSETCL | 57
17 | 220 | 220 kV line from 400 kV Solapur PG to 220 kV Bale S/S (Balance M/C works from loc 37A to Bale SS) | D/C | MSETCL | 27
18 | 220 | Balance work of 220 kV SC Karad- Koyna line (from loc 144 to 157) | S/C | MSETCL | 4
19 | 220 | LILO of 220 kV M/C Tarapur-Borivali and Boisar-Ghodbandar line at Kudus (400 kV SS) | M/C | MSETCL | 126
20 | 220 | 220 kV D/C Baram-Jauljivi Line | D/C | PTCUL | 25
Total of STATE SECTOR |  |  |  |  | 641
PRIVATE SECTOR Sector
21 | 765 | KPS2(GIS)-Lakadia 765kV D/C line (355ckm) | D/C | ADANI | 355
22 | 765 | 765kV D/C KPS1 to KPS2 GIS (41ckm) | D/C | MEGHA | 41
23 | 400 | ACME Solar Holdings limited PS at Jaisalmer-Fatehgarh (ISTS SS) line (Late Reported Commissioned Oct-24) | S/C | ACME | 16
24 | 400 | AGEL (PSS-04) - KPS-1 (Section-2) 400 kV S/c line (Late Reported Commissioned Feb-25) | S/C | ADANIGREEN | 10
25 | 400 | AGEL (PSS-05) - KPS-1 (Section-2) 400 kV S/c line (Late Reported Commissioned April-24) | S/C | ADANIGREEN | 8
26 | 400 | AGEL (PSS-13)-KPS-1 (Section-2 kV S/c line (Late Reported Commissioned Jan-25) | S/C | ADANIGREEN | 11
27 | 400 | Adani Renewable Energy Holding Four Limited Power Plant -Bhadla-II PS 400 kV S/c line (Late Reported Commissioned Sep-24) | S/C | AREHFL | 11
28 | 400 | RGESL PSS-4 at Solapur Konhali-Limbi Chincholi (PGCIL) Solapur S/S (Late Reported Commissioned Jan-25) | S/C | Renew Green Energy Solutions | 13
29 | 400 | SRPL (PSS-09) -KPS-1 (Bus Section-II) 400 kV S/c line (Late Reported Commissioned Nov-24) | S/C | Sarjan Realities | 14
30 | 220 | AREH4L 500 MW Power Plant S/s -Fatehgarh-II PS 220 kV D/c line (Late Reported Commissioned Nov-24) | S/C | AREHFL | 24
31 | 220 | RSRPL at Gadag - Gadag SS (ISTS) (Late Reported Commissioned Sept-24) | S/C | Renew Surya Roshni | 30
32 | 220 | Renew Surya Vihaan Private Limited Solar Power Plant at Jaisalmer-PGCIL Fatehgarh-III PS | S/C | Renew Surya Vihaan | 13
33 | 220 | M/s Sembcorb Green Infra Private Limited generation pooling Station at Koppa-Gadag PS (ISTS SS) line (Late Reported Commissioned Sep-24) | S/C | Sembcorp Green Infra | 54
34 | 220 | Serentica Renewables India Private Limited (SRIPL) PS (Jaimalsar)-Bikaner II PS (ISTS) (Late Reported Commissioned Apr-24) | S/C | Serentica Renewables India | 8
35 | 220 | Serentica Renewables India 1 Private Limited (SRI1PL) PS at Koppal to Koppal PS (ISTS) (Late Reported Commissioned May-24) | S/C | Serentica Renewables India 1 | 5
36 | 220 | Vena Energy Vidyuth Private Limited PS at Koppal-Gadag (ISTS PS) line (Late Reported Commissioned Oct-24) | S/C | Vena Energy Vidyuth | 58
Total of PRIVATE SECTOR |  |  |  |  | 671
Grand Total |  |  |  |  | 1950