## line_completed
Transmission Lines Completed During FY- 2025-26
As on 31-May-2025
Voltage Level (kV) | Name of Transmission Lines | Circuit Type | Executing Agency | Line Length (cKM) | Month of Completion
1. | 2. | 3. | 4. | 5. | 6.
400 kV
STATE SECTOR
1 | LILO of Kobra (West)-Khedamara (Bhilai) S/c line at Dhardehi (Bilaspur) S/s | S/C | CSPTCL | 14 | APR-25
2 | Manali-Korattur S/c Line (Manali to Manjambakkam gantry point-OH line and Manjambakkam gantry point to Koratur-UG Cable) | S/C | TANTRANSCO | 16 | APR-25
3 | LILO of Gokarna-New Chanditala line at Satgachia GIS | D/C | WBSETCL | 21 | MAY-25
Total of STATE SECTOR |  |  |  | 51
PRIVATE SECTOR
4 | LILO of one ckt. of 400 kV D/c Kalisindh-Anta Line at Sangod GSS (Intra state TBCB) | D/C | ADANI | 11 | APR-25
Total of PRIVATE SECTOR |  |  |  | 11
Total of 400 kV |  |  |  | 62
220 kV
STATE SECTOR
5 | Kushtagi-Yelburga line | D/C | KPTCL | 58 | APR-25
6 | Nagewadi- Bhokardhan line | D/C | MSETCL | 90 | APR-25
7 | Nuapada (Cuttack)-Pratapsason line | D/C | OPTCL | 92 | APR-25
8 | Bhadohi-Sahupuri Line | S/C | UPPTCL | 77 | APR-25
9 | 220 kV Nunna-Gunadala line (Monopole) | D/C | APTRANSCO | 17 | MAY-25
10 | LILO of Sector-65 - Palli line at 400 kV Kadarpur SS | D/C | HVPNL | 26 | MAY-25
11 | 220 kV Shivajinagar to Ampyr Renewables Energy resources Solar power Park (at Bhamer and Bhadgaon Tal. Sakri Dist Dhule) | S/C | MSETCL | 11 | MAY-25
12 | 220 kV Umred-Nagbhid line (Part-II) | D/C | MSETCL | 49 | MAY-25
13 | 220 kV Uppalwadi-Pardi underground cable (circuit I) | D/C | MSETCL | 13 | MAY-25
14 | LILO of Virur-Gadchiroli line at 220 kV Konsari substation (by M/s Lloyds Metal and Energy Ltd.) | D/C | MSETCL | 32 | MAY-25
15 | Nayagarh GSS to Railway Traction Substation at Nayagarh | S/C | OPTCL | 14 | MAY-25
16 | Lilo of one ckt of Jamalpur-Dhandari Kalan line at Sherpur SS (by replacing 66 kV Existing multi circuit line to 220kV) | D/C | PSTCL | 2 | MAY-25
17 | 220 kV Khair-Harduaganj Line | D/C | UPPTCL | 77 | MAY-25
Total of STATE SECTOR |  |  |  | 558
Total of 220 kV |  |  |  | 558
Grand Total |  |  |  | 620